## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the work area of Executive Engineer, Electricity Distribution Division-II, Muzaffarnagar, under the Business Plan 2024-25, Replacement of old/damaged 33 KV Line Isolator, Bus Isolator & Fuse Set installed at 33/11 KV sub-station Rohana, Bijopura & Badhaikalan and 33 KV LIGHTNING ARRESTAR installation and commissioning work, Replacement of old/damaged 33 KV Line Isolator, Bus Isolator & Fuse Set installed at 33/11 KV sub-station Sanjhak (Barwala) and 33 KV LIGHTNING ARRESTAR installation and commissioning work, Installation of New 33 KV VCB for 05 MVA Power Transformer no. 1 installed at 33/11 KV sub-station Sanjhak (Barwala) Shuktirtha / Shukartalinstallation and commissioning work, Complete Repair work of damaged plinth of 08 no. 250 KVA & 02 no. 400 KVA Distribution Transformer installed at 33/11 KV sub-station Begrajpur, Begrajpur Industry & Sonta and Making New Fencing, Pipe Earthing & Replace Damage Lead, work should be done through external agency.
Contract No: 226/2023-24/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33 KV VCB 750 MVA with STEEL STRUCTURE |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 33 KV CT |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 33 KV LINE ISOLATOR |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 33 KV BUS ISOLATOR |  | 6 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 33 KV FUSE SET |  | 8 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | 33 KV LIGHTNING ARRESTAR |  | 27 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | LT XLPE CABLE 1x400 Sqmm |  | 320 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.08 | XLPE CABLE ALUMINIUM 1x50 Sqmm |  | 280 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Complete work of installation and commissioning of new 33 KV VCB 750 MVA with STEEL STRUCTURE at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | Complete work of installation and commissioning of new 33 KV CT at 33/11 KV sub-station. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Complete work of Removal of old / damaged 33 KV LINE ISOLATOR at 33/11 KV sub-station and installation and commissioning of new 33 KV LINE ISOLATOR 800 Amp. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Complete work of Removal of old / damaged 33 KV BUS ISOLATOR at 33/11 KV sub-station and installation and commissioning of new 33 KV BUS ISOLATOR 800 Amp. as per RESPO standards. |  | 6 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | Complete work of Removal of old / damaged 33 KV FUSE SET at 33/11 KV sub-station and installation and commissioning of new 33 KV FUSE SET. as per RESPO standards. |  | 8 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Complete work of installation and commissioning of new 33 KV LIGHTNING ARRESTAR at 33/11 KV sub-station. as per RESPO standards. |  | 27 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | Complete work of Laying/ Installation CONTROL CABLE 4x2.5 Sqmm at 33/11 KV sub-station. as per RESPO standards. In which Control Cable 4x2.5 Sqmm and other Decentralized materials will be provide by the contractor / Firm. |  | 200 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | Complete work of Laying/ Installation CONTROL CABLE 2x2.5 Sqmm at 33/11 KV sub-station. as per RESPO standards. In which Control Cable 2x2.5 Sqmm and other Decentralized materials will be provide by the contractor / Firm. |  | 200 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | Replacement work of LT XLPE CABLE 1x400 Sqmm on the Established Distribution Transformer 250 KVA & 400 KVA installed at various site as per RESPO norms. Including opening / dismantling of old / damaged cable of the transformer. |  | 320 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Replacement work of XLPE CABLE ALUMINIUM 1x50 Sqmm on the Established Distribution Transformer 250 KVA & 400 KVA installed at various site as per RESPO norms. Including opening / dismantling of old / damaged cable of the transformer. |  | 280 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV VCB at 33/11 KV substation, as per RESPO standards. |  | 2 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.12 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV CONTROL PANNEL at 33/11 KV substation, as per RESPO standards. |  | 1 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.13 | Complete work of Pipe Earthing (upto Water Level) of Established ISOLATOR STRUCTURE at 33/11 KV substation, as per RESPO standards. |  | 3 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.14 | Complete Repair work of damaged plinth of 250 KVA Distribution Transformer (08 No.) & 250 KVA Distribution Transformer (02 No.) installed at the site as per RESPO standards, includes removing the 250 KVA & 400 KVA distribution transformer safely from the plinth, after repair work done the plinth, installing and making the transformer as per RESPO Standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 10 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.15 | Complete work of Making New Fencing for 250 KVA Distribution Transformer (08 No.) & 250 KVA Distribution Transformer (02 No.) as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 10 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.16 | Complete work of Pipe Earthing (upto Water Level) of Established 250 KVA Distribution Transformer (08 No.) & 250 KVA Distribution Transformer (02 No.) at various site, as per RESPO standards. |  | 10 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | As per rules, the work of delivering the old material includes loading and unloading on both sides from the site to Store Center Muzaffarnagar. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 33 KV ISOLATOR (SCRAP/DAMAGE) |  | 9 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | 33 KV FUSE SET (SCRAP/DAMAGE) |  | 8 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.03 | LT LEAD (SCRAP/DAMAGE) |  | 40 | K.G. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information