## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the work area of Executive Engineer, Electricity Distribution Division-II, Muzaffarnagar, under the Business Plan 2024-25, Installation of New 33 KV VCB for 05 MVA Power Transformer no. 2 installed at 33/11 KV sub-station Sanjhak and Other work, Installation of New 33 KV VCB for 05 MVA Power Transformer no. 1 & 05 MVA Power Transformer no. 2 installed at 33/11 KV sub-station Roniharzipur and Other work, 11 KV Incoming no. 1 Feeder VCB, 11 KV Incoming no. 2 Feeder VCB & 11 KV Kanahedi Agriculture Feeder VCB installed at 33/11 KV sub-station Doodhli, 11 KV VCB not working properly, providing new goods in place of the damaged goods and complete work of commissioning 11 KV VCB, Replacement of 03 No. 11 KV VCB installed at 33/11 KV sub-station Roniharzipur 11 KV Incoming no. 1 Feeder VCB, 11 KV Incoming no. 2 Feeder VCB & 11 KV Nyamu Feeder VCB, the work to be done through external agency.
Contract No: 222/2023-24/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33 KV VCB 750 MVA with STEEL STRUCTURE |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 33 KV CONTROL PANNEL for SINGLE POWER TF |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 33 KV CONTROL PANNEL for DOUBLE POWER TF |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 33 KV CT as per SIZE |  | 9 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 11 KV VCB, O/G CTR 300/150/5A. 350 MVA 24 VOLT |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Complete construction work of Plinth and Foundation / Structure for installing 33 KV VCB at 33/11 KV sub-station. as per RESPO standards. In which bricks, sand, cement and other decentralized materials will be provide by the contractor / Firm. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | Complete work of Removal of old / damaged 11 KV VCB, installed at 33/11 KV sub-station and installation and commissioning of new 11 KV VCB, O/G CTR 300/150/5A. 350 MVA 24 VOLT. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Complete work of installation and commissioning of new 33 KV VCB 750 MVA with STEEL STRUCTURE at 33/11 KV sub-station. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Complete work of installation and commissioning of new 33 KV CONTROL PANNEL for SINGLE TF at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | Complete work of installation and commissioning of new 33 KV CONTROL PANNEL for DOUBLE TF at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Complete work of installation and commissioning of new 33 KV CT at 33/11 KV sub-station. as per RESPO standards. |  | 9 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | Complete work of Laying/ Installation CONTROL CABLE 4x2.5 Sqmm at 33/11 KV sub-station. as per RESPO standards. In which Control Cable 4x2.5 Sqmm and other Decentralized materials will be provide by the contractor / Firm. |  | 300 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | Complete work of Laying/ Installation CONTROL CABLE 2x2.5 Sqmm at 33/11 KV sub-station. as per RESPO standards. In which Control Cable 2x2.5 Sqmm and other Decentralized materials will be provide by the contractor / Firm. |  | 300 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV VCB 750 MV, at 33/11 KV substation.as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV CONTROL PANNEL for SINGLE POWER TF, at 33/11 KV substation. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV CONTROL PANNEL for DOUBLE POWER TF, at 33/11 KV substation. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.12 | Complete work of Pipe Earthing (upto Water Level) of Established 11 KV VCB, O/G or I/C at 33/11 KV substation. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | As per rules, the work of delivering the old material includes loading and unloading on both sides from the site to Store Center Muzaffarnagar. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 11 KV VCB (OLD & USED / DAMAGE) |  | 3 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | 11 KV VCB REPAIR & MAINTENANCE WORK, The material provided should be of ISI Mark or high standards. All necessary Decentralized materials will be provide by the contractor / Firm. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | Complete reparing of tripping mechanisum system and replacement of lever, bush, spring etc. of 11 KV VCB. |  | 3 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.02 | Complete reparing of jack and replacement of jack bush, lever, bearing and jack rod complete suitable for 11 KV VCB. |  | 2 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.03 | Providing and fixing of epoxy spout complete with copper contact suitable for 11 KV VCB. |  | 6 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.04 | Providing of 2.5mmsq. PVC Copper wire and replacement of damaged burnt wiring complete of 11 KV VCB. |  | 3 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.05 | Providing and fixing of trolly contact made of copper suitable for 11 KV VCB. |  | 9 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.06 | Providing and replacement of damage tripping coil complete of 11 KV VCB. |  | 6 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.07 | Providing and fixing of damaged intruptor connection rod made of glass fiber suitable for 11 KV VCB. |  | 6 | No. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.08 | Providing and fixing of metering and protection C.T. ratio 600/300/5 or 300/150/5 amp. Suitable for 11 KV VCB. |  | 2 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.09 | Providing and fixing of charging Gerari & non return bearing complete of 11 KV VCB. |  | 2 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.1 | Providing and fixing of 32 amp. Kit-kat with tubelar fuse 06 nos. complete MCB 02 nos. complete an proper connection of 11 KV VCB. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.11 | Complete overhauling proper connection & providing and fixing of missing nut & bolts and proper functioning of 11 KV VCB. |  | 3 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information