## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the work area of Executive Engineer, Electricity Distribution Division-II, Muzaffarnagar, under the Business Plan 2024-25, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Begrajpur, 01 No. 11 KV Vehlana feeder VCB Complete installation and commissioning work, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Begrajpur, 01 No. 11 KV Jeevna feeder VCB Complete installation and commissioning work, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Begrajpur 01 No. 11 KV Incoming no.1 feeder VCB Complete installation and commissioning work, New 01 No. 11 KV Outgoing VCB for 33/11 KV sub-station Nirmana Installation and commissioning work, Replacement of 03 No. 11 KV VCB installed at 33/11 KV sub-station Rohana 01 No. 11 KV Incoming no.1 feeder VCB, 01 No. 11 KV Incoming no.2 feeder VCB & 01 No. 11 KV Incoming no.3 feeder VCB Complete installation and commissioning work, Replacement of 03 No. 11 KV VCB installed at 33/11 KV sub-station Rohana 01 No. 11 KV Sisouna Agriculture feeder VCB, 01 No. 11 KV Kachauli Agriculture feeder VCB & 01 No. 11 KV Sugar Mill VCB Complete installation and commissioning work, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Sanjhak 01 No. 11 KV Barwala Karwada Agriculture feeder VCB Complete installation and commissioning work, Replacement of 01 No. 33 KV Control Pannel for Double TF installed at 33/11 KV sub-station Behrajpur Industry and 33 KV CT installation and commissioning work, the work to be done through external agency.
Contract No: 220/2023-24/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33 KV CONTROL PANNEL for DOUBLE TRANSFORMER |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 33 KV CT, 400/200/1-1-1 Amp. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 11 KV VCB, I/C CTR 600/300/5A. 350 MVA 24 VOLT |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 11 KV VCB, O/G CTR 300/150/5A. 350 MVA 24 VOLT |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 11 KV VCB, O/G CTR 200/100/5A. 350 MVA 24 VOLT |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | 11 KV CABLE JOINTING KIT INDOOR 3x185 Sqmm |  | 1 | MTR | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | 11 KV CABLE JOINTING KIT OUTDOOR 3x185 Sqmm |  | 1 | MTR | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.08 | 11 KV XLPE CABLE 3x185 Sqmm |  | 70 | MTR | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Complete work of Removal of old / damaged 33 KV CONTROL PANNEL installed at 33/11 KV sub-station and installation and commissioning of new 33 KV CONTROL PANNEL for DOUBLE TRANSFORMER. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | Complete work of Removal of old / damaged 33 KV CT installed at 33/11 KV sub-station and installation and commissioning of new 33 KV CT, 400/200/1-1-1 Amp. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Complete work of Removal of old / damaged 11 KV VCB, installed at 33/11 KV sub-station and installation and commissioning of new 11 KV VCB, I/C CTR 600/300/5A. 350 MVA 24 VOLT. as per RESPO standards. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Complete work of Removal of old / damaged 11 KV VCB, installed at 33/11 KV sub-station and installation and commissioning of new 11 KV VCB, O/G CTR 300/150/5A. 350 MVA 24 VOLT. as per RESPO standards. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | Complete work of Removal of old / damaged 11 KV VCB, installed at 33/11 KV sub-station and installation and commissioning of new 11 KV VCB, O/G CTR 200/100/5A. 350 MVA 24 VOLT. as per RESPO standards. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Complete work of installation and commissioning of new 11 KV VCB, O/G CTR 200/100/5A. 350 MVA 24 VOLT at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | Complete work of installation and commissioning of 11 KV CABLE JOINTING KIT INDOOR 3x185 Sqmm at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | Complete work of installation and commissioning of 11 KV CABLE JOINTING KIT OUTDOOR 3x185 Sqmm at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | Complete work of Laying/Installing 11 KV XLPE CABLE 3x185 Sqmm (with Making Open Trunch 40 Meter) on the for New 11 KV VCB at 33/11 KV sub-station as per RESPO norms. In which cement, sand, Brick and other necessary decentralized material will be provide by the Contractor/Firm. |  | 70 | MTR. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Complete work of Pipe Earthing (upto Water Level) of Established 11 KV VCB, O/G or I/C as per RESPO standards. |  | 5 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | Complete work of Pipe Earthing (upto Water Level) of Established Power Transformer (Body & Neutral) at 33/11 KV sub-station. as per RESPO standards. |  | 6 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.12 | Complete work of Laying/ Installation CONTROL CABLE 4x2.5 Sqmm at 33/11 KV sub-station. as per RESPO standards. In which Control Cable 4x2.5 Sqmm and other Decentralized materials will be provide by the contractor / Firm. |  | 100 | MTR. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.13 | SUNDRIES ITEM |  | 1 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | As per rules, the work of delivering the old material includes loading and unloading on both sides from the site to Store Center Muzaffarnagar. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 33 KV CONTROL PANNEL for DOUBLE TRANSFORMER (DAMAGE) |  | 1 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | 33 KV CT, 400/200/1-1-1 Amp. (DAMAGE) |  | 3 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.03 | 11 KV VCB (OLD & USED / DAMAGE) |  | 10 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information