Electricity Store Circle,

Paschimanchal Vidyut Vitran Nigam Ltd.

Victoria Park, Meerut

E-Tender No. ESC/MRT/01/2024-25

Tender description:  Overhauling, Refilling, Testing and Painting with red oxide enamelled paints & relabeling of different type and size fire fighting equipments including replacement of bolts if required, pasting of operating installations and date of filling and due date of refilling with points at all the store center under Electricity Store Division Moradabad.

Issued By :

Office of The

Superintending Engineer

Electricity Store Circle, Pvvnl, Meerut

Website :- https://www.etender.up.nic.in / https://www.pvvnl.org

Date of Opening of part-1: 27.08.2024 at 15:00 Hrs.

Tender Cost (inclusive GST) :590/-

Earnest Money : 5,000/-

Last Date & Time of Submission : 27.08.2024 up to 13:00 Hrs.

NIT

E-Tender Notice

RFP No. 	@ia-fo-fo-fu-fy-]es-@Hk.Mkj@Vs.Mj					Dated :

E-tenders are invited in two parts (Part-I Techno Commercial Bid and Part-II Price Bid) for the work of Overhauling, Refilling, Testing and Painting with red oxide enamelled paints & relabeling of different type and size fire fighting equipments including replacement of bolts if required, pasting of operating installations and date of filling and due date of refilling with points at all the store center under Electricity Store Division Moradabad.. Bid documents (Tender Specification) is available online on https://etender.up.nic.in as per particulars indicated below. Any changes in the Bid Schedule, corrigendum etc. shall also be notified via same website. Prospective bidders are therefore requested to regularly check the website for any updates.

| Sr. No. | Particulars | Details |
| --- | --- | --- |
| 1 | e-Tender No. | ESC/MRT/01/2024-25 |
| 2 | e-Bid Portal (website) | https://etender.up.nic.in |
| 3 | Name of Work | Overhauling, Refilling, Testing and Painting with red oxide enamelled paints & relabeling of different type and size fire fighting equipments including replacement of bolts if required, pasting of operating installations and date of filling and due date of refilling with points at all the store center under Electricity Store Division Moradabad. |
| 4 | e-Tender Cost | 590.00 with GST (Non Refundable) |
| 5 | Earnest Money deposit | 5,000/- (Rs. Five Thousand) |
| 6 | Document Downloading/sale date starts | 27.07.2024 |
| 7 | Document Downloading/sale date end | 27.08.2024 up to 13:00 Hrs. |
| 8 | e-Bid submission start date | 27.07.2024 |
| 9 | e-Bid submission end date | 27.08.2024 up to 13:00 Hrs. |
| 10 | Opening date of e-Bid part-I | 27.08.2024 at 15:00 Hrs. |
| 11 | Opening date of e-Bid part-II (price part) | Will be notified later. |

Note:- Bid shall be accepted through the e-tender portal. Tender issuing authority is not responsible for the delay/downloading of tender document by the recipient due to any problem in accessing the e-tender website. The tender issuing authority is also not responsible for delay in uploading bids due to any problem in the e-tender website. Cost of Bid document (in the form of NEFT/RTGS) & Earnest Money Deposit (EMD (in the form of NEFT/RTGS) shall be in favour of Executive Engineer Electricity Store Division P.V.V.N.L Moradabad Punjab National Bank Civil Lines, Moradabad (UP) – 244001, Account No. 2540002100008006 IFSC Code. PUNB0254000 further details are available at website: https://etender.up.nic.in.

Discom reserve the right to reject any or all proposals or cancel the bid without assigning any reason.

INSTRUCTIONS TO TENDERERS.

  - Tenderers are requested to go through the instructions carefully and furnish complete information along with their tender offer, failing which their tender may not be considered at all. Tenders shall be received at e-tender portal (http:// etender.up.nic.in) only in two separate parts; each part shall have documents as under:

- Tender Bid Part-I:- Shall contain the details of Tender Cost, Earnest Money Deposited, Experience, Techno Commercial Prticulrs and other relevant documents with respect to pre-qualification conditions and to be submitted in the prescribed form. The required documents of this part shall be uploaded online at E-Tender Portal (https://etender.up.nic.in) in pdf/jpg format.

- Tender Bid Part-II:- Shall contain the price Bid/ Rate Schedule which is to be uploaded online only at E-Tender Portal (https://etender.up.nic.in) in duly filled-in excel format and need not to be submitted in physical form.

- Tenderers are advised to scan the documents of Par-1 from original/ legible copy. Tenderers have to show the original document in case of any doubt for verification/ validation purpose.

- In case of any inconsistency of the provisions of Form A/B the provision under special Condition of Tender/Instructions to Tenderers will supersede /prevail. Please note that in Form A/B term “UP State Electricity Board” may be read as “P.V.V.N. Ltd.”

- Only such firms shall submit tender who are either reputed Manufacturers/Contractors of tendered items/works or their accredited agents or others having sufficient experience of the same nature of work and can produce satisfactory evidence that they have necessary resources and organization to under take the work tendered for to the satisfaction of tendering authority.

- Any portion of the terms and conditions as laid down in the Form A/B or Special Conditions etc. of tender enclosed herewith which is not clear to tenderer, should be got clarified before submission of the tender.

- The tendering authority does not pledge to accept the lowest or any tender and reserves to himself the right of rejecting/ accepting the whole or any portion of any tender as he may think fit without assigning any reason for non-acceptance or rejection.

- Superintending Engineer, Electricity Store Circle, Meerut may revise or amend the special conditions of tender prior to the date notified for opening of the tenders. Such provisions and amendments, if any will be uploaded at E-Tender Portal (https://etender.up.nic.in), therefore all tenderers are advised to visit e-tender portal prior to the date of opening of tender.

- A security deposit as required under the enclosed special Conditions of contract shall have to be deposited by the tenderer within 10 days of entering into agreement, if his offer is accepted.

- Any approach etc. officially or otherwise on the part of the tenderer or his representative shall render his tender to be summarily rejected.

- The tender fee deposited once will not be refunded under any circumstances, whatsoever.

- Tenders of those tenderer who have not submitted the proof of payment of prescribed tender fee and earnest money along with tender bid part-I shall be rejected.

- The tendering authority reserves the right to increase or decrease the tendered quantity or to split the order between two or more parties.

- In case of ambiguous of self-contradictory terms/conditions mentioned in the tender, interpretation as disadvantageous to the tenderer shall be taken without any reference to tenderer.

- Any overwriting/cutting/erasing in the tender should be duly signed any stamped.

- Preference may be given to offers accompanied with certified copies of performance reports from various Govt. agencies, state electricity boards, UP Power Corporation Ltd. etc. in respect of works/supplies offered against this tender.

- E-Tender preform annexure-I shall be filled in completely by the tenderer in accordance with the instructions contained therein and be submitted in tender bid Part-I.

- The successful tenderer will have to enter into an agreement within 15 days of receiving the information of acceptance of their tender.

- In no case payment will be made by letter of credit.

- Tenderer should quote the earliest period of execution /supply of complete work(s)/ materials. Preference will be given to tenderer offering early completion of works/supplies.

- Offers of tenderers quoting less than the specified validity may not be accepted at all.

- Payment will be made on running bills according to the availability of fund from the “corporation” as per the conditions laid hereinafter.

| Signature of Tenderer with Seal | SUPERINTENDING ENGINEER |
| --- | --- |

TECHNICAL SPECIFICATION/ SPECIAL CONDITIONS AGAINST TENDER SPECIFICATION NO. ESC/MRT/01/2024-25

The specification/ special condition shall be read and construed along with annexed general condition stipulated in UPPCL standard form ‘A’ as modified by provision hereunder, but if there is any conflict or inconsistency between the provision hereunder and those contained in the annexed general conditions, the provisions contained in these specification special conditions, shall prevail.

  - TENDER BID PART-I: Shall contain the following:-

  - Tender Fee: - Tenderers are required to deposit prescribed amount towards tender cost in prescribed bank account only either by online transfer / R.T.G.S / N.E.F.T. or any other mode of digital payment and proof of payment i.e. the pay-in-slip or U.T.R. number or any other reference number shall have to be uploaded along with other documents in tender bid part-I. Details of bank account along with IFS Code are annexed herewith. The Tender fee once deposited shall not be refunded/adjusted under any circumstances, whatsoever.

  - Earnest Money Deposited: - Tenderers are required to deposit prescribed amount towards earnest money in prescribed bank account only either by online transfer/R.T.G.S / N.E.F.T. or any other mode of digital payment and proof of payment. i.e. the pay-in-slip or U.T.R. number or any other reference number shall have to be uploaded along with other documents in tender bid part-I, details of bank account along with IFS code are annexed herewith. Tenderers are also advised to submit their bank account details along with a copy of cancelled cheque leaf for refund of earnest money.

  - Bank Account Details:-

| Sl No. | Account Name | Bank Name & Branch | Account No. | IFSC |
| --- | --- | --- | --- | --- |
| 1 | Executive Engineer Electricity Store Division P.V.V.N.L Moradabad | Punjab National Bank Civil Lines, Moradabad (UP) - 244001 | 2540002100008006 | PUNB0254000 |

- SCOPE OF WORK :-

Overhauling, Refilling, Testing and Painting with red oxide enamelled paints & relabeling of different type and size fire fighting equipments including replacement of bolts if required, pasting of operating installations and date of filling and due date of refilling with points at all the store center under Electricity Store Division Moradabad.

| Sl No. | Name of Supply/Works | Unit | Qty |
| --- | --- | --- | --- |
|  | Overhauling, Refilling, Testing and Painting with red oxide enamelled paints & relabeling of different type and size fire fighting equipments including replacement of bolts if required, pasting of operating installations and date of filling and due date of refilling with points. |  |  |
| 1 | Mechanical foam type capacity (AFFF) 50 Ltr. Trolley Type Fire extinguisher | Nos. | 23 |
| 2 | Mechanical foam type capacity 9 Ltr. Fire extinguisher | Nos. | 37 |
| 3 | Fire extinguisher Co2 Type 22 Kg | Nos. | 18 |
| 4 | Fire extinguisher Co2 Type 9 Kg | Nos. | 18 |
| 5 | Fire extinguisher Co2 Type 4.5 Kg | Nos. | 5 |
| 6 | Fire extinguisher ABC Type 9 Kg | Nos. | 14 |

2(A)

| Sl. No. | Name of Material | Unit | Electricity Store Centers |  |  |  |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Delhi Road Moradabad | Hydel Colony, Moradbad | Rampur | JOYA (Amroha) | Bijnor | Dhampur | Chandausi |  |
|  |  |  | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty. | Qty |
| 1 | Machanical foam Type Cap. 50 liters Trolley Type. | Nos. | 3 | 3 | 3 | 4 | 3 | 4 | 3 | 23 |
| 2 | Machanical foam Type Cap. 9 liters. | Nos. | 7 | 3 | 4 | 6 | 6 | 6 | 5 | 37 |
| 3 | C02 Type 22 Kg | Nos. | 5 | 2 | 5 | 2 | 0 | 2 | 2 | 18 |
| 4 | C02 Type 9 Kg | Nos. | 5 | 2 | 4 | 0 | 2 | 0 | 5 | 18 |
| 5 | C02 Type 4.5 Kg | Nos. | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 |
| 6 | ABC Type 9 Kg | Nos. | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 14 |
| TOTAL |  |  | 22 | 12 | 18 | 14 | 13 | 14 | 22 | 115 |

- RATES :-

The tender/contractor should quote rates only in attached Performa for rate schedule in figures and words both. All cuttings and overwriting should be duly initiated. The rate should be firm in all respect.

- SECURITY :-

The successful tender/contractor will be required to deposit security equal to 10% of the total value of the work for faithful performance of the work before execution of agreement ion the form of FDR/BANK DRAFT duly pledged in favour of Executive Engineer, Elect. Store Division, Moradabad.

- NON ADDITIONAL CHARGES :-

The tender/contractor will have to arrange himself all T&P required However arrangements, if considered necessary, at the cost of the contractor and if requested by him due to any abnormal conditions that may be at the sole of discretion of the Superintending Engineer and the contractor shall not claim any right for such assistance from department.

- COMPLETION OF WORK :-

The Contractor/tendered will have to execute the work within three days time as provided in the order (work-slip) to be issue by the Assistant Engineer, Electricity Store Centers or his authorized representative. The contractor should check the material/equipment before execution of work, otherwise it will be presumed that he has taken the material/equipment in good and sound condition. All the work also will be completed by the contractor with one month from the date of Agreement.

- WORK EXEPERIENCE :-

The contractor should be Produced/Submitted latest work experience certificate of 2 years.

- PAYMENT :-

100% payment shall be made on availability of fund after completion of a particular work by C.P.C. Cell H.Q. PVVNL, Meerut. The bills, in triplicate duly pre-receipted shall be submitted by contractor.

- PENALTY :-

Penalty @ ½% per week for delay in execution of work shall be payable by the contractor on the total value of work not done. The maximum penalty liable will not, however exceed 10% of the value of the order not executed.

- LEFT OVER WORK :-

If the contractor fails to executed the work within the stipulated period, the order placing authority reserve the right to get the work executed by any other agency. The excess expenditure, if any, inured in this connection plus 10% supervision charges shall be deducted from the security amount or any running/Corporation Bills of the contractor.

- WORK THROUGH OTHER AGENCY :-

Notwithstanding the agreement executed with the Contractor, the Engineer of the contract always reserves the right to get work done departmentally or through any other agency. The contractor shall have no objection and claim over such work.

- CONTRACTOR’S REPRESENTATIVE :-

The Contractor will depute his authorized representative at all concerned Stores/places for getting the orders from Engineer of the Contract/his authorized representative. The name of authorized representative and their local address shall be intimated by the Contractor to the Engineer of the contract within one week from the date of execution of agreement. The Contractor will intimate to the Engineer of the contract changes, if any, in the local address of contractor’s representative immediately in occurrence of the such change.

- SUBLETTING OF THE CONTRACT :-

The Contractor shall not assign or subject the contract/work to any other party/person without prior written approval from the Engineer of the Contract.

- WORKING HOURS :-

The contractor will be required to carryout the work assigned to him in the stores premises only during normal working hours i.e. between 8 Hrs. to 17 Hrs. and will not normally be allowed to work inside the stores beyond these hours except under extra ordinary conditions for which written permission of A.E./S.K. in charge of the store will be necessary the store after working hours on this account.

- RATE FOR WORK NOT COVERED UNDER THIS AGREEMENT :-

All special works for rates have not been specified in the agreement and which do not come under the preview of this contract may be decided mutually the contractor and the Engineer of the contract. If subsequently desired so the Engineer of the contract is free to get work done by any other agency.

- DEDUCTION OF INCOME TAX :-

Deduction shall be made from the bills etc. of the Contractor as per rules in force at the time to payment. As per rules at present income tax 2.00% of the value of the work done is liable for deduction.

- COMPENSATION AGAINST ACCIDENTS :-

The contractor shall be fully responsible for the payment of total value of the compensation of account of any accident which occurs during execution of work including third party risk/claim. The Engineer shall have full right of recovery against such claims/ compensations from the contractor.

- ARBITRATION/SETTLEMENT OF DISPUTES :-

In case of any dispute between the Contractor and the Engineer, the decision of Superintending Engineer Electricity Store Circle PVVNL Meerut will be final and binding on both.

All disputes arising out of and touching or relating to the subject matter of this agreement shall be subject to the jurisdiction of local courts of district Meerut/ High Court Judicature at Allahabad only.

- TERMINATION OF AGREEMENT :-

The agreement can be terminated by the Engineer of the contract at any time by giving one month notice in the event of unsatisfactory performance of the Contractor. This is however, without prejudice to the other terms and conditions of the Agreement.

- VARIATION IN QUANTITIES :-

The quantities covered in this tender specification are estimated only and may vary to any extend on either side. How ever the total value of the contract will not vary more than 50 % on either side.

- VALIDITY :-

The tendered rates should be valid for three months from the date of opening the rates will remain firm during currency of the contract.

- Comparison of  rate and value of the work shall be calculated jointly and Separately.

- PERIOD OF AGREEMENT :-

The Agreement shall be valid normally for six Month after Completion of full work subject to the quantity contained in the agreement.

- GUARANTEE OF WORK :-

Full guarantee of above work will be valid for one year from the Completion of the full work.

- GST:-

GST will be extra as per applicable.

- TESTING :-

Random selecting of any two fire equipment for testing at site refilling be free of cost at the time of receiving of material, If testing is not done properly on Specification. All the material may be rejected and earnest money deposited by contractor forfeited by Executive Engineer for this Superintending, Engineer Electricity Store Circle, Meerut will not be responsible.

Signature of Tenderer

Full Name & Address

along with seal

Annexure-I

Note:

- This Agreement is to be filled in and enclosed with tender Bid Part-I.

- To be made on non judicial stamp paper of Rs. 10/-.

DECLERATION

E-Tender Invited by 			            	The Superintending Engineer

Electricity Store Circle

Pashchimanchal Vidyut Vitran Nigam Limited

Meerut

E-Tender Specification No			ESC/MRT/01/2024-25

Tender Invited for (Name of work)	Overhauling, Refilling, Testing and Painting with red oxide enamelled paints & relabeling of different type and size fire fighting equipment including replacement of bolts if required, pasting of operating installations and date of filling and due date of refilling with points at all the store center under Electricity Store Division Moradabad.

Name of Tenderer				______________________________

In consideration of the Paschimanchal Vidyut Vitran Nigam Limited, having treated the tenderer to be an eligible person whose tender may be considered, the tenderer hereby  agree to the conditions that the proposal in response to the above invitation shall not be withdrawn by the tenderer within three months from the date of opening of tender bid Part –I & II, also to the conditions that if thereafter the tenderer does withdraw his proposal within the said period, the earnest  money deposited by him may be forfeited to the U.P. Power Corporation Ltd. in the discretion of the purchaser. The purchaser may debar the tenderer from tendering for a minimum period of one year reckoned from the date of opening of the tender.

.

Signed this _______________ day of ________________________ 2024.

Witness :

(i)

(ii)

Signed by Tenderer

With Official Seal

Annexure-II

(E-TENDER FORM)

E-TENDER. No. ESC/MRT/01/2024-25

(To be filled sand submitted by the Tenderer in Tender Bid Part-I)

IMPORTANT INSTRUCTIONS TO TENDERERS:

Your tender shall not be considered if you fail to submit this form duly filled UP Replies should be complete without ambiguity and should be clearly written against each item. Terms such as "Refer covering Letter" etc. shall not be acceptance you may however, attach extra sheets if the space left is not sufficient.

| S.No. | Particulars. |  |
| --- | --- | --- |
| 1. | Specification No. against which you have tendered. |  |
| 2. | U.T.R. / Receipt No. and date by which cost of tender specification was deposited by you. |  |
| 3. | U.T.R. / Receipt No. and date by which amount toward Earnest money deposited with full details, be submitted here. (Enclose) |  |
| 4. | Name and complete address of tendered. (With Mobile No.) |  |
| 5. | Detail of Bank account of the Tenderer. (attach a cancelled cheque leaf) | Account Name: ………………...…… Account No: ……………………… Bank Name: ………………..……… Bank Branch: ……………………….. IFSC: ……………...………… Mobile No……………………………….. |
| 6. | Location of offices. |  |
| 7. | Quantity offered (if there are two or more items, state quantities separately with units) with tolerance. | Full. |
| 8. | Do you agree to all conditions of the tender specification. |  |
| 9. | Name and detailed address of your authorized representative against this tender. |  |
| 10. | Full name and address of tenderers, proprietor / partners Directors be given. |  |
| 11. | Do you agree to furnish 10% security deposit , if order is placed with you ? (Answer Yes/No). |  |
| 12. | Give GST Registration No. enclose copy |  |
| 13. | Please enclosed a certified copies of the latest Income Tax Clearance Certificate. Enclose copy |  |
| 14. | Please enclose statement of past/ current supplies/ execution of works of similar nature alongwith order copies. |  |
| 15. | Whether all the scheduled and documents required have been submitted or not ? |  |
| PRICE |  |  |
| 16. | If your quoted prices are inclusive of any taxes/ duties other charges except GST, give details of such taxes / duties other charges included and at what rates ? |  |
| 17. | Do you offer any discount and if so, then what is the rebate/ discount in Rs./ Unit. |  |

Signature of the Tenderer

Date:							               Name:

Place:							               Status:

Seal of the Tendering Company