## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : fo¦qr uxjh; forj.k [k.M&uoe~] xkft;kckn ds {ks=k/khu luflVh gkbZ Vsd bUQzk0 izk0 fy0 xkft;kckn 11ds0oh0 ykbZu o Mh0ih0ds0 LFkukUrj.k dkftiqjk QhMj loLVs'ku cEgSVk ds dkftiqjk ls Mkluk jksM rd iw.kZ tek ;kstuk es LFkkukarfjr djus lEcU/kh leLr dk;Z under the jurisdiction of EE, EUDD-IX, GZB.
Tender no. 12/2024-25/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of 3x185 SQMM 11KV XLPE from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 90 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 3x70 SQMM 11 KV XLPE CABLE from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 90 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of ACSR DOG CONDUCTOR from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 2180 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of ST POLE 11 MTR LONG from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 27 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of different kind of line material as per various site requirement:- CABLE J/KIT O/D TYPE 3x185 SQMM 11 KV XLPE- 4 Nos, CABLE J/KIT O/D TYPE 3x70 SQMM 11 KV XLPE- 4 Nos, MS ANGLE FOR GUARDING WIRE- 285 Kg, MS CHANNEL- 594 Kg, STONE PAD- 27 Nos, CLAMP WITH NUT & BOLTS- 134 Nos, DANGER BOARD WITH CLAMP- 20 Nos, 11 KV POLY PIN INSULATOR- 90 Nos, EARTHING COMPLETE ST Pole- 27 Nos, STAY SET COMPLETE- 8 Nos, 11 KV V-TYPE CROSS ARM- 13 Nos, EARTH CLAMP WITH NUT & BOLTS- 13 Kg, MS ANGLE- 130 Kg, 11 KV DISC INSULATOR- 6 Nos, 11 KV DISC FITTING- 6 Nos, 11 KV DRAW OUT FUSE SET- 3 Nos... etc from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | DISMANTLING OF ALL EXISTING ST/PCC POLE INCLUDING CONDUCTOR and other material Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001118 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Dismantling and Shifting of (63x3)/(10x1) kva old T/F and Safley carriage to new Shifting work site. | BI01010001010000000000000515BI0100001119 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Laying of 3x185 SQMM 11KV XLPE Cable Tranchless Double Ckt (30 Mtr), loop & riser (30 Mtr) and Road restoration at site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 90 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Laying of 3x70 SQMM 11 KV XLPE Cable Tranchless Double Ckt (30 Mtr), loop & riser (30 Mtr) and Road restoration at site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 90 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Laying, Lifting, sagging ACSR DOG CONDUCTOR at site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 2180 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Erection of ST POLE 11 MTR LONG (Double Pole/Tripole- as per site requirement) complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 27 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Providing and Grounting/Concreting of ST Pole complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 27 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Providing and Concreting of Stay complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 8 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Providing and Complete Chemical Earthing T/F with all accessories complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Safely Shifting/Placing of (63x3)/(10x1) kva T/F on the plinth by the help of Crane/Chain Cuppie with making proper connection complete in all respect as per Respo Norms. | BI01010001010000000000000515BI0100001115 | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Fixing/Installation of different kind of line material as per various site requirement:- CABLE J/KIT O/D TYPE 3x185 SQMM 11 KV XLPE- 4 Nos, CABLE J/KIT O/D TYPE 3x70 SQMM 11 KV XLPE- 4 Nos, MS ANGLE FOR GUARDING WIRE- 285 Kg, MS CHANNEL- 594 Kg, STONE PAD- 27 Nos, CLAMP WITH NUT & BOLTS- 134 Nos, DANGER BOARD WITH CLAMP- 20 Nos, 11 KV POLY PIN INSULATOR- 90 Nos, EARTHING COMPLETE- 27 Nos, STAY SET COMPLETE- 8 Nos, 11 KV V-TYPE CROSS ARM- 13 Nos, EARTH CLAMP WITH NUT & BOLTS- 13 Kg, MS ANGLE- 130 Kg, 11 KV DISC INSULATOR- 6 Nos, 11 KV DISC FITTING- 6 Nos, 11 KV DRAW OUT FUSE SET- 3 Nos... etc complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Supply & Fixing/Installation GUARDING WIRE at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 375 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Supply & Fixing/Installation 160 MM PN-4 PE-80 GRADE UV HDPE PIPE IN 6 MTR at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 60 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Supply & Fixing/Installation 3.5*70 SQMM ARMOURED LT CABLE at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 35 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Supply & Fixing/Installation GI PIPE 6 DIA at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 24 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Supply & Fixing/Installation NUMBER PLATE at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 23 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Supply & Painting of ALLUMINIUM PAINT at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 27 | LTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Supply & Painting of RED OXIDE PAINT at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 27 | LTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Supply & Fixing/Installation BARBID WIRE at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 38 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Supply & Fixing/Installation F-BRACKET at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 16 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Supply & Fixing/Installation BOLT NUT & WASHER ALL SIZE at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 13 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | All other works complete in all respect as per site requirement. | BI01010001010000000000000515BI0100001114 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information