## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : fo¦qr uxjh; forj.k [k.M & f}rh;] uks,Mk ds dk;Z{ks= esa jfuax bZ&fufonk }kjk tek ;kstuk en esa fo¦qr uxjh; forj.k [k.M & f}rh;] uks,Mk ds dk;Z{ks= esa vkxkeh 1 o”kZ dh vof/k esa vkWuykbZu >ViV o fuos”k fe= iksVZy ds ek/;e ls vkosfnr la;kstuksa dks fu/kkZfjr le;kof/k esa fuxZr djkdj] ÅthZd`r fd;s tkus gsrq Lohd`r izkadyuksa ds vuqlkj voeqDr fd;s tkus okys fofHkUu la;kstu fuxZr djus] Hkkj c<+okus ¼{kerko`f)½] fo¦qrhdj.k bR;kfn lEcfU/kr leLr dk;Z ,oa ,y-Vh-] 11dsoh o 33 dsoh fo¦qr ykbZu] ehVfjax flLVe] ifjorZd ,oa vU; fo¦qrhdj.k f'kf¶Vax bR;kfn leLr dk;Z jafux dkWUVªsDVA
Contract No: SHORT TERM E-TENDER NO 22/EUDC-II NOIDA/2024-25
G.S.T. AND ALL TAXES INCLUSIVE IN ALL QUOATED RATES.
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.) The rate quoted by the tenderer shall be inclusive of all duties, taxes (except GST), fees, octroi and other levies, materials, any type of NOC, labour to & FOR transportation of material and labour charges etc. GST AND ALL TAXES INCLUSIVE IN QUOTED RATES. 3. The entire work is to be done on 'Departmental' basis. 4. All the material and erection practices shall be as per tender specification. 5. Above Schedule Structure and quantities is provisional and may vary as per site requirement with due approval. 6. Indicative scope of works and quantity of Items/Materials required for above work shall be as per the Price Bid. Any other material if required to complete the job and not mentioned above, shall have to be provided by the bidder without additional cost. 7. Financial evaluation and selection of 'L1 Bidder' shall be done on the basis of total amount. The Rates received in the tender will be done final after the approval of competent authority/ committee and competent authority / committee will have the right to negotiate in tender rate. 8. Tenderer must be fill-up the enclosed terms & conditions sheet and attached with 1st Part of Tender as well as scanned copy of same will be uploaded on NIC Website alongwith other documents.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by the Bidder INCLUSIVE OF ALL TAXES AND GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT with All Taxes and GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CONSTRUCTION OF NEW LINE FOR RELEASING OF NEW CONNECTION UNDER EDD EUDD-2 NOIDA. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of Distribution box(Single Phase/Three Phase) from Store Center Sahibabad to work site including safe loading and unloading at both ends and Installation of Distribution Box with Clamp and Nut, Bolts and Washer. (Distribution Box will be provided by the deptt. and Clamp, Nut, Bolts and Washer in the scope of Contractor.) |  | 1 | Nos. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Carriage of New 8.5mt./9mtr/11Mtr. Long PCC pole from Any Store of PVVNL Discom/Central Store, Shaibabad/Sector 20, Noida/J.E Store to work site including safe loading and unloading at both ends. |  | 1 | Per No. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Carriage of New 9Mtr, 11mtr, 13mtr. Long STP from Any Store of PVVNL Discom/Central Store, Shaibabad/Sector 20, Noida/J.E Store to work site including safe loading and unloading at both ends. |  | 1 | Per No. | 100 |  |  | Excess(+) | 250 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Carriage and Fixing of line accessories, Double pole accessories on pole i.e. Cross arm, M.S channel, Angle, V Disc Insulator with fitting, Pin Insulator with pin, Dropper channel, Stay Set, Earthing Complete, Fuse Set, T-off Channel, T/F Base Angle etc. (any other items mentioned in Estimate issued from Store) as required for complete the work. |  | 1 | Ton | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | The excavation of foundation pit in mix soil/normal soil/soft soil & hard rock as per site condition and its back filling and leveling etc. The size of the pit will be (750x450)mm and having depth of 1/6th of the full length of the support. Erection of support, complete with providing & fixing of all G.I.Clamps size of 75x10mm, 'F' bracket 75x10mm, G.I.Nut bolt & washer, Stone Pad Al. Binding wire and other accessories as per drawing. The work includes carriage and handling of supports from sectional store to pit site as well as an fabrication work if required for Single Pole as following : | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Single support on ST Pole 9/11/13Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 120 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Single support on PCC Pole 8.5/9/11Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | The excavation of foundation pit in mix soil/normal soil/soft soil & hard rock as per site condition and its back filling and leveling etc. The size of the pit will be (750x450)mm and having depth of 1/6th of the full length of the support. Erection of support, complete with providing & fixing of all G.I.Clamps size of 75x10mm, 65x8mm, G.I.Nut bolt & washer, P.G.Clamp, Stone Pad, Al. Binding wire, 'E' bracket 75x10mm, and other accessories as per drawing. The work includes carriage and handling of supports from sectional store to pit site as well as any fabrication work if required & fixing of cross bracing sets 4.3mtr long, from G.I.Angle 65x65x6mm. The work includes cutting holes and providing G.I.Bolt of 16x40mm size, in the middle of the cross bracing with 01No. spring washer of proper size as per drawing/ as per schedule. Double Pole Structures of PCC Pole and ST Pole . |  | 1 | Per No. | 100 |  |  | Excess(+) | 75 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Grouting of supports in CC 1:3:6 (Cement, sand & 20mm stone grift). Grouting will be done in the block of size (450x450)mm x1/6th of full length of the support, upto ground level, 300mm plinth above the ground level with C.C. 1:3:6 (Cement, Course sand and Stone grift) with muffing as per RESPO. Work includes back filling and proper ramming. The work are as Follows : | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | S.T pole 11/13Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 250 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | 8.5/9 Mtr PCC Poles. |  | 1 | Per No. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Fixing of Stay set complete (G.I.Stay rod 16x1800mm, Stay wire 5Kg, Guy insulator, G.I.Stay clamp, bolt, nut & wasther) for LT/11KV/33KV line with Fixing, tightening & nozzling of stay wire with stay rod with the poles of required tension as per drawing, including providing & fixing of Stay Insulators of 11KV and Stay Clamps with Grouting of stay rods (20x1800)mm including all work of excavation, cement concrete in size (0.60x0.60x0.30)m in ratio 1:3:6 cement, sand, 20mm Stone grift) as per drg. Including back filling of soil and proper ramming etc. |  | 1 | Per No. | 100 |  |  | Excess(+) | 150 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Driving of MS earth rod of size 20x2500 mm in earth and jointing through G.I. wire of 6 SWG between support and earth electrode by providing proper size of bolts and nuts for pole earthing. |  | 1 | Nos. | 100 |  |  | Excess(+) | 150 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Cartage and Laying lifting, stringing & proper sagging of 4/5 phases ACSR conductor (LT/HT) in accordance with Line chart includidng binding and fixing of all accessories in Conductor in parallel as per site requirement for New conductor on H.T/L.T line for New Connection to Consumer with binding, jumpering etc.including complete connections in all respect, from any Store Centre of PVVNL to work site including safe loading and unloading at both ends. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | ACSR Dog Conductor. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | ACSR Weasel Conductor. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 2000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | ACSR Rabbit Conductor. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Carriage of new LT ABC cable 50/70/ 95/120 Sqmm from Store Centre, Sahibabad to work site including safe loading and unloading at both ends with laying, lifting of sagging of ABC cable and fixing of all types clamps & connection with complete work in all respect. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | size 50/70 sqmm |  | 1 | Mtr. | 100 |  |  | Excess(+) | 2500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | size 95/120 sqmm |  | 1 | Mtr. | 100 |  |  | Excess(+) | 2000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Guarding of LT/11KV/33KV Line by G.I. Wire as per RESPO. (ALL WORK AND MATERIAL IN THE SCOPE OF CONTRACTOR) |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | Guarding of Pole for safety upto 7feet by Barbed wire as per RESPO. (ALL WORK AND MATERIAL IN THE SCOPE OF CONTRACTOR) |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Carriage of 3x50/70/120/185/220/385/300 sqmm of LT/11KV/33 KV XLPE cable from any Store Center sector 20,Noida/J.E Store/Ghaziabad/Any Store of PVVNL Discom to work site, loading & unloading both side with Laying and comissioning of LT/11KV/33KV XLPE Double Ckt./SINGLE CKT. by manual method/Trenchless method by digging of trench of size 750 mm wide 1050 mm deep and boxing with brick by three sides, sand, stone slab 600x450x50mm & providing and Fixing of HDPE Pipe as per site requirement and its required filling of trench, leveling and proper rooming . |  | 1 | Mtr. | 100 |  |  | Excess(+) | 750 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Preparation of 11/33/LT KV Power Cable ends: Making of 11/33KV/LT KV XLPE Heat shrinkable outdoor/Indoor jointing kits/Straight Through suitable for different HT/LT XLPE Cable after duly plumbing and taping of cable, providing, fixing and crimping of proper size good quality lugs with complete connention in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Carriage & Installation and Commissioning of 11/0.4 KV, 25/63/100/250/400/630/100 KVA Distribution T/F on Plinth/Double Pole/as per site requirement and providing & fixing of Lugs & copper L-piece (04 No.) of size 400x50x6mm and making of L.T.Connections with complete work in all respects. |  | 1 | Per No. | 100 |  |  | Excess(+) | 40 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Construction of Plinth/Chair and Fencing as per requirement for Distribution Transformer as per RESPO. (All material and work in the scope of Contractor). |  | 1 | Per No. | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Chemcial Earthing of above Transformer as per Specification. |  | 1 | Per No. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Carriage and Installtion of Metering System and CT/PT with Cubicle/BREAKER/VCB with chemical Earthing form Store Noida/Ghaziabad/BSR/Any Store of PVVNL Discom to Site including loading and unloading both sides with mounting on double pole/Meter Room or Plith and making all the connections complete in all respect. |  | 1 | Per No. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Supply, Fixing and Errection of the Following material by the Contractor on his own cost. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Different Types of MS Nut & Bolts as per site requirement. |  | 1 | Kg | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Number Plate |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Danger Board |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | Suspension Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | Piercing Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | F-Brackets |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | X-Arm Holding Clamps |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | F Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Holding Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | Earth Clamp |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
41 | Dead End Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | J Hook for Suspension |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | 2x4sqmm PVC Armoured Cable with laying for new connection upto 2KW |  | 1 | Mtr. | 100 |  |  | Excess(+) | 500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | 4x25sqmm XLPE Armoured Cable with laying for new connection upto 25KW |  | 1 | Mtr. | 100 |  |  | Excess(+) | 500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
45 | LINE SHIFTING OF LT, 11KV AND 33KV WORKS against DEPOSITE HEAD | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46 | Removal of old and used AB Cable and ACSR Conductor from the both side spans of pole and removal of HT/LT Line accessories from old, damaged, shifted Pole and Carriage of its from work site to JE Store/Any Store Centre of PVVNL Discom including loading and unloading at both ends. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 2000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47 | Removal of all line accessories from the Pole and Dismentaling of old, Damaged and Shifted ST/PCC Pole by digging of Pole pit in Pakka/Kacha Road with the help of road cutter/digging machine, Tractor etc and Carriage of old and Damaged ST/PCC Pole from work site to JE Store/Any Store Centre of PVVNL Discom including loading and unloading at both ends. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | Carriage of New 8.5mt./9mtr/11Mtr./13 Long PCC and ST Pole from Any Store of PVVNL Discom/Central Store, Shaibabad/Sector 20, Noida/J.E Store to work site including safe loading and unloading at both ends. (STP - 75 Nos. AND PCC 25 Nos. all length of Poles.) |  | 1 | Per No. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
49 | Carriage of Single Pole line accessories, Double pole accessories as Cross arm, M.S channel, Angle, V Disc Insulator with fitting, GI Wire, Barbed Wire, Pin Insulator with pin, Distribution Box, Dropper channel, Stay Set, Earthing Complete, Fuse Set, T-off Channel, T/F Base Angle, Termination Kit, Straight Through etc. any other items mentioned in Estimate or material issued from Store as required for complete the work including loading and unloading both ends and Fixing the above accessories on Pole with complete work in all respect. |  | 1 | Ton | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
50 | The excavation of foundation pit in mix soil/normal soil/soft soil & hard rock as per site condition and its back filling and leveling etc. The size of the pit will be (750x450)mm and having depth of 1/6th of the full length of the support. Erection of support, complete with providing & fixing of all G.I.Clamps size of 75x10mm, 'F' bracket 75x10mm, G.I.Nut bolt & washer, Stone Pad Al. Binding wire and other accessories as per drawing. The work includes carriage and handling of supports from sectional store to pit site as well as an fabrication work if required for Single Pole as following : | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
51 | Single support on ST Pole 9/11/13Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52 | Single support on PCC Pole 8.5/9/11Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | The excavation of foundation pit in mix soil/normal soil/soft soil & hard rock as per site condition and its back filling and leveling etc. The size of the pit will be (750x450)mm and having depth of 1/6th of the full length of the support. Erection of support, complete with providing & fixing of all G.I.Clamps size of 75x10mm, 65x8mm, G.I.Nut bolt & washer, P.G.Clamp, Stone Pad, Al. Binding wire, 'E' bracket 75x10mm, and other accessories as per drawing. The work includes carriage and handling of supports from sectional store to pit site as well as any fabrication work if required & fixing of cross bracing sets 4.3mtr long, from G.I.Angle 65x65x6mm. The work includes cutting holes and providing G.I.Bolt of 16x40mm size, in the middle of the cross bracing with 01No. spring washer of proper size as per drawing/ as per schedule. Four Pole, Three Pole, Double Pole Structures of PCC and ST Pole . |  | 1 | Per No. | 100 |  |  | Excess(+) | 25 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
54 | Grouting of supports in CC 1:3:6 (Cement, sand & 20mm stone grift). Grouting will be done in the block of size (450x450)mm x1/6th of full length of the support, upto ground level, 300mm plinth above the ground level with C.C. 1:3:6 (Cement, Course sand and Stone grift) with muffing as per RESPO. Work includes back filling and proper ramming. The work are as Follows : Single Pole, Double Pole, Three Pole, Four Pole. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55 | S.T pole 9/11/13Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 70 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
56 | 8.5/9/11 Mtr PCC Poles. |  | 1 | Per No. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
57 | Fixing of Stay set complete (G.I.Stay rod 16x1800mm, Stay wire 5Kg, Guy insulator, G.I.Stay clamp, bolt, nut & wasther) for LT/11KV/33KV line with Fixing, tightening & nozzling of stay wire with stay rod with the poles of required tension as per drawing, including providing & fixing of Stay Insulators of 11KV and Stay Clamps with Grouting of stay rods (20x1800)mm including all work of excavation, cement concrete in size (0.60x0.60x0.30)m in ratio 1:3:6 cement, sand, 20mm Stone grift) as per drg. Including back filling of soil and proper ramming etc. |  | 1 | Per No. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | Driving of MS earth rod of size 20x2500 mm in earth and jointing through G.I. wire of 6 SWG between support and earth electrode by providing proper size of bolts and nuts for pole earthing. |  | 1 | Nos. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
59 | Cartage and Laying lifting, stringing & proper sagging of 4/5 phases ACSR conductor (LT/HT) in accordance with Line chart includidng binding and fixing of all accessories in Conductor in parallel as per site requirement for New conductor on H.T/L.T line for New Connection to Consumer with binding, jumpering etc.including complete connections in all respect, from any Store Centre of PVVNL to work site including safe loading and unloading at both ends. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60 | ACSR Dog Conductor. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
61 | ACSR Weasel Conductor. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
62 | ACSR Rabbit Conductor. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
63 | Carriage of new LT ABC cable 50/70/ 95/120 Sqmm from Store Centre, Sahibabad to work site including safe loading and unloading at both ends with laying, lifting and sagging of ABC cable and fixing of all types clamps & connection with complete work in all respect. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
64 | size 50/70 sqmm |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
65 | size 95/120 sqmm |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
66 | Carriage of 3x50/70/120/185/220/385/300 sqmm of LT/11KV/33 KV XLPE cable from any Store Center sector 20,Noida/J.E Store/Ghaziabad/Any Store of PVVNL Discom to work site, loading & unloading both side with Laying and comissioning of LT/11KV/33KV XLPE Double Ckt./SINGLE CKT. by manual method/Trenchless method by digging of trench of size 750 mm wide 1050 mm deep and boxing with brick by three sides, sand, stone slab 600x450x50mm & providing and Fixing of HDPE Pipe as per site requirement and its required filling of trench, leveling and proper rooming . |  | 1 | Mtr. | 100 |  |  | Excess(+) | 500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
67 | Preparation of 11/33/LT KV Power Cable ends: Making of 11/33KV/LT KV XLPE Heat shrinkable outdoor/Indoor jointing kits/Straight Through suitable for different HT/LT XLPE Cable after duly plumbing and taping of cable, providing, fixing and crimping of proper size good quality lugs with complete connention in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
68 | Shifting of 11/0.4 KV, 25/63/100/250 KVA/400/630/1000 KVA T/F from the site and Re-Installation of same T/F at including loading and unloading the T/F on Plinth/Double Pole/as per site requirement and providing & fixing of Lugs & copper L-piece (04 No.) of size 400x50x6mm and making of L.T.Connections with complete work in all respects. |  | 1 | Per No. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
69 | Shifting of Metering System and CT/PT with Cubicle/BREAKER/VCB From the site and RE-Installation of same System at proposed site including loading and unloading both sides with mounting on double pole/Meter Room or Plith and making all the connections complete in all respect. |  | 1 | Per No. | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
70 | Guarding of LT, 11KV and 33KV Line by GI Wire or as per site requirement and Repairing & Tightening of loose Guarding & Re-winding of missing laces on Road Corssing with complete work in all respect. |  | 1 | Span | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
71 | Re-Sagging of Loose LT/HT line of ACSRConductor and complete work properly as per RESPO. |  | 1 | Span | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
72 | Re-Sagging of Loose LT line of AB Cable and complete work properly as per RESPO. |  | 1 | Span | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
73 | Tigtening & Re-winding of jumpering by ACSR Conductor as per site requirement with complete work in all respect. |  | 1 | Span | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
74 | Supply, Fixing and Errection of the Following material by the Contractor on his own cost. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
75 | Different Types of MS Nut & Bolts as per site requirement. |  | 1 | Kg | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
76 | Number Plate |  | 1 | Nos | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
77 | Danger Board |  | 1 | Nos | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
78 | Suspension Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
79 | Piercing Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
80 | F-Brackets |  | 1 | Nos. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
81 | F Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
82 | Holding Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
83 | Earth Clamp |  | 1 | Nos. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
84 | Dead End Clamp |  | 1 | Nos | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
85 | J Hook for Suspension |  | 1 | Nos. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information