## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle, Hapur.
Name of Work: FOR REPAIRING/REPLACMENT OF JARJAR VCB AND OHTHER ASSOCIATED WORKS (16NOS WORKS), IN BUSINESS PLAN (2024-25), IN THE AREA OF EDD-GARHMUKTESHWER, UNDER EDC., HAPUR.
Tender No: 127(W)/EDCH/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | FOR REPAIRING/REPLACMENT OF JARJAR VCB AND OHTHER ASSOCIATED WORKS, IN BUSINESS PLAN (2024-25), IN THE AREA OF EDD-GARHMUKTESHWER, UNDER EDC., HAPUR. (Third party inspection of the quality of all works will be conducted by the department.) | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Carriage of all petty material of estimate, from Electricity store center, Hapur to 33/11KV Sub-Station/site of work with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001113 | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Carriage of new 33KV outdoor type VCB with structure from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | Carriage of 33KV CT Outdoor 33KV CTR 200/100/1, from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 36 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Carriage of 33KV CT/PT 400/200/1, from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 12 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | Carriage of 33KV VCB 750MVA-1250A, from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 9 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | Carriage of new 33KV PT and 33KV CT, from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 38 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | Carriage of 33KV control Pannel for double transformers from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Carriage of 33KV control Pannel for Single transformers from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | Carriage of new 33KV VCB control pannel with structure from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.1 | Carriage of new 33KV Bus-Isolator from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | Carriage of new 33KV VCB SING TRANS control pannel from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | Carriage of new 11KV outgoing VCB from Electricity store center, Hapur to 33/11KV Sub-Station with loading and unloading at both ends on Kachha Packka road, as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | Carefully & safely shifting of 33KV outdoor type VCB, from outside to inside the switchgear room at the place of removed VCB's and erection/Installation of 33KV VCB's after fixing of anchor GI nuts & bolts of proper size for completion of energisation work by providing required fixing material, as per RESPO/Drawing Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | Carefully & safely shifting of 33KV VCB 750MVA-1250A from outside to inside the switchgear room at the place of new/ removed VCB's and erection/Installation of 33KV VCB's after fixing of anchor GI nuts & bolts of proper size for completion of energisation work by providing required fixing material, as per RESPO/Drawing Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 9 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | Carefully & safely shifting of 11KV outgoing VCB from outside to inside the switchgear room at the place of removed VCB and erection/Installation of 11KV bus-cuplor VCB Pannel after fixing of anchor GI nuts & bolts of proper size for completion of energisation work by providing required fixing material, as per RESPO/Drawing Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | Erection/Installation of 33KV Control Pannel double transformers after fixing of anchor GI nuts & bolts of proper size for completion of work by providing required material, as per RESPO/Drawing Norms , and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | Erection/Installation of 33KV Control Pannel Single transformers after fixing of anchor GI nuts & bolts of proper size for completion of work by providing required material, as per RESPO/Drawing Norms , and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | Erection/Installation of 33KV VCB Sing Trans Control Pannel after fixing of anchor GI nuts & bolts of proper size for completion of work by providing required material, as per RESPO/Drawing Norms , and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | Erection/Installation of 33KV VCB Control Pannel with structure after fixing of anchor GI nuts & bolts of proper size for completion of work by providing required material, as per RESPO/Drawing Norms , and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | Mounting, Placing and connecting of all connections of 33KV PT and 33KV CT and completion work properly by providing required matrial, as per RESPO Norms, , and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 38 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | Mounting, Placing and connecting of all connections of 33KV CT Outdoor 33KV CTR 200/100/1, and completion work properly by providing required matrial, as per RESPO Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 36 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.22 | Mounting, Placing and connecting of all connections of 33KV CT/PT 400/200/1, and completion work properly by providing required matrial, as per RESPO Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 12 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.23 | Erection and Fixing of 33KV Bus Isolastor by providing all fixing materials and completion work properly as per RESPO Drawing/Norms and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.24 | Installation of Battery set and completion work properly as per RESPO Drawing/Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 5 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.25 | Installation of Battery charger set and completion work properly as per RESPO Drawing/Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 5 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.26 | Erection & Fixing of 33KV. Fuse set on STP/PCC Pole, by providing all required fixing materials as per RESPO/Norms and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.27 | Erection and Fixing of 33KV Lightening Arrestor by providing all fixing materials and completion work properly as per RESPO Drawing/Norms and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 45 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.28 | Erection and Fixing of 33KV Line Isolastor by providing all fixing materials and completion work properly as per RESPO Drawing/Norms and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.29 | Making and filling of 11KV Cable Jointing Kit 3x300Sqmm, indoor/ outdoor type, after duly plumbing and taping of suitable XLPE Cable, providing, fixing and crimping of proper size good quality lugs, including cost of lugs and tape etc., as per RESPO Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.3 | Making and filling of 11KV Cable Jointing Kit 3x185Sqmm, indoor/ outdoor type, after duly plumbing and taping of suitable XLPE Cable, providing, fixing and crimping of proper size good quality lugs, including cost of lugs and tape etc., as per RESPO Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.31 | Laying of Copper Control Cable 6x2.5Sqmm., and completion of work properly as per RESPO/Norms, including by providing required fixing materials and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 100 | mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.32 | Laying of Copper Control Cable 2x2.5Sqmm., and completion of work properly as per RESPO/Norms, including by providing required fixing materials and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 1400 | mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.33 | Laying of Copper Control Cable 4x2.5Sqmm., and completion of work properly as per RESPO/Norms, including by providing required fixing materials and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 600 | mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.34 | Laying of Control Cable and completion of work properly as per RESPO/Norms, including by providing required fixing materials and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 80 | mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.35 | Laying of 11KV XPLPE Cable 3x300Sqmm., and completion of work properly as per RESPO/Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 100 | mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.36 | Laying of 11KV XPLPE Cable 3x185Sqmm., and completion of work properly as per RESPO/Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 80 | mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.37 | Installation of Vaccum Interrupter and completion work properly as per RESPO Drawing/Norms, and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 22 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.38 | Providing and installation of maintenance free multifaceted proactive and corrosion free chemical earthing electrod size 80mm x 3000mm complete with 50KG backfill compound with all required accessories for Body earthing of Transformers, including cost of M.S. earth strip for connection the earth strip will be welded to the earthing and neutral support, as per RESPO/Norms and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 5 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.39 | Earthing of neutral & body of T/F By Boring and lowering of G.I. Pipe size 32 mm dia… into the ground up to water level 120 fit. With the lower end of solid copper cone approx. 225mm long and 750 gm. in weight shall be provided and screwed in pipe as well as bringing out a continuous copper wire 6 SWG from the cone up to the ground surface where it will be bolted to the M.S. earth strip for T/F neutral connection, the earth strip will be welded to the G.I. pipe and neutral earthing support, as per RESPO/Norms and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 19 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.4 | Earthing of supports with MS earth Rod of (20x2500)mm long including excavation of pit and driving M.S. Rod 3.0 M apart from support and 0.5m below the ground level and connection below the earth electrodes with the help of G.I. wire & earthing lugs as per RESPO Drawing/Norms by providing proper size nuts & bolts., and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 10 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.41 | Construction of T/F plinth suitable for 33KV VCB as per drawing, cc work in foundation in ratio 1:4:8 (Cement, Sand & Brick ballast). Ist class brick work in side walls cc ratio of 1:4 (cement & fine sand). 12mm thick plaster in ratio 1:4 (cement & fine sand). The RCC work on top of plinth in ratio 1:2:4 after duly filling of brick ballast inside the plinth & ramming the same, including cost of all material & labour and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 3 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.42 | Grouting of structure in CC 1:4:8 (Cement, sand & 40mm brick ballast) Grouting will be done as per sanctioned estimate/RESPO Norms, with mufting as per drawing, work includes back filling & proper ramming by providing all required grouting materials., and as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 11 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.43 | Providing and installation of cooling fan of best quality as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.44 | Providing and installation of Fan Exuast of best quality as per direction of site incharge. | BI01010001010000000000000515BI0100001115 | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.45 | Dismantling work and Carriage of old and jarjar 11KV VCB from 33/11KV Sub-Station/ site of work to Electricity store center, Hapur with loading and unloading at both ends on Kachha Packka road. | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.46 | Dismantling work and carriage of old and jarjar 33KV VCB from 33/11KV Sub-Station/ site of work to Electricity store center, Hapur with loading and unloading at both ends on Kachha Packka road. | BI01010001010000000000000515BI0100001115 | 3 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.47 | Dismantling work and carriage of old and jarjar scrap 11KV XLPE Cable-1500Kg., and Iron scrap-100Kg, from 33/11KV Sub-Station to Electricity store center, Hapur with loading and unloading at both ends on Kachha Packka road. | BI01010001010000000000000515BI0100001115 | 2.5 | Qtl. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.48 | Dismantling work and carriage of old and jarjar 33KV Bus-Isolator, from 33/11KV Sub-Station to Electricity store center, Hapur with loading and unloading at both ends on Kachha Packka road. | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.49 | Dismantling work and carriage of old and jarjar scrap Battery/charger set from 33/11KV Sub-Station/ site of work to Electricity store center, Hapur with loading and unloading at both ends on Kachha Packka road. | BI01010001010000000000000515BI0100001115 | 5 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.5 | Jumpering and line energisation work properly as per RESPO/Norms. | BI01010001010000000000000515BI0100001115 | 32 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information