## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of Installation of new VCB at various site Under Business Plan Scheme 2024-25 in the Area of EE, EUDD-I, EUDD-III, EUDD-V and EUDD-IX Ghaziabad under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 87/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of 11 KV VCB I/C 600/300/5A,350 MVA,24 volt from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 33 KV VCB I/C 800A, 750 MVA from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of 11 KV VCB For O/G 200/100/5A,350 Mva, from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 8 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of 11 KV BUS COUPLER from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of 33 KV VACCUM CIRCUIT BREAKER 1250 AMP from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Carriage of Control Pannel I/C for 33KV VCB Double T/F from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Carriage of 33 KV CT 400/200/1 from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001119 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Carriage of 33 KV 3x300 sqmm XLPE Cable from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 290 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Carriage of 33 KV 3x300 sqmm Out Door J-Kit from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 26 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Carriage of 33 KV Line Isolator from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Carriage of 33 KV O/D VCB from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Carriage of 33 KV Lightening Arrester from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Carriage of ACSR Dog Condutor from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 200 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Carriage of 33 KV Control Panel For Single T/F from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Carriage of Control Relay Panel For Single Feeder from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Carriage of 33 KV Out Door type CT 400/200/1A from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Carriage of Post Insulator from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Carriage of Bettary Set 24 Volt from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001119 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Carriage of Bettary Charger 24 Volt from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Carriage of 11 KV I/D Cable Box from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Carriage of Vacuum Interrrupter For 11 KV VCB (Steel Make/CG Make) from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 21 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Carriage of 33 KV Fuse Set from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Carriage of Copper Control Cable 4x2.25 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001119 | 300 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Dismantling of MS scrap 33 kv Indoor Type VCB Panel and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001114 | 30 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Dismantling of 11 KV VCB I/C CTR 600/300/5A,350 MVA, and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001115 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Dismantling of 33 KV VACCUM CIRCUIT BREAKER 1250 AMP and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001116 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Dismantling of Old & Damage Outgoing VCB and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001117 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Dismantling of Old & Damage Incoming VCB and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Dismantling of Old & Damage Control Pannel I/C for 33KV VCB Double T/F and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Dismantling of Old & Damage Control Pannel I/C for 33KV VCB Double T/F and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001115 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Safely placing/Fixing & Commissioning 11 KV VCB I/C 600/300/5A,350 MVA,24 volt at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Safely placing/Fixing & Commissioning 33 KV VCB I/C 800A, 750 MVA at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Safely placing/Fixing & Commissioning 11 KV VCB For O/G 200/100/5A,350 Mva, at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 8 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Safely placing/Fixing & Commissioning 11 KV BUS COUPLER at site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Safely placing/Fixing & Commissioning 33 KV VACCUM CIRCUIT BREAKER 1250 AMPat various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Safely placing/Fixing & Commissioning Control Pannel I/C for 33KV VCB Double T/F at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | Safely placing/Fixing & Commissioning 33 KV CT 400/200/1 at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38 | Safely placing/Fixing & Commissioning 33 KV Line Isolator at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | Safely placing/Fixing & Commissioning 33 KV O/D VCB at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
40 | Safely placing/Fixing & Commissioning 33 KV Lightening Arrester at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41 | Safely placing/Fixing & Commissioning 33 KV Control Penal For Single T/F at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42 | Safely placing/Fixing & Commissioning Control Relay Penal For Single Feeder at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
43 | Safely placing/Fixing & Commissioning 33 KV Out Door type CT 400/200/1A at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44 | Safely placing/Fixing & Commissioning Vacuum Interrrupter For 11 KV VCB (Steel Make/CG Make) at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 21 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
45 | Safely Fixing & Commissioning 33 KV Fuse Set at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
46 | Safely Laying/Liftting/Sagging/Jumpering/Fixing Copper Control Cable 4x2.25 sqmm at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 300 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
47 | Safely Laying/Liftting/Sagging 33 KV 3x300 sqmm XLPE Cable at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 290 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
48 | Safely Fixing 33 KV 3x300 sqmm Out Door J-Kit at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 26 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49 | Laying/Lifting/Jumpering ACSR Dog Condutor at site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 200 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
50 | Safely placing/Fixing Post Insulator at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
51 | Safely Fixing 11 KV I/D Cable Box at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
52 | Supply & Fixing 4x2.5 sqmm Control Cable Armoured at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 100 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
53 | Supply & Fixing 2x2.5 sqmm Control Cable at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 100 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
54 | Construction of Plinth As Suitable for errrction of 33 kv VCB Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
55 | Construction of Plinth As Suitable for errrction of 33 kv CT Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
56 | Construction of Plinth As Suitable for errrction of 33 kv LA Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
57 | Construction of Plinth As Suitable for errrction of 33 kv Line Isolator Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
58 | Construction of Plinth As Suitable for errrction of 33 kv Cable Stand Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
59 | Fabrication & Errection of LA Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
60 | Fabrication & Errection of CT Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
61 | Fabrication & Errection of Line Isolator Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
62 | Fabrication & Errection of Cable Stand Structure With Meterial at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
63 | Construction of Cable Tranch 300x300 MM Sq. With Cover With Material at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 40 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
64 | Supply & Fixing Control Cable 4x2.25 MM. SQ With Material at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 150 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
65 | Supply & Fixing Control Cable 2x2.25 MM. SQ With Material at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 150 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
66 | Supply & Fixing Control Cable 6x2.25 MM. SQ With Material at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 100 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
67 | Providing & Fixing Pipe Earthing Including Earthing Strip (UP To Water Level) at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
68 | Construction of Plinth For Compact Station T/F at site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
69 | Providing & Fixing Chamical Earthing with Earthing Strip at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
70 | Supply & laying of 33 KV 3x300 SQ.MM Cable at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 80 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
71 | Testing & Commissioning Bapu Dham 8 Sub Station at site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
72 | Supply & fixing Sundry Item at site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 1 | L/S |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
73 | Supply & Fixing PG Clamp Dog to Dog at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 20 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
74 | Providing & Painting of all Structure with Red Oxide & Allu. Paint at Bapu dham 8 Sub Station complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
75 | Shifting of Compect Station T/F with 11 KV & LT Cable at Bapu dham 8 Sub Station complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
76 | Dismatling & Shifting of 33 KV SF6 VCB S/S Bapu dham 8 Sub Station to Store center complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
77 | Supply & Fixing Nut & Bolt off size at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 95 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
78 | Removed & Installation of Old VCB at Raj Nagar Sub Station complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
79 | Supply & Fixing MS Channal complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 20 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
80 | Supply & Fixing Iron Covering Plate complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 50 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
81 | Supply & Fixing 4C Control Cable 2 Sqmm complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 70 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
82 | All other works complete in all respect as per site requirement. | BI01010001010000000000000515BI0100001114 | 13 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information