## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : for the Work of Biffercation/ Under Ground Cabling Business Plan Scheme 2024-25 in the Area of EE, EUDD-III Ghaziabad. Under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 80/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of 11 KV XLPE Cable 3x185 sqmm/ 11 KV Alu. Cable 3x185 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 4430 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of ST Pole 13 Mtr Long from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of ST Pole 11 Mtr Long from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of PCC Pole 9 MTR LONG from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of ACSR weasel Conductor from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 30 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Carriage of ACSR Dog Conductor from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 150 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Carriage of 11 KV VCB FOR O/G CTR 200/100/5A 350 MVA from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001119 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Carriage of line material as per site requirement:- 11 KV Cable jointing kit O/D 3x185 XLPE- 59 Nos, 11 KV Cable jointing Straigth Through 11 KV 3x185- 3 Nos, 11 KV Pin Insulator With Pin & Nuts- 42 Nos, Earth Rod With Set- 4 Nos, MS Angel 75x75x6-2 Nos, MS Channel- 140 Kg, Top Channel 100x50x2240 mm- 6 Nos, Dropper Channel 100x50x2000 mm- 4 Nos, 11 KV Polly Disc Insu. 45 KN with Fitting - 6 Nos, GI Wire 6 SWG- 5 Kg from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 3 | Ton |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Dismantling of ABC Scrap- 150 Kg and Rail Pole off size- 2 Nos carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001115 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Erection of ST Pole13 Mtr long/ ST Pole 11 Mtr long/PCC Pole 9 Mtr long complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Providing and Grounting/Concreting of Pole complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Providing and Complete Chemical Earthing with all accessories complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Laying of 11 KV XLPE Cable 3x185 sqmm/ 11 KV Alu. Cable 3x185 sqmm tranchless Method with HDPE Pipe including road rostoration complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 2780 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Laying of 11 KV XLPE Cable 3x185 sqmm/ 11 KV Alu. Cable 3x185 sqmm open cut with Sand and bricks and road rostoration (with Permission) complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 75 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Laying of 11 KV XLPE Cable 3x185 sqmm/ 11 KV Alu. Cable 3x185 sqmm open cut with Sand and bricks with kacha pakka complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 260 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Laying, Lifting and sagging of 11 KV XLPE Cable 3x185 sqmm/ 11 KV Alu. Cable 3x185 sqmm complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 1315 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Laying, Lifting, Jumpring and sagging of ACSR weasel Conductor complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 30 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Laying, Lifting, Jumpring and sagging of ACSR Dog Conductor complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 150 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Safely placing/Fixing & Commissioning 11 KV VCB FOR O/G CTR 200/100/5A 350 MVA volt at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Fixing of 11 KV Cable jointing kit O/D 3x185 XLPE at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 59 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Fixing of 11 KV Cable jointing Straigth Through 11 KV 3x185 at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Fixing of 11 KV Pin Insulator With Pin & Nuts at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 42 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Fixing of Earth Rod With Set at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Fixing of MS Angel 75x75x6 at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Fixing of MS Channel at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 140 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Fixing of Top Channel 100x50x2240 mm at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Fixing of Dropper Channel 100x50x2000 mm at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Fixing of 11 KV Polly Disc Insu. 45 KN with Fitting at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Fixing of GI Wire 6 SWG at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 5 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Supply & Fixing Holding clamp/ MS clamp/ STP clamp with Bolts and Nuts at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 40 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Supply & Fixing M.S Nut & Bolt off Size at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 22 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Supply & Fixing GI Pipe 6 DIA at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Supply & Fixing GI Pipe 6 DIA at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 44 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | All other works complete in all respect as per site requirement. | BI01010001010000000000000515BI0100001115 | 17 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information