## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work: For the work of Capacitor Bank (Rrepairing and Installation EUDD-I and EUDD-III) and RMU (Installation work EUDD-I, EUDD-III and EUDD-V) at various site Under Business Plan Scheme 2024-25 in the Area of EE, EUDD-I, EUDD-III and EUDD-V Ghaziabad under the jurisdiction of SE, EUDC-I, Ghaziabad
Contract No: 92/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | work of Capacitor Bank (Repairing and Installation EUDD-I and EUDD-III) at various site Under Business Plan Scheme 2024-25 in the Area of EE, EUDD-I and EUDD-III, Ghaziabad. | Laying, sagging, stringing, binding and jumpering etc of ACSR dog conductor on the newly erected pole and existing pole as per RESPO manual required for proper completion of work | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Carriage of 11KV 3core AL, XLPE Insulated 3x185 sqmm Cable from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (A) ACSR Weasel, Racoon & Dog Conductor | 180 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Carriage of 11KV XLPE Cable(3x185 sqmm Heat Shrinkable Jointing Kit Indoor from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (B) 11 KV/ LT. ABC Cable | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Carriage of 11KV XLPE Cable(3x185 sqmm Heat Shrinkable Jointing Kit Outdoor from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (C) Laying of 11 KV XLPE Cable in Trench | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Carriage of 11KV VCB Switchgear for Capacitor Bank with complete arangment for connection with existing 11KV bus bar from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | Making of Guarding of 11· KV line as per RESPO norms | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Carriage of 24 volt battery and battery set charger Cabinate complete for capacitor VCB from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 1 | Set | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Fixing/Installation 11KV 3core AL, XLPE Insulated 3x185 sqmm Cable at various site complete in all respect as per RESPO norm. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 180 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Fixing/Installation 11KV XLPE Cable(3x185 sqmm Heat Shrinkable Jointing Kit Indoor at various site complete in all respect as per RESPO norm. | Making of Pipe Earthing with GL Pipe 1.25 Inch Dia. as per RESPO manual | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Fixing/Installation 11KV XLPE Cable(3x185 sqmm Heat Shrinkable Jointing Kit Outdoor at various site complete in all respect as per RESPO norm. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Safely placing & Commisioning/Installation 11KV VCB Switchgear for Capacitor Bank with complete arangment for connection with existing 11KV bus bar at various site complete in all respect as per RESPO norm. | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Fixing/Installation 24 volt battery and battery set charger Cabinate complete for capacitor VCB at various site complete in all respect as per RESPO norm. | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 1 | Set | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Repairing of 6 Nos Capacitor Bank With All Accessories (Reley) under EUDD-I at various site complete in all respect as per RESPO norm. | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 6 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Supply/Fixing/Commisioning /Complete Intallation 12.65KV, 3960KVAR, 3Phase, 50 C/S Housed in outdoor Type CRCA Panel Capacitor Bank Having Two Variable Step of 792 Kvar & Two Variable Steps of 1188 Kvar Bank Shall be complete with Capacitor units of 396/264 Kvar, Alluminium busbars, Eposy insulators, HT HRC fuse, Surge Suppressor etc with details as follows-(1) 11KV, Alluminum wound Dry types series reactors(a) 0.528 Kvar for 792 step-6 nos, (b) 0.264 Kvar for 396 Kvar step-3 nos, (2) 11KV, 3-Phase dry types RVT-1 nos (3)12KV 3-Phase Indoor type metal enclosed Vaccum Contractor-4nos. (4) Indoor type Automatic Control unit-1. (5) IP 55 Outdoor CRCA Cubicle Panel for accommodating capacitors, series reactor, Vaccum Contractor, Surge Suppressor etc, along with ERP Canopy-1 Set. at various site complete in all respect as per RESPO norm. | Installation of25 to 100 KV A T/F on DIP complete work. as per RESPO manual | 4 | SET | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Supply & Fixing/Complete Installation 11KV, 400am, off load Isolator with earth switch and mounting structure at various site complete in all respect as per RESPO norm. | Installation of 11 KV CT/PT unit on D/P with fixing of fitting complete work. as per RESPO Manual | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Supply & Fixing/Complete Installation 9KV, 10KA, Class III Lighting Arrestor at various site complete in all respect as per RESPO norm. | Installation of 11.KV Metering cubical in meter room complete work as per RESPO manual | 12 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Supply & Fixing/Complete Installation Control Cables, Lugs/Thimble, Junction Box etc at various site complete in all respect as per RESPO norm. | Installation of 33.KV Metering cubical in meter room complete work as per RESPO manual | 4 | SET | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Providing & Fixing/Complete Installation Casting of Civil Foundation at various site complete in all respect as per RESPO norm. | Providing and fixing of holding clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 No. bolts and Nuts size 16x100 mm as RESSPO specification. | 4 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Laying of Ower/Control Cables in tranch at various site complete in all respect as per RESPO norm. | Providing and fixing of I/D and O/D , cable box of 11 KV 3x185 mm 2 XPLE Cable | 100 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Providing & Fixing/Complete Installation Earthing for Pane, Isolator and LA' by Chemical Pipe Earthing at various site complete in all respect as per RESPO norm. | Providing and fixing of LT clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 Nos. bolts and nuts size 16x100 mm as RESPO specification. | 8 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Supply & Fixing/Complete Installation GI Strip of size-25x3mm for connection of Earthing with equipment at various site complete in all respect as per RESPO norm. | Providing and fixing of stay / sted/brassing clamp made of MS flat size 50x6 mm suitable for ST pole with 3 Nos. bolts and nuts size 16x65 mm as RESSPO specification. | 85 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | work of RMU (Installation work EUDD-I, EUDD-III and EUDD-V) work at various site Under Business Plan Scheme 2024-25 in the Area of EE, EUDD-I, EUDD-III and EUDD-V Ghaziabad. | Laying, sagging, stringing, binding and jumpering etc of ACSR dog conductor on the newly erected pole and existing pole as per RESPO manual required for proper completion of work | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
22 | Carriage of 11 KV 3X185 sqmm. XLPE Cable from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (A) ACSR Weasel, Racoon & Dog Conductor | 1610 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
23 | Carriage of 11 KV 3X185 sqmm. Outdoor/indoor Jointing Kit from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (B) 11 KV/ LT. ABC Cable | 60 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Carriage of 11 KV 3X185 sqmm. Cable Box O/D from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (C) Laying of 11 KV XLPE Cable in Trench | 30 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Laying, Lifting, Sagging/Complete Installation 11 KV 3X185 sqmm. XLPE Cable at various site complete in all respect as per RESPO norm. | Making of Guarding of 11· KV line as per RESPO norms | 1190 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | Fixing/Complete Installation 11 KV 3X185 sqmm. Outdoor/indoor Jointing Kit at various site complete in all respect as per RESPO norm. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 60 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | Fixing/Complete Installation 11 KV 3X185 sqmm. Cable Box O/D at various site complete in all respect as per RESPO norm. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 30 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | Supply & fixing/Complete Installation 12kv 630 Amps 21KA for 3 Sec. SF6 , BIL 28 KV/75 KV peak, extensible, outdoor duty 3-way, fully motorised and manually operated Ring Mains Unit originally manufactured by OEM in its factory only, comprising of 02 load break switch and 01 vaccum circuit breaker consisting of copper busbar in SF6 insulated tank with a provision electromechanical interlock to avoid accidental closure of earthing switch even when cable is in live condition. RMU should be Type Tested for Internal arc of 21 KA for 1 Sec with AFLR classification and gas to be from rear bottom of the switchgear away from the operator to ensure safety of the operating personnel. Suitable Ct 200-50/1 A with microprocessor based numerical over current relay (IDMTL + Inst.) for Protection to be provided with VCB Feeder with right angle boot for termination Kits. All the necessary wirings and Dummy panel/space for FRTU to be given along with RMU for future compatibility with SCADA system (Supply of FRTU is not in scope). Battery, Charger etc. for Motorised Operation of RMU to be provided. The scope is including Plinth/ Angle iron Stand as per OEM design complete in all respect as per the direction of Engineer incharge. Complete RMU and its accessories should be suitable for altitude of 100 mtrs above Sea Level. (Makes: ABB/Siemens/Eaton/Schneider or authorized by UPPCL) at various site complete in all respect as per RESPO norm. | Making of Pipe Earthing with GL Pipe 1.25 Inch Dia. as per RESPO manual | 14 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | Providing/Complete Installation Plinth for RING MAIN UNIT at various site complete in all respect as per RESPO norm. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 14 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | Providing & Fixing/ Complete Installation Chemical Earthing at various site complete in all respect as per RESPO norm. | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 28 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Supply & Fixing/ Complete Installation GI Pipe 6" Dia at various site complete in all respect as per RESPO norm. | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 180 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Supply & Fixing/ Complete Installation Nut & Bolts with washer off size at various site complete in all respect as per RESPO norm. | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 40 | Kg | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
33 | Supply & Fixing/ Complete Installation Holding Clamp at various site complete in all respect as per RESPO norm. | Installation of25 to 100 KV A T/F on DIP complete work. as per RESPO manual | 80 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
34 | Supply & Fixing/ Complete Installation AL Crimping Lug 240 sqmm at various site complete in all respect as per RESPO norm. | Installation of 11 KV CT/PT unit on D/P with fixing of fitting complete work. as per RESPO Manual | 36 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
35 | Cable Laying Trunchless with HDPE pipe with road restoration (60 Mtr) at various site complete in all respect as per RESPO norm. | Installation of 11.KV Metering cubical in meter room complete work as per RESPO manual | 420 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information