## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M&f}rh;] lgkjuiqj ds vUrxZr fo¦qr forj.k mi[k.M&dSyk’kiqj ds dk;Z{ks= es iw.kZ tek ;kstuk ds vUrxZr /kujkf’k tek gksus ds mijkUr Jh NkcMk iq= Jh pj.k nkl NkcMk xzke lMd nq/kyh ds la;kstu dks 02 fd0ok0 ls 15 fd0ok0 djus gsrq] uo Hkkjr ih0oh0lh0 b.MLVªht izks0 ekS0 ‘kguokt] fudV bZnxkg lMd nq/kyh nsgjknwu jksM lgkjuiqj dks 50 ds0oh0,0 dk u;k vkS/kksfxd la;kstu fuxZr djus gsrq] Jh jke izsj.kk efgyk y/kq m/kksx] xzke lqugSVh [kj[kMh dks 50 ds0oh0,0 dk u;k vkS/kksfxd la;kstu fuxZr djus gsrq] eaxy lSu dkyksuh fudV 33@11 ds0oh0 dSyk’kiqj] nsgjknwu jksM] lgkjuiqj dks fo¦qrhd`r djus dk dk;Z ,oa Jh jktu pkoyk iq= Jh jks’ku yky xzke lMd nw/kyh] ftyk lgkjuiqj ds la;kstu dks 05 fd0ok0 ls 36 fd0ok0 djus dk dk;Z
Contract No: 121/w/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safe cartage of PCC poles up to 8.5 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends.(Dist.Up to 25 Km.) |  | 21 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of other complete line material / 11 KV XLPE cable / ABC cable (Except PCC Pole) from ESC, SRE/ JE store to site of work at various sites including loading, unloading at both ends.( Dist.App. 0 to 25 Km.) |  | 3 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safe cartage of 63 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 35 km.) |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Erection of single support on PCC poles up to 8.5 Mtr Long with complete fitting of all accessories of 11 KV/LT line. complete. |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Erection of double Pole on PCC poles up to 8.5 Mtr Long with complete fitting with all accessories complete. |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Earthing of poles by earthing rod. |  | 21 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Providing & fixing of LT clamp with nuts bolts made of new MS flat iron 50x6 mm on PCC poles |  | 15 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing of LT shekel insulator of size 100x115mm |  | 15 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providing of nuts & bolts for LT shekel insulator of size 180x19mm half threading. |  | 12 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing of X-arm holding clamps PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing of Stay Clamp PCC poles with nuts bolts made of new MS flat iron 50x6 mm |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.13 | Providing of I-Hook Clamp for PCC poles with nuts bolts made of new MS flat iron 50x6 mm |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Providing of double Pole clamp on PCC poles with nuts bolts made of new MS flat iron 50x6 mm |  | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11KV/LT Line including complete. |  | 290 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Safe installation of 63 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Laying, lifting, Stringing, proper sagging ABC cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. including fixing of all accessories. |  | 345 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Laying, lifting, stringing proper sagging of 11 KV XLPE cable 3X35/3x70/ 3X120/3x185 sq mm of including complete etc |  | 40 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Fixing of Distribution Box out door of LT line as per RESPO specification.. |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Fixing & making of 11 KV cable Jointing kit out door & indoor of size 3X35/3x70/ 3X120/3x185 sq mm. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Laying and making connections of LT PVC/XLPE cable 4x16/4x25/4x35/3.5x50/3.5x70/ 3.5x150/ sq.mm. from T/F to double pole (approx to 20 Mtr). |  | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Off shooting of tree branches touching the 11 KV/LT line. |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information