## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: vf/k'kklh vfHk;Urk] fo¦qr forj.k [k.M&izFke] eqt¶Qjuxj ds v/khu fo¦qr forj.k mi[k.M&f}rh;@r`rh;@c?kjk] eqt¶Qjuxj ds dk;Z {ks= ds vUrxZr 33@11 dsoh midsUnz tlksbZ ij LFkkfir 10 ,eoh, ikoj ifjorZd ,oa 33@11 dsoh midsUnz cqMhukdyk ij LFkkfir 05 ,eoh, ikoj ifjorZdksa esa ysoy ifjiw.kZ djuk o iSfdax cnyuk] xzke&xqTtjgsMh esa 63 dsoh, forj.k ifjorZd dh {kfrxzLr ,y0Vh0 ,0ch0lh0 dsfcy cnyuk] 33@11 dsoh midsUnz cqMhukdyk ij {kfrxzLr@[kjkc cSVjh o cSVjh pktZj ds LFkku ij u;k cSVjh o cSVjh pktZj cnyuk] eSllZ fr:ifr dSfedy o midsUnz HkksdjgsMh ij {kfrxzLr dsfcy ckWDl o lh0Vh0 ¼foHkkx }kjk½ cnyus dk dk;Z ckg~; ,tsUlh ds ek/;e ls djk;s tkus gsrq dk;ZA
Contract No: 55/2022-2023/EDC-I MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | fo¦qr Hk.Mkj dsUnz ls lkbZV rd lkexzh ig¡qpkus dk dk;Z ftlesa nksuksa vksj dh yksfMax o vuyksfMax 'kkfey gSA¼nwjh 0 ls 50 fd0eh0½ | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | PCC Pole 8.5 Mtr |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | LT ABC Cable 3x95+1x70+1x16 SQMM |  | 500 | eh0 | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | Fresh Distribution Transformer Oil (420 Litre) |  | 2 | Mªe | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | 3 PHASE DISTRIBUTION BOX |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | 1 PHASE DISTRIBUTION BOX |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | 24 Volt. Battery |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | 24 Volt. Battery Charger with Cabinet |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | 11 KV CT/PT Metering Pole Mounted Unit 60/5A |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.09 | 11 KV CABLE JOINTING KIT 3X300 Sqmm INDOOR |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | 11 KV CABLE JOINTING KIT 3X300 Sqmm OUTDOOR |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | 11 KV CT 600/300/5A |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | ykbZu lkexzh ¼bUlqysVj] fMLd] rkj] Økl vkeZ vkfn½ |  | 1 | dqary esa | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Hk.Mkj dsUnz ls izkIr fo¦qr lkexzh dks lkbZV ij LFkkfir djus dk iw.kZ dk;Z A | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | fu;ekuqlkj lkbZV ij LT ABC Cable 3x95+1x70+1x16 dks LFkkfir djus dk iw.kZ dk;ZA |  | 500 | eh0 | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | jsLiks ekudksa ds vuqlkj ih0lh0lh0 iksy cukus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh fufonkdkj }kjk ns; gksxhA |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | fu;ekuqlkj 33@11 dsoh midsUnz cqMhukdyk LFkkfir 05 ,eoh, ikoj ifjorZd ua0 1 o 2 dh VkWi IysV o jsfM;sVj [kksy dj rsy dks lqjf{kr fudkyus dk dk;ZA |  | 2 | izfr tkWc | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.04 | fu;ekuqlkj 33@11 dsoh midsUnz cqMhukdyk ij LFkkfir 05 ,eoh, ikoj ifjorZd ua0 1 o 2 dh xSl fdV o vk;y fly cnyus dk dk;ZA xSl fdV o vk;y fly fufonkdkj }kjk ns; gksxsA |  | 2 | izfr tkWc | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.05 | fu;ekuqlkj 33@11 dsoh midsUnz cqMhukdyk ij LFkkfir 05 ,eoh, ikoj ifjorZd ua0 1 o 2 ls fudkys x;s rsy dks lqjf{kr Hkjdj ifjorZd dh VkWi IysV o jsfM;sVj dks iwoZ dh Hkkfr LFkkfir djus dk dk;ZA |  | 2 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | fu;ekuqlkj 33@11 dsoh midsUnz tlksbZ ij LFkkfir 10 ,eoh, ikoj ifjorZdksa esa rsy ysoy de gksus ds dkj.k ifjorZdksa dks {kfrxzLr gksus ls cpkus ds fy;s rsy ysoy dh ek=k dkss iqjk djus dk dk;ZA |  | 1 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | fu;ekuqlkj 33@11 dsoh midsUnz cqMhukdyk tlksbZ ij LFkkfir 05 ,eoh, ikoj ifjorZd ua0 1 o 2 esa rsy ysoy de gksus ds dkj.k ifjorZdksa dks {kfrxzLr gksus ls cpkus ds fy;s rsy ysoy dh ek=k dkss iqjk djus dk dk;ZA |  | 1 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | fu;ekuqlkj 33@11 dsoh midsUnz cqMhukdyk ij LFkkfir [kjkc cSVVªh o cSVjh pktZj ds LFkku ij ubZ cSVVªh o cSVjh pktZj LFkkfir djus dk iw.kZ dk;ZA |  | 1 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | fu;ekuqlkj 3 PHASE DISTRIBUTION BOX LFkkfir dj gq;s pkyw djus dk iw.kZ dk;ZA |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | fu;ekuqlkj 1 PHASE DISTRIBUTION BOX LFkkfir dj gq;s pkyw djus dk iw.kZ dk;ZA |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.11 | fu;ekuqlkj 11 KV CT/PT Metering Pole Mounted Unit 60/5A LFkkfir dj gq;s pkyw djus dk iw.kZ dk;ZA |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.12 | fu;ekuqlkj 11 KV CABLE JOINTING KIT INDOOR LFkkfir dj gq;s pkyw djus dk iw.kZ dk;ZA |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.13 | fu;ekuqlkj 11 KV CABLE JOINTING KIT OUTDOOR LFkkfir dj gq;s pkyw djus dk iw.kZ dk;ZA |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.14 | fu;ekuqlkj 11 KV CT 600/300/5A LFkkfir dj gq;s pkyw djus dk iw.kZ dk;ZA |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.15 | fu;ekuqlkj 11 dsoh LVs; lSV DEiyhV LFkkfir djus dk dk;ZA |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | fufonkdkj }kjk fuEufyf[kr lkexzzh vko';Drkuqlkj miyC/k djkrs gq, yxkus dk iw.kZ dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | PIERCING CLAMP |  | 16 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | DEAD & CLAMP |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | SUSPENSION CLAMP |  | 8 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.04 | GAS KIT & OIL SEAL FOR 5 MVA POWER TRANSFORMER |  | 13 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | fu;ekuqlkj lkbZV ls mrkjh xbZ iqjkuh lkexzh dks ts0bZ0 LVksj@LVksj lSUVj eqt+¶Qjuxj igq¡pkus dk dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | LT ABC Damage Old & Used |  | 400 | eh- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.02 | BATTERY & CHARGER Damage Old & Used |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.03 | 11 KV CT/PT METERING POLE MOUNTED Unit Old & Used |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information