## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of strengthening old existed electrical infrastructure including increasing capacity of distribution transformer required in Reserve Police Lines Harsanw Ghaziabad under the jurisdiction of EE, EUDD-IX, GZB.
Tender no. 19/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Cartage of ST pole 11 meter long from store center Meerut road GZB to site including loading and unloading at both side. | BI01010001010000000000000515BI0100001113 | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Cartage of ACSR WESEAL CONDUCTOR from store center Meerut road GZB to site including loading and unloading at both side. | BI01010001010000000000000515BI0100001114 | 1750 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Cartage of 250 KVA T/F from store center Meerut road GZB to different site including loading and unloading at both side. | BI01010001010000000000000515BI0100001115 | 1 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Cartage of LT PVC Cable size 3.5x400 mm2 from store center Meerut road GZB to site including loading and unloading at both side. | BI01010001010000000000000515BI0100001116 | 120 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Cartage of line material ,pin insulator,doics insultor angle ,channel ,TPMO ,FUSE Set ,stay set X-arma, MS Earth road and other line material from store center Meerut road GZB to different site including loading and unloading at both side. | BI01010001010000000000000515BI0100001117 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Dismantling of all fitting and binding on exiting 11 KV line. | BI01010001010000000000000515BI0100001118 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Dismantling of old conductor (weasel & dog mix) after removing of all binding on insulator and connection exiting 11KV line and making bundle. | BI01010001010000000000000515BI0100001119 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Erection of Signal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on S/Pole and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001120 | 3 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Fixing of all accessories (X-arm, ClampT-off Channeal insulaor angle ) on exiting Single pole & complete work in all respect. | BI01010001010000000000000515BI0100001121 | 15 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Fixing of all accessories as pin insulaor angle X-arms , on single pole & complete work in all respect. | BI01010001010000000000000515BI0100001122 | 3 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Fixing of all accessories (Top channel droper Channel insulator angle fuse set) on exiting double pole & complete work in all respect. | BI01010001010000000000000515BI0100001123 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Lying of stringing and proper sagging & binding on ACSR weasel conductor in exiting 11KV line & complete work in all respect as per norms. | BI01010001010000000000000515BI0100001124 | 1750 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Grouting of stay set after digging of pits in proper size and grouting in Ratio 1:4:8 with cement, sand and concrete as per norms of nigam & complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001125 | 2 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Paint of pole complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001126 | 15 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Earthing of pole with M S earth road complete work in all respect. | BI01010001010000000000000515BI0100001127 | 15 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Concreting of ST pole complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001128 | 6 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Paint of pole complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001129 | 15 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Fixing and providing MS pole clamp different size. | BI01010001010000000000000515BI0100001130 | 15 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Fixing and providing of different size of nut & bolt. | BI01010001010000000000000515BI0100001131 | 22 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Earthing of 11/0.4 KV T/F with suitable G.I.Pipe and including all material complete work in all respect | BI01010001010000000000000515BI0100001132 | 2 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Fixing of GI strip to earthing pipe with electrick welding & complete work in all respect | BI01010001010000000000000515BI0100001133 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Placement of 250 KVA T/F on exiting Plinth with the helpf crane complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001134 | 1 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Laying of LT PVC Cable size 3.5x400 mm2. | BI01010001010000000000000515BI0100001135 | 120 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Cartage of old materials from site to JE/Store center meerut GZB incuding loading and unloading at both side. | BI01010001010000000000000515BI0100001136 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Making of all connection T/F and all cable connection on D/P /S pole & complete work in all respect. | BI01010001010000000000000515BI0100001138 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information