## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: vf/k'kklh vfHk;Urk] fo¦qr forj.k [k.M&izFke] eqt¶Qjuxj ds v/khu fo¦qr forj.k mi[k.M&f}rh;@r`rh;@c?kjk] eqt¶Qjuxj ds dk;Z {ks= ds vUrxZr 33@11 dsoh midsUnz fllkSyh ls iksf"kr xzke&fllkSyh esa 'kekZ QuhZpj ,oa fdlku Hkou ds ikl LFkkfir forj.k ifjroZd dh {kfrxzLr dsfcy cnyuk] 132 dsoh izkFkfed midsUnz Hkksik jksM ls iksf"kr 33 dsoh fl)cyh iks"kd dh ykbZu dk lqn`f<dj.k djuk] 'kqØeky ds taxy esa miHkksDrk Jh jktdqekj iq= Jh ';ke flag ds {kfrxzLr 25 dsoh, Mcy dks fMLesaVy dj u;k Mcy iksy dk fuekZ.k djuk] 33@11 dsoh midsUnz ykyw[ksMh o vykoyiqj ektjk ls iksf"kr xzkeksa ds {kfrxzLr fo¦qr iksy cnyuk] 33@11 dsoh midsUnz c?kjk ls fuxZr 11 dsoh frrkoh iks"kd ls iksf"kr uwuk[ksMk jksM ij {kfrxzLr 100 dsoh, Mcy dks fMLesaVy dj u;k Mcy iksy dk fuekZ.k djuk] 132 dsoh izkFkfed midsUnz tkSyh jksM ls fuxZr 33 dsoh ef[k;kyh iks"kd o 132 dsoh izkFkfed midsUnz Hkksik jksM ls fuxZr 33 dsoh isij fey iks"kd dh ykbZu ds iksy ij fLFkr 33 dsoh iksflZysu bUlqysVj ds LFkku ij 33 dsoh ikWfyefjd bUlqysVj LFkkfir@yxkus dk dk;Z] 33@11 dsoh midsUnz c?kjk dh {kfrxzLr 33 dsoh lh0Vh0 dks cnyuk] 132 dsoh izkFkfed midsUnz Hkksik jksM ls fuxZr 33 dsoh flYojVksu iks"kd dh {kfrxzLr 33 dsoh tksbZfVax fdV cnyuk] 33@11 dsoh midsUnz fllkSyh ls fuxZr 11 dsoh gMkSyh Vkmu iks"kd dh {kfrxzLr 11 dsoh tksbZfVax fdV cnyuk ,oa 33@11 dsoh midsUnz c?kjk ij LFkkfir ikoj ifjorZd ds vkmViqV gsrq 11 dsoh cl&ckj LFkkfir djus dk dk;Z ckg~; ,tsUlh ds ek/;e ls djk;s tkus gsrq dk;ZA
Contract No: 121/2022-23/EDC-I MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | fo¦qr Hk.Mkj dsUnz ls lkbZV rd lkexzh ig¡qpkus dk dk;Z ftlesa nksuksa vksj dh yksfMax o vuyksfMax 'kkfey gSA¼nwjh 0 ls 50 fd0eh0½ | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | PCC Pole 8.5 Mtr Long |  | 8 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | STP POLE 11 Mtr Long (OLD & USED SITE MATERIAL) |  | 12 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.03 | 33 KV CT 200/100/1A |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | 33 KV JOINTING KIT OUTDOOR KIT 3X300 Sqmm |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | 11 KV JOINTING KIT OUTDOOR KIT 3X185 Sqmm |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.06 | LT XLPE AL CABLE |  | 120 | ehVj | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.07 | ykbZu lkexzh ¼bUlqysVj] fMLd] rkj] Økl vkeZ vkfn½ |  | 5 | dqary esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Hk.Mkj dsUnz ls izkIr fo¦qr lkexzh dks lkbZV ij LFkkfir djus dk iw.kZ dk;Z A | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | jsLiks ekudksa ds vuqlkj ih0lh0lh0@,l0Vh0ih0 iksy cukus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 4 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | jsLiks ekudksa ds vuqlkj ih0lh0lh0@,l0Vh0ih0 Mcy iksy cukus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | fu;ekuqlkj ykbZu esa LFkkfir ,l0Vh0ih0 fo¦qr iksy esa vfrfjDr ,l0Vh0ih0 LVM iksy LFkkfir djuss dk dk;ZA ftlesa lHkh ,lsljht vko';drkuqlkj yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 12 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | fu;ekuqlkj lkbZV ij LFkkfir 11 dsoh o ,y0Vh0 ykbZu dks fMLesaVy dj lkbZV lkexzh dks foHkkxh; LVksj@ts0bZ0 LVksj igqpkus dk dk;ZA |  | 1 | tkWc esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.05 | fu;ekuqlkj lkbZV ij {kfrxzLr Mcy iksy dks fMLesaVy dj 25 dsoh, forj.k ifjorZd dks lqjf{kr mrkjdj rS;kj fd;s x;s Mcy iksy ij LFkkfir djrs gq;s pkyw djus dk iw.kZ dk;ZA |  | 1 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | fu;ekuqlkj lkbZV ij {kfrxzLr Mcy iksy dks fMLesaVy dj 100 dsoh, forj.k ifjorZd dks lqjf{kr mrkjdj rS;kj fd;s x;s Mcy iksy ij LFkkfir djrs gq;s pkyw djus dk iw.kZ dk;ZA |  | 1 | izfr tkWc | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.07 | fu;ekuqlkj lkbZV ij 33 dsoh dsfcy dks fMLesaVy djus ds mijkUr 33 KV JOINTING KIT OUTDOOR KIT 3X300 Sqmm dks LFkkfir fMLesaVy fd;s x;s 33 dsoh dsfcy dks iwoZ dh Hkkafr LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 1 | izfr tkWc | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.08 | fu;ekuqlkj 33@11 dsoh c?kjk midsUnz ij LFkkfir 10 ,eoh, ikoj ifjorZd ua0 2 ds vkmViqV gsrq cl&ckj] iksLV bUlqysVj o ,e0,l0pSuy LFkkfir djus dk iw.kZ dk;ZA |  | 1 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.09 | fu;ekuqlkj 33@11 dsoh midsUnz fllkSyh ds dk;Z {ks= ds vUrxZr forj.k ifjorZdksa dh {kfrxzLr LT XLPE AL CABLE 1x630 Sqmm dks cnyus dk dk;ZA |  | 2 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | fu;ekuqlkj LFkkfir 33 dsoh ykbZu ds e/; [kMs isMksa dh Vgfu;ksa dh dVkbZ&NVkbZ dk iw.kZ dk;ZA |  | 3 | tkc esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.11 | fu;ekuqlkj LFkkfir 33 dsoh ykbZu ds <hys rkjksa dk mPphdj.k dj rkjksa dks VkbZV djus dk iw.kZ dk;ZA |  | 5 | Liku esa | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.12 | fu;ekuqlkj LFkkfir 33 dsoh ykbZu ds frjNs ØkWl vkeZ dks lh/kk djus dk iw.kZ dk;ZA |  | 5 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.13 | fu;ekuqlkj LFkkfir 33 dsoh ykbZu ds frjNs fo¦qr iksyksa dks lh/kk djus dk iw.kZ dk;ZA |  | 4 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.14 | fu;ekuqlkj 33 dsoh ykbZu ds {kfrxzLr 33 dsoh bUlqysVj cnyus dk dk;ZA |  | 75 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.15 | fu;ekuqlkj midsUnz ij 33 KV CT 200/100/1A dks LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 2 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.16 | fu;ekuqlkj midsUnz ij 11 KV JOINTING KIT OUTDOOR KIT 3X185 Sqmms dks LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.17 | fu;ekuqlkj LFkkfir 11 dsoh ykbZu ds <hys rkjksa dk mPphdj.k dj rkjksa dks VkbZV djus dk iw.kZ dk;ZA ¼3 ls 4 Liku½ |  | 1 | tkc esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.18 | fu;ekuqlkj LFkkfir fd;s x;s fo¦qr iksyksa dh daØhfVax djus dk dk;ZA ftlesa flesUV] ckyw o vU; fodsUnzh; lkexzh fufonkdkj }kjk ns; gksxkA |  | 4 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | dk;Znk;h laLFkk@Bsdsnkj }kjk fuEufyf[kr lkexzzh vko';Drkuqlkj miyC/k djkrs gq, yxkus dk iw.kZ dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | NUT & BOLTS |  | 14 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | 11 KV BUS BAR COPPER 50X12 MM |  | 15 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | CLAMP |  | 18 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | fu;ekuqlkj lkbZV ls mrkjh xbZ iqjkuh lkexzh dks ts0bZ0 LVksj@LVksj lSUVj eqt+¶Qjuxj igq¡pkus dk dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | 33 KV CT DAMAGE |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.02 | 33 KV POLYMERIC PIN INSULATOR WITH PIN |  | 75 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.03 | DAMAGE AL CABLE |  | 110 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information