## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Exective Engineer, EDD, Sambhal
Name of Work:- fo¦qr forj.k [k.M] pUnkSlh ds vUrxZr fo¦qr forj.k mi[k.M] izFke] f}rh;] r`rh; ,oa prqFkZ pUnkSlh ds dk;Z {ks= esa tek ;kstuk ds vUrxZr u;s ljdkjh@xSj ljdkjh fo¦qr la;kstu voeqDr djus] fo¦qr Hkkj o`f) djus vkfn dk;Z jfuax Vs.Mj ds ek/;e ls ckg~; ,tsUlh ls djk;s tkus ds lEcU/k esaA
Contract No: 10/2024-25/EDC SAMBHAL
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Safe carriage of the following material from Store Centre JE's store to work site including loading and unloading at both ends. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 13 Mtr./11 Mtr./9 Mtr./8.5 Mtr. Long PCC/ST Poles. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | ACSR Weasel/Dog Conductor. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.1 | 11/0.4 10 KVA Transformers. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.1 | 11/0.4 25 KVA Transformers. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.1 | 11/0.4 63 KVA Transformers. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.1 | 11/0.4 100 KVA Transformers. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.1 | LT A.B.C. Cable. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.1 | 11 KV XLPE cable of size 3x70 sq.mm./ 3x120 sq.mm./ 3x180 sq.mm. etc. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.1 | Line material such as Cross-Arms, Pin Insulators, Guarding Angles, Guarding Wire, Disc Insulators and Cable Jointing Kits etc. |  | 1 | Qtl. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.1 | Replacement of CT/PT Unit |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11.1 | 11 KV pilfer proof metering cubical. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.1 | Dismantling of the line
13.1 | Removing of ACSR Weasel/Dog conductor from all phases on line, making bundle and stacking at a safe place. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.1 | Uprooting of 13 Mtr./11 Mtr./9 Mtr./8.5 Mtr. Long PCC/ST Poles. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.1 | For 11 KV Line, Single support 13/11/9/8.5 Mtr. long ST/PCC Poles :-
16.1 | Excavation of foundation pit in size of 75x45 cm. having depth of 1/6th of the full length of the support (pole), providing and laying of stone pad (300x300x75mm.) in the bottom of the pit. Erection of support (pole) complete with fixing of 11 KV V-Type cross-arms and all other accessories by providing stone pad, cross arms, holding clamps, f-bracket and nuts & bolts etc. as per RESPO Norms. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.1 | For 11 KV Line, Double Pole structure with 13/11/9/8.5 Mtr. long ST/PCC Poles :-
18.1 | Excavation of foundation pit in size of 75x45 cm. having depth of 1/6th of the full length of the support (pole). Erection of support (pole) complete work by fixing of D.P. Clamps and all other accessories. The work includes fabrication work and fixing of cross bracing sets, cutting holes complete work as per RESPO Norms. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19.1 | Construction of Tri-Pole Structure on ST Poles including fabrication of MS Angle Channel, Cross Bracing etc. with proving and fitting of all type of clamps made of MS Flat of size 65x8mm. with Nuts, Bolts & washer, grouting of pole in size of 220x45x45 cm. with Cement, Sand and Brick Ballast in the ratio of 1:4:8, as per RESPO Norms. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20.1 | Grouting of Poles Single line support :- Grouting of support in CC 1:4:6 (cement, sand and 40 mm. brick ballast) Grouting will be done in the block of size 45cm x 45cm x 1/6th of full length of the support upto ground level as per RESPO Norms. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21.1 | Grouting of stay rods (20x1800mm.) including all works of excavation, cement concrete in size of (0.60x0.60x0.30)M in the ratio of 1:4:6 (cement, sand and 40 mm. brick ballast) including back filling of soil and proper ramming etc. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22.1 | Fixing, tightening and nozelling of stay wire with stay rod and stay insulators with the pole of required tension by providing stay clamps, nuts, bolts etc. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23.1 | Earthing of support with MS Earth Rod of (20x2500)mm. long including excavation of pit and driving MS Rod 3.0M apart from support and 0.5M below the ground level and connecting below the earth electrodes with the help of G.I. Wire No.6 SWG tightening with nuts and bolts. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24.1 | Laying, sagging, stringing and binding of ACSR Weasel/ Dog Conductor with all other accessories on pole as per RESPO Norms. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25.1 | Laying, sagging, stringing and binding of ABC Conductor with all other accessories on pole as per RESPO Norms. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26.1 | Laying, sagging, stringing and binding of ABC Conductor with all other accessories on pole as per RESPO Norms. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27.1 | Filling and fixing of 11 KV outdoor/indoor type cable jointing kits as per RESPO Norms. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28.1 | Construction of 11 KV Underground Line :-
29.1 | Digging of cable trench in size of 0.45Mtr.x1.05 Mtr. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30.1 | Laying of 11 KV 3x70/120/185 sq.mm. cable in the trench. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31.1 | Providing 150 mm. sand cushion beneath and 150 mm. above the cable. The cable shall be duly protected by 1st Class Bricks, two on either side and third on top of the cable, laid in the series one after the other. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32.1 | Refilling and ramming of the left out soil, closing and trench and levelling. Spare cable shall be left in the loop shape at both ends, including providing of all required material and T&P. |  | 1 | mtr | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33.1 | Providing and fixing of Danger Board with clamp, nut and bolts. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34.1 | Providing and fixing of Number Plate with clamp, nut and bolts. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35.1 | Providing and wrapping of barbed wire on 11 KV PCC Poles at a height of 2.75 Mtr. from the ground level as per RESPO Norms. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36.1 | Fitting of 11 KV Pilfer proof metering cubical including making proper connections. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37.1 | Guarding of 11 KV Line with G.I. wire as per RESPO Norms. |  | 1 | apan | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38.1 | Mounting and fixing of 11 KV CT/PT Unit on double pole including making proper connections. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.1 | Fixing of 11 KV 3Ph-4W TVM Meter at double pole including making proper connections. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
40.1 | Mounting and fixing of 10 KVA transformer on pole including making proper connections. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41.1 | Mounting and fixing of 25 KVA transformer on double pole including making proper connections. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42.1 | Mounting and fixing of 63 KVA transformer on double pole including making proper connections. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
43.1 | Mounting and fixing of 100 KVA transformer on double pole including making proper connections. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44.1 | Providing G.I. Pipe 6” dia for inserting 11 KV XLPE cable for safety of cable on Single/Double Pole by providing and fixing of MS Clamp, Nuts and Bolts. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
45.1 | Fixing and fitting of single/three phase distribution box on pole for making consumers cable connection complete work. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
46.1 | Carriage of following from work site to Store Centre including loading and unloading at both ends :-
47.1 | 13 Mtr./11 Mtr./9 Mtr. Long ST Poles. |  | 1 | Qtl. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
48.1 | ACSR Weasel/Dog Conductor/M.S. Scrap. |  | 1 | Qtl. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49.1 | CT/PT Unit. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
50.1 | 11 KV pilfer proof metering cubical. |  | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information