## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer Electricity Civil Distribution Circle, GZB, PVVNL.
Name of Work: Construction of 01 No. of Shed (18.00 x 8.00 m) at Electricity Store Centre Joya Distt.- Amroha under the scheme of Business Plan 2024-25.
T.S. No: 10/ECDC/GZB/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Excavation in foundation in ordinary soil (loam, clay or sand) including lift upto 1.5 Metre and lead upto 30 metre including filling, watering, and ramming of excavated earth into the trenches or into the space between the building and the side of the foundation or in to the plinth and removal & disposal of surplus earth as directes by the E/I up to a distance of 30m from the foundation trenches. CSI No. 4.01 | BI01010001010000000000000515BI0100001113 | 70 | Cum | 198 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13860 | 13860 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Earth filling under floors and/or substation area including cost of the earth when obtained from within 8 km Outside UPPCL area including its royalty and Carriage including watering,ramming in 20Cm thick layers and dressing of earth etc. All complete. CSI No. 4.10 | BI01010001010000000000000515BI0100001114 | 110 | Cum | 436 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47960 | 47960 | #VALUE!
3 | Concrete with 4cm gauge stone ballast, coarse sand (F.M. 1.8 to 2.5) & cement in proportion of 12:6:1 in foundations &under floors including supply of all materials, labour and tools and plants etc. required for proper completion. CSI No. 5.02 | BI01010001010000000000000515BI0100001115 | 25 | Cum | 5820 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 145500 | 145500 | #VALUE!
4 | Cement concrete with 2cm gauge approved hard stone ballast, coarse sand (F.M. 1.8 to 2.5) and cement in proportion of 4:2:1 including supply of all materials, labour,side shuttering if required and T&P etc. required for proper completion of work. CSI No. 5.06 | BI01010001010000000000000515BI0100001116 | 15 | Cum | 7520 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 112800 | 112800 | #VALUE!
5 | Cement concrete with 2cm gauge approved hard stone ballast, coarse sand (F.M. 1.8 to 2.5) and cement in proportion of 3:1.5:1 including supply of all materials, labour,side shuttering if required and T&P etc. required for proper completion of work. CSI No. 5.21 | BI01010001010000000000000515BI0100001117 | 8 | Cum | 7989 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63912 | 63912 | #VALUE!
6 | Precast cement concrete door sills, chaukhats boundary posts, shelves and similar small work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast in the proportion 1:1.5:3, excluding reinforcement but including fixig the same in position including cost of all other material, labor and T&P . CSI No. 5.22 | BI01010001010000000000000515BI0100001118 | 2 | Cum | 9550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19100 | 19100 | #VALUE!
7 | RCC work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast like granite, quartzite etc from Dalla, Jhansi or other quarries in proportion 1:1.5:3 in lintels of doors and windows, excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other materials labour and T&P . CSI No. 5.23 | BI01010001010000000000000515BI0100001119 | 12 | Cum | 9205 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110460 | 110460 | #VALUE!
8 | RCC work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast like granite, quartzite etc in proportion 1:1.5:3 in Slab, excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other materials labour and T&P . CSI No. 5.24 | BI01010001010000000000000515BI0100001120 | 1 | Cum | 10060 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10060 | 10060 | #VALUE!
9 | RCC work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast like granite, quartzite etc in proportion 1:1.5:3 in Lighter Beam i.e. having span upto 6.0 M excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other materials labour and T&P . CSI No. 5.25 | BI01010001010000000000000515BI0100001121 | 1 | Cum | 11473 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11473 | 11473 | #VALUE!
10 | RCC work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast like granite, quartzite etc in proportion 1:1.5:3 in raft foundation and footings excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other materials labour and T&P . CSI No. 5.27 | BI01010001010000000000000515BI0100001122 | 11 | Cum | 8801 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 96811 | 96811 | #VALUE!
11 | RCC work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast like granite, quartzite etc in proportion 1:1.5:3 in RCC T-Beam slab and column excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other materials labour and T&P . CSI No. 5.29 | BI01010001010000000000000515BI0100001123 | 12.5 | Cum | 11647 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 145587.5 | 145587.5 | #VALUE!
12 | 1st class brick (not less than class 150) work in 1:6 C.M. with cement and coarse sand (2.9 to 3.2 F.M) mortar in foundation and plinth including supply of all material, labour and T&P etc. required for proper completion of work. CSI No. 6.01 | BI01010001010000000000000515BI0100001124 | 24 | Cum | 4873 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 116952 | 116952 | #VALUE!
13 | 1st class brick work in 1:6 C.M. with cement and coarse sand of 2.25 F.M. mortar in super structure including necessary cutting and moulding of brick as required including honey comb brick work, thickness of wall one brick (230mm) thick in super structure. CSI No. 6.01+6.07+6.08 | BI01010001010000000000000515BI0100001125 | 24.5 | Cum | 5572 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 136514 | 136514 | #VALUE!
14 | Same as item no. 13 above but for wall of half brick 4.5” (115 mm) thick but in 1:6 C.M. with cement and coarse sand of 2.25 F.M. mortar. CSI No. 6.03+6.07+6.09 | BI01010001010000000000000515BI0100001126 | 3 | Cum | 5931 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17793 | 17793 | #VALUE!
15 | Brick work in foundation & plinth with old dismantled bricks (supplied by department free of cost) and coarse sand of F.M. 1.8 to 2.5 mortar in 1:6 including supply of all other materials, labour, removing mortar & cleaning of old & used bricks,T&P etc complete. CSI No. 6.18 | BI01010001010000000000000515BI0100001128 | 1 | Cum | 2831 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2831 | 2831 | #VALUE!
16 | Brick work in super structure with old dismantled bricks (supplied by department free of cost) and coarse sand of F.M. 1.8 to 2.5 mortar in 1:6 including supply of all other materials, labour, removing mortar & cleaning of old & used bricks,T&P etc complete. CSI No. 6.19 | BI01010001010000000000000515BI0100001129 | 1 | Cum | 3530 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3530 | 3530 | #VALUE!
17 | 25mm.thick Damp proof course with cement concrete consisting of 1 part cement, 1.½ parts approved coarse sand and 3 parts approved 12 mm graded stone grit and also including liquid water proofing material as approved Engineer-in-charge in proportion as specified by the manufacturer. CSI No. 7.02 | BI01010001010000000000000515BI0100001131 | 15 | Sqm | 340 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5100 | 5100 | #VALUE!
18 | Supply and fixing galvanised mosquito proof jali (14x24 gauge) over window frame and including supply of C.P. Teak wood battens 8cm x 1cm and including dupply and fixing of necessary screws, all materials, labour and T&P etc. required for proper completion of the waork. CSI No. 8.43 | BI01010001010000000000000515BI0100001132 | 16 | Sqm | 1136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18176 | 18176 | #VALUE!
19 | Supply and fixing of 32 mm thick single leaf flush door shutter ( boiled water resistance, phenol maldehide resin bonded, hot pressed factory made) commercial quality to I.S.2202 part-1 (1983) ISI marked including fixing of wooden cleats and stoppers and including fixing and adjustment of hinges,bolts.locks,handles, springs and other fittings but excluding their supply including all materials, labour & T&P etc. required for proper completion of work. CSI No. 8.54 | BI01010001010000000000000515BI0100001133 | 2.1 | Sqm | 1928 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4048.8 | 4048.8 | #VALUE!
20 | Mild Steel or Iron work in heavy sizes such as trusses built up gates, door frames, record, racks roof work gates etc. wrought to required form including holes rivetting or welding where necessary and also fixing in proper position and alignment including cost of all materials supplied by contractor. CSI No. 9.01 | BI01010001010000000000000515BI0100001134 | 2.05 | M.T. | 99064 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203081.2 | 203081.2 | #VALUE!
21 | Same as CSI No. No. 9.01 But when Steel is to be provided by the department. CSI No. 9.02 | BI01010001010000000000000515BI0100001135 | 0.01 | M.T. | 32734 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 327.34 | 327.34 | #VALUE!
22 | TMT/Tor steel in plain work such as reinforced concrete or reinforced brick work (when not included in an over all rates) wrought to required shape as necessary including bending for proper completion of the work and including supply of steel its wastage, bend, hooks and authorized overlapping shall be measured. (Steel shall be arranged by the contractor). CSI No. 9.03 | BI01010001010000000000000515BI0100001136 | 3.78 | M.T. | 88068 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 332897.04 | 332897.04 | #VALUE!
23 | Mild steel or Iron work in purlins and rafters including drilling holes and fixing in position and including supply of all steel and bolts and nuts, wastage labour and T&P etc required for proper completion of the work. Steel shall not be supplied by department. CSI No. 9.05 | BI01010001010000000000000515BI0100001137 | 0.8 | M.T. | 77348 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61878.4 | 61878.4 | #VALUE!
24 | Supply of 25 mm dia M.S. Anchor bolts (conforming to IS 266) 500 mm. Long with base plate (50x50x6mm) welded with anchor bolts inclduing its threading upto a length of 10cm and galvanizing upto 15 cm, also supply of a pair of galvanized standard nuts with therading including supply of 5mm thick washer and cost of labour material and T&P etc. required for proper completion of the work. CSI No. 9.14 | BI01010001010000000000000515BI0100001138 | 4 | Nos. | 406 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1624 | 1624 | #VALUE!
25 | Fixing and grouting 25mm dia M.S. Anchor bolt in proper alignment level and setout with the help of a template including supply of all labour T&P etc. reqd. for proper completion of the work (labour rates only) CSI No. 9.15 | BI01010001010000000000000515BI0100001139 | 2 | No. | 51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102 | 102 | #VALUE!
26 | Fabrication & Supply and Fixing of Tubular steel trusses duly painted with one coat of red oxide paint, designed anf manufacturing as per latest ISS suitable for A.C. sheet roofing cover of the store shed. Thickness of tubes shall not be less than 3.25 mm , including cost of all materials, labour and T&P etc. required for proper completion of the work & cartage upto site as per drawing including all accessories. CSI No. 9.16 | BI01010001010000000000000515BI0100001140 | 2.8 | MT | 86331 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 241726.8 | 241726.8 | #VALUE!
27 | Supply and fixing galvanised mosquito proof jali (16x24 gauge) with M.S. flat of 20 x 3 mm. size, on both sides screwed or welded to window or door frame. CSI No. 9.18 | BI01010001010000000000000515BI0100001141 | 15 | Sqm | 729 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10935 | 10935 | #VALUE!
28 | Supply and Fixing 24 B.W.G , G.C. Iron sheet roofing fixed in position with J or U bolts 10 mm dia with G.I. Limpet & bitumen washers including supply of all material, labour, wastage and T&P etc required for proper completion of work. CSI No. 10.01 | BI01010001010000000000000515BI0100001143 | 6 | sqm | 679 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4074 | 4074 | #VALUE!
29 | Supply and Fixing 24 B.W.G , G.C. Iron Ridge valley and Gutters for roofing fixed in position with J or U bolts 10 mm dia with G.I. Limpet & bitumen washers including supply of all material, labour, wastage and T&P etc required for proper completion of work. CSI No. 10.02 | BI01010001010000000000000515BI0100001144 | 6.5 | RM | 499 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3243.5 | 3243.5 | #VALUE!
30 | 12 mm thick plaster with cement mortar consisting of one part of cement & four part of coarse sand (1:4), minimum thickness not to be less then 10 mm including supply of all material, labour and T&P etc for proper completion of work. CSI No. 11.07 | BI01010001010000000000000515BI0100001145 | 190 | Sqm | 193 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36670 | 36670 | #VALUE!
31 | 12 mm thick plaster with cement mortar consisting of one part of cement & Six part of coarse sand (1:6), minimum thickness not to be less then 10 mm including supply of all material, labour and T&P etc for proper completion of work. CSI No. 11.09 | BI01010001010000000000000515BI0100001146 | 190 | Sqm | 182 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34580 | 34580 | #VALUE!
32 | Add for extra labour and Materials for plaster over rough face of one brick thick wall. CSI No. 11.12 | BI01010001010000000000000515BI0100001147 | 170 | Sqm | 26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4420 | 4420 | #VALUE!
33 | 2 cm (3/4”) thick cement plaster in dado or skirting in 1:2 C.M. consisting of one part of cement and two parts of approved coarse sand laid in panels finished with 3mm (1/8”) thick floating coat of neat cement or cement and marble dust in ratio of 5:1 including supply of all materials, labour and T&P etc. required for proper completion of the work CSI No. 11.13 | BI01010001010000000000000515BI0100001148 | 25 | Sqm | 283 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7075 | 7075 | #VALUE!
34 | S/mixing approved water proofing compound (CICO,DR FIXIT etc) in cement mortar in plaster or concrete work in the proportion as recommended by the manufacturer. CSI No. 11.15 | BI01010001010000000000000515BI0100001149 | 5 | Kg | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 235 | 235 | #VALUE!
35 | Providing (12x15) mm section groove in plaster including all material, labour and T&P etc. required for proper completion of the work. CSI No. 11.16 | BI01010001010000000000000515BI0100001150 | 150 | RM | 12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1800 | 1800 | #VALUE!
36 | Making drip coarse (25x12) mm in 1:2 cement and coarse sand including supply of all materials, labour and T&P etc required for proper completion of work. CS I No. 11.19 | BI01010001010000000000000515BI0100001151 | 8.5 | RM | 12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102 | 102 | #VALUE!
37 | 3 mm thick floating coat of neat cement finish including supply of all materials,labour and T&P etc. required for proper completion of the work.( cement consumption 0.044 bag/Sq.m.) CS I No. 11.20 | BI01010001010000000000000515BI0100001152 | 25 | Sqm | 21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 525 | 525 | #VALUE!
38 | 4.0 cm thick 1:2:4 plain cement concrete floor with cement, approved coarse sand & 2cm graded approved stone ballast laid in panels finished with 3mm floating coat of neat cement or cement and marble dust in ratio of 5:1 as specified and removing any overlapping mortar at the joints of the panels if any and giving them a uniform finish including supply of all materials, labour and T&P etc, required for proper completion of the work. without base CC. CSI No. 12.04 | BI01010001010000000000000515BI0100001153 | 150 | Sqm | 414 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62100 | 62100 | #VALUE!
39 | First class bricks on Edge floor laid dry, joints sand filled, including preparation base to proper slope and its ramming including supply of all materials, labour and T&P etc, required for proper completion of the work. CSI No. 12.07 | BI01010001010000000000000515BI0100001154 | 60 | Sqm | 547 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32820 | 32820 | #VALUE!
40 | Supply and Laying 8 mm thick glazed floor tiles of Somany, Johnson or equivalent make, laid with 1:3 cement and approved coarse sand mortar finished with white cement slurry, jointing and polishing complete,including supply of all materials, labour and T&P etc. completion required for proper completion of the work. CS I No. 12.11 | BI01010001010000000000000515BI0100001155 | 6.5 | Sqm | 1085 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7052.5 | 7052.5 | #VALUE!
41 | Providing and fixing glass strips of 3.15 mm thickness & 40mm depth in joints of floor and skirting at the time of laying floors, flush with floor level including supply of all materials, labour& T&P etc. required for proper completion of work. CS I No. 12.14 | BI01010001010000000000000515BI0100001156 | 10 | RM | 33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 330 | 330 | #VALUE!
42 | Supply of 80 mm thick I shaped mechanically compressed inter locking cement concrete paver block manufactured by high pressure & controlled vibration machine having plan dimension 200X(160+120 mm) with minimum 5 mm thick toping of O.P.Cement mixed with 25% marble powder. The compressive strength of concrete pavers blocks shall not be less than 30 MPa & 4.5 Kg/No. including cost of all material, labour, T&P etc. required for proper completion of work as directed by Engineer-in-charge but excluding G.S.T. which shall be paid extra as per rules. CSI No. 12.23 | BI01010001010000000000000515BI0100001158 | 55 | Sqm | 1029 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56595 | 56595 | #VALUE!
43 | Painting or varnishing new iron work in small areas or new wood work with one coat of ready mixed priming paint and one coat of approved superior quality ready mix paint "Luxol" or equivalent brand or varnish including supply of all materials, labour and T&P etc. required for proper completion of the work. Paint to be used should conform to the I.S. 103-1950. CSI No. 13.01 | BI01010001010000000000000515BI0100001159 | 95 | Sqm | 77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7315 | 7315 | #VALUE!
44 | Same as CSI No.13.01 above but for every coat after Ist coat. CSI No. 13.02 | BI01010001010000000000000515BI0100001160 | 95 | Sqm | 36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3420 | 3420 | #VALUE!
45 | Same as CSI no. 13.01 above but every coat on previously painted old wood or steel work. CSI No. 13.03 | BI01010001010000000000000515BI0100001161 | 5 | Sqm | 49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 245 | 245 | #VALUE!
46 | One priming coat and one coat oil bound distemper on new work including supply of all materials,labour and T&P etc. required for proper completion of the work. CSI No. 13.08 | BI01010001010000000000000515BI0100001162 | 180 | Sqm | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12420 | 12420 | #VALUE!
47 | Same as CSI No. 13.08 above but for every coat after the first coat. CSI No. 13.09 | BI01010001010000000000000515BI0100001163 | 180 | Sqm | 28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5040 | 5040 | #VALUE!
48 | Same as CSI No.13.08 above but for every coat on previously old distempered surface. CSI No. 13.10 | BI01010001010000000000000515BI0100001164 | 6 | Sqm | 35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 210 | 210 | #VALUE!
49 | Applying Birla or equivalent putty on new interior or exterior surface over one coat of water based cement primer of ICI or equivalent brand for smoothening and levelling of the surface as per requirement and direction of Engineer I/C including cost of all material, labour, T & P etc required for proper completion of work. CSI No. 13.20 | BI01010001010000000000000515BI0100001165 | 360 | Sqm | 89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32040 | 32040 | #VALUE!
50 | Applying BIRLA PUTTY or equivalent putty on previousaly bila putty smoothen surface over one cost of water base cement primer of ICI or equivalent brand for smoothining and leveling of the surface as per requirement and direction of E/I including cost of all material , labour and T&P required for proper completion of work.(CSI No.13.21) |  | 10 | Sqm | 43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 430 | 430 | #VALUE!
51 | Painting one coat with APEX or equivalent brand weather coat paint on new wall surfaces (well prepared with Birla putty and one coat of primer ICI or equivalent which shall be paid separately) including through washing with water including cost of all materials, labour, T&P required for proper completion of work. CSI No. 13.22 | BI01010001010000000000000515BI0100001166 | 180 | Sqm | 98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17640 | 17640 | #VALUE!
52 | Same as in CSI no 13.22 above but for every coat of additional APEX or equivalent brand weather coat paint. CSI No. 13.23 | BI01010001010000000000000515BI0100001167 | 180 | Sqm | 44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7920 | 7920 | #VALUE!
53 | Same as CSI no13.22 above but for every coat of additional APEX or equivalent brand weather coat paint coat paint previously treated surface. CSI No. 13.24 | BI01010001010000000000000515BI0100001168 | 10 | Sqm | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 650 | 650 | #VALUE!
54 | Dismantling brick work or stone work in lime or cement mortar and including stacking of materials as directed by the Engineer-in-charge within a distance of 60 metres. CSI No. 15.01 | BI01010001010000000000000515BI0100001169 | 10 | Cum | 583 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5830 | 5830 | #VALUE!
55 | Dismantling reinforced cement concrete or reinforced brick work, including stacking of dismantled materials as directed by the Engineer-Incharge within a distance of 60 metres. CSI No. 15.03 | BI01010001010000000000000515BI0100001170 | 10 | Cum | 1293 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12930 | 12930 | #VALUE!
56 | Dismantling cement concrete or brick or granolithic floors including base concrete and including stacking of dismantled materials as directed by the Engineer In-charge within a distance of 60 metres. (CSI No. 15.05) |  | 1 | Sqm | 67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 67 | 67 | #VALUE!
57 | Dismantling of griders, trusses and other steel works including stcking of materials as directed by Engg-in-charge within a distance of 60 mtrs. (CSI No. 15.08) |  | 0.01 | MT | 19249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 192.49 | 192.49 | #VALUE!
58 | Dismantling existing plaster including disposal of refuse as directed by the Engineer-I/C within a distance of 60 M. (CSI No. 15.11) |  | 1 | Sqm | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47 | 47 | #VALUE!
59 | Laying cement concrete road slab in 1:1.5:3 proportion of approved 20 mm down graded aggregate over prepared sub grade after its rectification and bringing it to proper camber and shape, finishing with TRIMIX machine, concrete hardner and making good to the satisfaction of E/I including cost of all materials, labour, T&P required for proper completion of work. CSI No. 18.13 | BI01010001010000000000000515BI0100001171 | 20 | Cum | 8884 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 177680 | 177680 | #VALUE!
60 | Filling of 20 mm. wide 100/150 mm. deep joint with coarse sand and saw dust mixed with hot bitumen etc. complete including supply of all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 18.14) |  | 60 | RM | 45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2700 | 2700 | #VALUE!
61 | Providing and fixing 12 mm thick particle board of commercial quality 125 mm deep for making partitions of C.C. road slab as per direction E/I including cost of all materials, labour, T&P required for proper completion of work. CSI No. 18.15 | BI01010001010000000000000515BI0100001172 | 20 | RM | 179 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3580 | 3580 | #VALUE!
62 | Supply and fixing 4 mm thick glass including supply of glass with putty and brads including supply of all materials, labour and t&P etc. required for proper completion of the work. CSI No. 20.04 (i) | BI01010001010000000000000515BI0100001173 | 18 | Sqm | 838 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15084 | 15084 | #VALUE!
63 | Disposal of Rubbish / debris out side the UPPCL area directed by the Engineer-I/C including cartage labour,and materials, T&P required for proper completion of work.(no deduction for voids shall be made) CSI No. 20.16 | BI01010001010000000000000515BI0100001174 | 5 | cum | 374 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1870 | 1870 | #VALUE!
64 | Supply and fixing Chromium polished L drop 16 mm dia x 300 long with screws for doors and window etc CSI No. 20.17 (a) | BI01010001010000000000000515BI0100001175 | 4 | Nos | 187 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 748 | 748 | #VALUE!
65 | Supply and fixing Chromium polished tower Bolt 10 mm dia x 100 long with screws for doors and window etc CSI No. 20.17 (c) | BI01010001010000000000000515BI0100001176 | 3 | Nos | 64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 192 | 192 | #VALUE!
66 | Supply and fixing Chromium polished iron hinges 100 mm size 12 guage thick with screws for doors and window etc CSI No. 20.17 (d) | BI01010001010000000000000515BI0100001177 | 5 | Nos | 77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 385 | 385 | #VALUE!
67 | Supply and fixing Chromium polished MS handles 100 mm size with screws for doors and window etc CSI No. 20.17 (f) | BI01010001010000000000000515BI0100001178 | 3 | Nos | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 117 | 117 | #VALUE!
68 | Providing and fixing of 110 mm dia PVC pipe 6 Kg/ Sq.cm for with special such as Tee, bend, socket, elbow etc including supply of all labour,material,T & P etc complete required for proper completion of work. CSI No. 26.17 | BI01010001010000000000000515BI0100001179 | 13 | RM | 294 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3822 | 3822 | #VALUE!
69 | Providing and fixing 20 mm dia ISI Approved CPVC complete with special such as bend, tee, socket ,cross, clamps etc earth work including filling the treanches etc require proper completion of the work, the rate also includes concealed GI fitting where require, cutting and making good the walls etc and all materials, labour and T&P complete.CSI No. 26.20 | BI01010001010000000000000515BI0100001180 | 20 | RM | 141 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2820 | 2820 | #VALUE!
70 | Providing and fixing 25 mm dia ISI Approved CPVC complete with special such as bend, tee, socket ,cross, clamps etc earth work including filling the treanches etc require proper completion of the work, the rate also includes concealed GI fitting where require, cutting and making good the walls etc and all materials, labour and T&P complete. CSI No. 26.21 | BI01010001010000000000000515BI0100001181 | 11 | RM | 180 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1980 | 1980 | #VALUE!
71 | Supply and fixing of 20W, LED tube light with fitting of Havells or equivalent make approved by Engineer in Charge including supply of all materials labour, T&P etc. required for the proper completion of the work. CSI 26.21 OLD SOR 2020 |  | 12 | Nos. | 1320 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15840 | 15840 | #VALUE!
72 | S/F high Tensile steel colour coated anti rust ,high temp resistant sheet with Tensile Strength 550 MPA hot dip metallic (zinc Aluminum Alloy (Zn-55%)(Al-45% ) Coating 70GSM with total thikness not less than 0.50mm (TCT) Durashine make with necessary over laps including S/F Galvanized J/V Hook according to purlin with ,nut,washer and bitumen washers etc.including cost of material ,labour T&P etc and special fastener (HT) , nuts & washer provide dia by the company etc required for proper completion of work as per direction of E/I confirming 1.5. 1397:1993. Old SOR 2020 CSI No. 26.60 | BI01010001010000000000000515BI0100001182 | 220 | Sqm | 885 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 194700 | 194700 | #VALUE!
73 | Supply & Fixing colour coated , Plain Ridges , for 0.50 mm thick Tata Durashine or equivalent make with necessary over laps incl. S/F Galvanised J /V Hook with nut,washer and bitumen washers etc. including cost of material, labour T& P etc and specialsfasterner( HT) ,nuts & washer provide by the company etc required for proper completion of work including wastage as per direction of E/I confirming I.S.1397;1993. Old SOR 2020 CSI No. 26.62 | BI01010001010000000000000515BI0100001183 | 25 | RM | 600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15000 | 15000 | #VALUE!
74 | Wiring point for light with 1.5 sq. mm. FR PVC insulated multistrand single copper conductor cable in PVC conduit pipe concealed in the wall, 14 SWG copper PVC coated Earth continuity wire, and approved quality, piano type switch ceiling rose/angle/batten holder as per approved sample on 3mm thick phenolic laminated bakelite sheet etc. of matching shade with wall colour complete in all respect. UP PWD SOR 2018 131(C) | BI01010001010000000000000515BI0100001184 | 8 | Nos | 643 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5144 | 5144 | #VALUE!
75 | Wiring point for fan/fresh air fan (light duty exhaust fan) 1.5 sq. mm FR PVC insulated multistrand single core copper conductor cable PVC conduit pipe concealed in the wall, 14 SWG copper earth continuity wire and approved quality, piano type switch & ceiling rose as per approved sample on 3mm thick phenolic laminated backelite sheet etc. of matching shade with wall colour complete in all respects as per direction of E/I. UP PWD SOR 2018 133(C) | BI01010001010000000000000515BI0100001185 | 1 | Nos | 708 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 708 | 708 | #VALUE!
76 | Wiring point for plug with 1.5 sq. mm FR PVC insulated multistrand single core copper conductor cable in PVC conduit pipe concealed in the wall 14 SWG copper earth continuity wire and approved quality type switch and socket as per approved sample etc. of matching shade with wall colour complete in all repects as per direction of E/I UP PWD SOR 2018 134(C) | BI01010001010000000000000515BI0100001186 | 1 | Nos | 335 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 335 | 335 | #VALUE!
77 | Supply and fixing of power plug with 15A/240V V flush type switch and 5 pin 15A/250V flush type universal socket in suitable M.S. box of 175mmx 100mmx50mm size with phenolic laminated bakelite sheet cover 3mm thick fixed with brass machine screw and cup washer. UP PWD SOR 2018 1139 | BI01010001010000000000000515BI0100001187 | 1 | Nos | 340 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 340 | 340 | #VALUE!
78 | Supply and wiring of submain with two numbers 4 sq. mm FR PVC insulated 1100 V grade multistand single core copper conductor cable in 25 mm dia heavy duty (2 mm thick) PVC conduit concealed in wall complete with 1 number 2.5 Sq. mm FR PVC insulated multistand copper conductor cable as earth continuity wire etc. complete in all respects. UP PWD SOR 2018 211 (C) | BI01010001010000000000000515BI0100001188 | 40 | RM | 153 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6120 | 6120 | #VALUE!
79 | Supply and fixing 6A to 32A SP MCB of approved make and as per sample approved by E/I (10 KA) UP PWD SOR 2018 1002(C) | BI01010001010000000000000515BI0100001189 | 16 | Nos | 206 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3296 | 3296 | #VALUE!
80 | S/F 63 amp. S.P. Isolator of approved make and as per sample approved by E/I. UPPWD SOR 2018 1004(B | BI01010001010000000000000515BI0100001190 | 2 | Nos | 280 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 560 | 560 | #VALUE!
81 | S/F surface/flush mounting 8 ways SPN distribution board without MCB complete in all respect as per direction of E/I UPPWD SOR 2018 1024 (B) | BI01010001010000000000000515BI0100001191 | 2 | Nos | 1575 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3150 | 3150 | #VALUE!
Total in Figures | [51 empty] | 2749229.57 | 2749229.57 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information