## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Civil Distribution Circle, PVVNL, Ghaziabad.
Name of Work:Construction of 19 numbers of High Mast Light with Fire Resistant wire (with stand fire for 3 hours) for proper lighting facility at various working Electricity Store Centre at various districts of PVVNL under the scheme of Business Plan 2024-25.
T.S. No: 17 /ECDC/GZB/2024-25
Name of the Bidder/ Bidding Firm / Company :
Conditions- 1. All high mast light shall be installed at various Store Centre under the district in PVVNL as copy enclosed. 2. Quoted Rates are treated as exclusive of GST
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1.01 | Supply, Erection/Installation of 12.5 meter long high mast Pole of Approved make with rising system, hot dip galvanized inside and outside having pole sheet thickness 3/4mm, top 150mm, bottom dia 360mm base plate 32mm thick. As per IS 875 part 3 suitable for 12 Luminous & its 1.5 H.P control gear box power tools 06mm wire and double drum including all materials, labour & T&P required for proper completion of work as per direction of E/I. (Make-Philips/Crompton/Bajaj or equivalent make) | BI01010001010000000000000515BI0100001113 | 19 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Making foundation of high mast pole 12.5 metre length, main suitable foundation as per approved drawing (attached)including all materials, labour and T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001114 | 19 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Installation & Commissioning of high mast pole 12.5 meter length with help of hydra & manual labour & fixing of 06 Nos. LED light with connection including all materials, labour & T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001115 | 19 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Supply & Installation of 170-200 watt LED flood light luminous with die cast aluminium housing built with driver set confirming to IP 66 protection complete in all respect cat-AAA including all materials, labour and T&P required for proper completion of work as per direction of E/I. (Make-Philips/Surya/Crompton/Bajaj or equivalent make) | BI01010001010000000000000515BI0100001116 | 114 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | Supply and fixing of chemical earthing including all materials, labour and T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001117 | 19 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | Supply & Fixing of 40mm G.I B class pipe of make jindal/swastic or equivalent including all materials, labour and T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001118 | 114 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | Supply & Fixing of copper wire 16mm FIRE RESISTENT (with stand Fire for 03 hours) PVC insulated cable working voltage upto 1100 volt etc complete S.R. 278C including all materials, labour and T&P required for proper completion of work as per direction of E/I. (Make-Havells/Grandley or equivalent make) | BI01010001010000000000000515BI0100001119 | 1900 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | Supply & Fixing of 2.5mm copper lead including all materials, labour and T&P required for proper completion of work as per direction of E/I. (Make-Havells/Finolex or equivalent make) | BI01010001010000000000000515BI0100001120 | 380 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | Supply and fixing of 25A SPN Automatic street light cubical control panel painted with anti corrosive shell and acid proof paint consisting of time switch 150 100 series with conductor, HRC fuses, isolating switch metering Instrument & Instrument box with CTS etc in case of TNP complete in all respect including all materials, labour and T&P required for proper completion of work as per direction of E/I. (Make-L&T/ABB/Seimers or equivalent make) | BI01010001010000000000000515BI0100001121 | 19 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | Supply and fixing of seat panel with cement concrete including all materials, labour and T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001122 | 19 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | Supply & Fixing of Indication light including all materials, labour and T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001123 | 19 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | Excavation in foundation in ordinary soil (Loam Clay or Sand) including lift upto 1.5m and lead upto 30m and including filling, watering and ramming of excavated earth into the trenches or into the space between the building and sides of the foundation work. | BI01010001010000000000000515BI0100001124 | 198.66 | Cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | Supply and laying of 50mm dia PVC pipe for armond cable dia at depth of 90cm below ground level including all materials, labour and T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001125 | 38 | RM | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.14 | River Bed Fine Sand filling in plinth including supply of necessary quantity of fine sand from outside the UPPCL premises including watering, dressing etc. Rate to include cost of all materials, labour and T&P etc. required for proper completion of work. | BI01010001010000000000000515BI0100001126 | 65.64 | Cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | M&L bricks for protection cover to under ground cable (Ist class bricks) with width equal to length of break laid dry and flat abutting each other with gapes between adjacent brick not exceeding 10mm including all materials, labour and T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001127 | 13217 | No | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | Hiring charge of Crane with operater and diesel for Shifting of material like big & small transformer, cable drum etc on site work as per direction E/I. | BI01010001010000000000000515BI0100001128 | 38 | Hour | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | Testing & commissioning of above high mast light specified time. including all materials, labour and T&P required for proper completion of work as per direction of E/I. | BI01010001010000000000000515BI0100001129 | 19 | Job | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information