## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Civil Distribution Circle, GZB, PVVNL. | [54 empty] | Bought Out
Name of Work:- Supply and Installation of EOT Crane (5 M.T Capacity) at Electricity Transformer Repairing Workshop Distt.- Bijnor under the scheme of Additional Business Plan 2023-24. | [54 empty] | Direct
Tender Reference No : 26/ECDC/GZB/2024-25 | [54 empty] | Quote for Supply Portion only
Bidder Name : | [54 empty] | Quote for Erection Portion only
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
Sl. No. | Item Description | Item Code | Tendered Quantity | Unit | Estimated Rate | Bought-out /Direct | Specify Bought-out /Direct | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate per Unit (Rs./unit) | Excise Duty (Rs/Unit) | CST/VAT (Rs/Unit) | Other Taxes & Duties (Rs/Unit) | Freight & Insurance Charges (in Rs./Unit) |  |  | Unit Service Charges (Rs./unit) | Service Tax (Rs/Unit) | Unit Service Charges incl. Service Tax (in Rs./Unit) | Total Value (in Rs.) |  |  | Total Unit Price incl. Supply, F&I, Erection and all taxes (in Rs.) (K+M) | [26 empty] | Total Amount excl. Erection & Ser.Taxes (in Rs.) (C x K) | Total Amount (in Rs.) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply of single Girder E.O.T. crane (Out Door/Indoor type) of 5.0 MT capacity suitable of 06.60M (approximate) crane span and 6 Meters (approximate) lift and tested to 25% over load and comprising of Electric motor/ brake/gears, connectors overload relay features, Wire rope hoist with all accessories pendant type controller, trailing cable etc. Of approved make and other safety features as specified in technical specifications as per direction of E/I. | item1 | 1 | Nos. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE! |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Installatiion, testing & commissioning of above single Girder E.O.T. crane. Including cost of all scaffolding, lifting arrangement, labours & tools and plants etc, required for proper completion of the above work as per direction of E/I. | item2 | 1 | Nos. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
3 | Supply of L.T. Gantry Girder of ISMB 350 size with ISMC 200 channel capping welded to top flange with 40 mm square bar welded on the top of the channel at 6 m height (Approx) as per direction of E/I. | item3 | 50 | RM | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
4 | Erection of above L.T. Gantry Girder. Including cost of welding, scaffolding, special type of T&P lifting arrangement & labours etc required for proper completion of work as per direction of E/I. | item4 | 50 | RM | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
5 | Supply of shrouded insulated 4 pole Bus-Bar capacity 100 Amp. with G.I. Conductor with all accessories as per direction of E/I. | item5 | 25 | RM | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
6 | Installatiion of shrouded insulated 4 pole Bus-Bar capacity 100 Amp. with G.I. Conductor with all accessories as per direction of E/I. | item6 | 25 | RM | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
Total in Figures | [10 empty] | INR | [10 empty] | 0 | [29 empty] | 0 | 0 | #VALUE! |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information