## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-III, 33/11 KV SUB-STATION, GANDHI NAGAR, GHAZIABAD
Name of Work: For the work of repairing of damage overcurrent/ earth fault realy and providing and fixing of damage part of master relay OTI/WTI temp. meter at 33/11 kv substation Rajendra Nagar-2 in the area of EUTD-III, Ghaziabad in the jurisdiction of SE, EUDC-III Ghaziabad.
Contract No: 01/W/2024-25/EUTD-III/EUDC-III GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Providing of 2.5mmsq. PVC copper wire lugs etc. and replacement of damaged burnt wiring complete of 33KV VCB. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 2 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Providing and fixing of damaged triping coil complete of 33KV VCB Control pannel. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 3 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | Providing and fixing of damaged closing coil complete of 33KV VCB Control pannel. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 2 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | Providing and fixing local remote switch of 33KV VCB control paneel. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | Providing and fixing of 63 amp. Kit-kat with tobulor fuse 8 Nos. complete and MCB 2no. and proper connection | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 2 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Providing and fixing anti-pumping relay for 33KV VCB. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 2 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Providing and replacement of master trip Relay. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 1 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Repairing and fixing OC/EF MAIN RELAY. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 2 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Providing and fixing OTI/WTI transformer protection relay | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 2 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Providing and fixing 2.5 mmsq 4 core cable. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 260 | Meter | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Providing fixing OTI/WTI temp meter. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Providing fixing TNC Switch. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Providing fixing Indicator lamp. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 10 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Rewinding spring charging motor. | Carriage of 11 Meter. Long ST/PCC pole from store center Ghaziabad /Sahibabad or from any other place to the respective site of work including loading & unloading at the respective ends. Distance Approx (0 to 15 KM) | 2 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information