## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-I, Noida
Name of Work: DETAILS OF WORK AND QUANTITY AGAINST E-TENDER NO. 127/EUDC-I/2023-24/NOIDA (WORKS) FOR CARRYING OUT THE 01 NO. WORK IN HEAD STRENGTHENING & PROTECTION OF 33/11 KV SUBSTATION (SUPPLY & INSTALLATION OF DIFFERENT TYPE OF RELAY) AT VARIOUS 33/11 KV SUBSTATION AS PER DPR S.NO. 3 IN AREA OF EUDD-I/V/VII, NOIDA UNDER EUTD-I, NOIDA IN THE JURIDICTION OF EUDC-I, NOIDA (BUSINESS PLAN F.Y. 2024-25 RS. 86.34 CRORE FOR NOIDA ZONE).
Contact No: 0120-2970431
The bidder quoted rate should be inclusive GST & all other taxes.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Note:- 1. The bidder quoted rate should be inclusive GST & all other taxes. 2. Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC. 3. Payment will be done after complete execution of work/ entire project & submission of executed estimate and after getting satisfactory report in all respect from concern SDO/JE.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder with GST & all other taxes Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Supply and Installation of Different Types of Relay (Master, Over Current Earth Short Relay, WTI, OTI) at various 33/11 substations in the jurisdiction of EUDC-I, Noida. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | Supply of IDMT Protection Relay with Numerical Micro controller based 4 Pole, 3 O/C + 1 E/F suitable for replacement of Type ADR 141A. Features : Auxiliary voltage : 18-230 V A.C./D.C CT secondary 1/5 Amp. and 1 Amp. suitable for various make Breaker and control Panels (Make - C&S, Crompton, Ashida) |  | 1 | Nos. | 100 |  |  | Excess(+) | 15 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Supply of Master Relay with Model : CLR, Operating Voltage : 24 VDC, No. of NO Contact : 3 NO Contact, No. of NC Contact : 2 NC Contact, suitable for various make Breaker. (Make - C&S, Crompton, Ashida) |  | 1 | Nos. | 100 |  |  | Excess(+) | 15 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Supply of Winding Temperature Indicator 6" Dia having range 0-120C with MRP Pointer (Double contact for alamr and trip) with 3 meter long PVC capillary and Brass Contact 9" long suitable for 33/11KV Substations 3/5/10 MVA Transformers. (Make - C&S, Crompton, Ashida) |  | 1 | Nos. | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | Supply of Oil Temperature Indicator 6" Dia having range 0-120C with MRP Pointer (Double contact for alarm and trip) with 3 meter long PVC capillary and Brass Contact 9" long suitable for 33/11KV Substations 3/5/10 MVA Transformers. (Make - C&S, Crompton, Ashida) |  | 1 | Nos. | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | Supply of Control cable 4x2.5 Sq.mm. |  | 1 | Mtrs. | 100 |  |  | Excess(+) | 1250 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Installation of Different Types of Relay (Master, Over Current Earth Short Relay, WTI, OTI) & cable at various 33/11 substations in the jurisdiction of EUDC-I, Noida. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.01 | INSTALLATION OF ABOVE RELAY AT DIFFERENT SUBSTATIONS AS PER SITE REQUIREMENT WITH COMPLETE WORK AND CONNECTION IN ALL RESPECT. |  | 1 | Job | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | LAYING OF CONTROL CABLE AT DIFFERENT SUBSTATIONS AS PER SITE REQUIREMENT WITH COMPLETE WORK AND CONNECTION IN ALL RESPECT. |  | 1 | Mtrs. | 100 |  |  | Excess(+) | 1250 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information