## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SE EUDC Muzaffarngar
Name of Work: fctusl Iyku o"kZ 2024&25 ;kstuk ds vUrxZr fo¦qr uxjh; forj.k [k.M&f}rh;] eqt¶Qjuxj ds dk;Z{ks= esa {kfrxzLr 33 dsoh] 11 dsoh oh0lh0ch0] 33 dsoh lh0Vh0] oSD;we bUVªiVj cnyus dk dk;Z ,oa 33 dsoh@11 dsoh ohlh0ch0 dk {kfrxzLr lkeku miyC/k djkrs gq, ejEerhdj.k dk dk;ZA
Contract No: E-Tender NO. 125/2023-24 OF EUDC MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 7 | 7
1 | Safely carriage of 33 KV VCB/11 VCB from Store Central Muzaffarnagar to 33/11 KV Sub Station including loading and unloading to both ends with the help of heavy duty crane. |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Safely carriage of 33 KV O/D CT from Store Central Muzaffarnagar to 33/11 KV Sub Station including loading and unloading to both ends with the help of heavy duty crane. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Safely carriage of 11 KV Vecum Interrupter |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Dismentling of old 33 KV VCB/11 KV VCB from the Sub Station yard including opening of all connection and carriage of VCB from contol room to out side the Sub Station yard. |  | 14 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Dismentling of old 33 KV O/D CT |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Dismentling of damaged 11 KV Vecum interrupter and fixing of new vecum interrupter |  | 3 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Shifting of New VCB from out side the Sub Station yard to in side the Sub Station yard with the helf of heavy duty crene and its instalation with grouting and anchor bolts. |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Proper installation of 33 KV O/D CT. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Providing of M.S. Strip and welding of 3 Nos. earthing of VCB by earthing mat. |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Making the bus-bar connection of VCB and making connection of H.T. Cable with VCB and proper installation of bus-bar and providing the copper wire and making the connection of VCB etc, complete. |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Doing the chemicle earthing and jointing to structure with GI Strip as per RESPO norms. (All material provided by contractor) |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Providing and replacement of binding Tempreture meter at 33/11 KV Sub station Meerapur. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Providing of 2.5 mmsq. PVC copper wire Lugs etc. and replacement of damaged burent wiring complete of 11 KV VCB at 33/11 KV Sub station Meerapur and Kaidi Nijampur |  | 3 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Repairing work of 11 KV VCB at 02 no. each 33/11 KV S/s Barla, Sherpur Khadar/ Kamhera Tuglakpur/Kakroli. Work details as below -
14.01 | Complete repairing of tripping mechanisim system and replacement of lever, spring, bush etc. for 11 KV VCB. |  | 8 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.02 | Providing and replacement of tripping coil complete for 11 KV VCB. |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.03 | Providing of 2.5 mmsq PVC copper wire, lugs etc. and replacement of damaged burnt wiring complete of 11 KV VCB. |  | 8 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.04 | Provinding and Fixing of damaged intruptor connaction rod made of Glass fiber suitable for 11 KV make VCB.11 KV VCB. |  | 8 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.05 | Providing and replacement of metering and protection C.T. ratio 300/150/5 amp. suitable for 11 KV VCB. |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.06 | Providing and fixing of damaged gutka set complete for 11 KV VCB. |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.07 | Complete overhauling and wiring with proper connection & providing and fixing of missing nut & bolts and proper functioning of 11 KV VCB. |  | 8 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Repairing work of 33 KV VCB at 33/11 KV S/s Rasoolpur Baruki. Work details as below -
15.01 | Complete overhauling proper connection, providing and fixing of missing nut & bolts and proper functioning of 33 KV VCB. |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.02 | Providing and fixing of handling and pumping relay for 11 KV VCB. |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.03 | Complete repairing of earth foult relay of 33 KV VCB. |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.04 | Providing and fixing of Master Relay of 33 KV VCB. |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Providing of 2.5 mmsq. PVC copper wire Lugs etc. and replacement of damaged burent wiring complete of 33 KV Control Pannel at 33/11 KV Sub station Meerapur and Kithoda |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Safely Carriage of following material from work site to ESC, Muzaffarnagar including safe loading and unloading at both ends -
17.01 | Old 33 KV VCB. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.02 | Old 11 KV VCB. |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.03 | Old 33 KV O/D CT |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information