## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : fo¦qr uxjh; forj.k [k.M&uoe~] xkft;kckn ds {ks=k/khu iw.kZ tek ;kstuk en esa mieq[;fpfdRlk vf/kdkjh ¼uksMy vf/kdkjh&vkj0lh0,p0½ 50 'kSj;k l;qDr fpfdRlk Mw.MkgsMk fot; uxj xkft;kckn 100 fd0ok0 ,p0oh0&¼ch½ u;s l;kstu ,ao Jh vrqy dqekj tSu iq+= Jh ;liky tSu IykV u0&,l0,p0&3-'kkL=huxj xkft;kckn- 69 fdyksokV ¼cgqfcUnq ij½ fo/kqrhdj.k ds ykbZu fuekZ.k dk;Z Under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 17/2024-25/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of Steel tubler pole sp-55 11 Mtr from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 100 KVA NEW TRANSFORMER from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of 11 KV CT/PT O/D UNIT 10/5A from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of 11 KV CUBICAL 10/5A from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of different kind of A.C.S.R Weasel conductor- 80 Mtr, 11 kv 3x70 sqmm XLPE cable- 120 Mtr, A.C.S.R DOG conductor- 60 Mtr, CABLE HT XLPE 11 KV 3X120 SQMM- 160 Mtr from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Carriage of different kind of Stay Set 16x1800- 6 Nos, MS angle 75x75x6x2028 (T&F base)- 2 Nos, 11 kv composite polymer pin insulator- 21 Nos, Dropper channel- 1 Nos, MS top chnnel 125x65 mm 2240mm long- 1 Nos, Cable box o/D 11KV 3X70 sqmm XLPE- 4 Nos, 11 KV Draw out fuse set- 1 Nos, CLAMP WITH NUT & BOLTS- 22 Nos, EARTHING Complete- 6 Nos, MS angle 65X65X6 MM- 30 Kg, Cable box o/D 11KV 3X120 XLPE- 8 Nos, MS CHANNEL 100X50 MM- 120 Kg, HOLDING CLAMP FOR STP- 16 Nos... etc from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Erection of ST Pole 11 Mtr Long complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Providing and Grounting/Concreting of Pole complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Safely placing of 100 kva new T/F on the Double Pole by the help of Crane/Chain Cuppie complete in all respect as per Respo Norms at various site. | BI01010001010000000000000515BI0100001115 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Fixing/complete Installation 11 KV CT/PT O/D UNIT 10/5A at work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Fixing/complete Installation 11 KV CUBICAL 10/5A at work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Laying of HT XLPE 11 KV 3X120 SQMM Cable With HDPE Pipe (Supply) Tranchless in Double CKT (60 Mtr), loop & riser (40 Mtr), complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 160 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Laying, Lifting, sagging of different kind of A.C.S.R Weasel conductor- 80 Mtr, 11 kv 3x70 sqmm XLPE cable- 120 Mtr, A.C.S.R DOG conductor- 60 Mtr, at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Fixing/complete Installation of different kind of line Material as per site requirement:- Stay Set 16x1800- 6 Nos, MS angle 75x75x6x2028 (T&F base)- 2 Nos, 11 kv composite polymer pin insulator- 21 Nos, Dropper channel- 1 Nos, MS top chnnel 125x65 mm 2240mm long- 1 Nos, Cable box o/D 11KV 3X70 sqmm XLPE- 4 Nos, 11 KV Draw out fuse set- 1 Nos, CLAMP WITH NUT & BOLTS- 22 Nos, EARTHING Complete- 6 Nos, MS angle 65X65X6 MM- 30 Kg, Cable box o/D 11KV 3X120 XLPE- 8 Nos, MS CHANNEL 100X50 MM- 120 Kg, HOLDING CLAMP FOR STP- 16 Nos... etc at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Providing and Fixing/Installation Chemical earthing of T/F,CT/PT & CUBICAL at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 5 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Supply & Fixing STONE PAD at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 6 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Supply & Fixing DANGER BOARD WITH CLAMP at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 2 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Providing and Fixing/Installation CONCERETING OF STAY at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 6 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Supply & Fixing CONCERETING OF SUPPORT at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 2 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Supply & Fixing GI PIPE 6" DIA at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 30 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Supply & Fixing GI wire 6 swg at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 10 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Supply & Fixing BARBID WIRE at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 8 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Supply & Fixing ALLUMINIUM TAPE at various work site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 1 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | All other works complete in all respect as per site requirement. | BI01010001010000000000000515BI0100001117 | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information