## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer (MM-II), PVVNL, Meerut
Name of Work: SEGREGATION OF AGRICULTURE FEEDERS ON TURNKEY BASIS IN CLUSTER-IV (MEERUT, SHAMLI & MUZAFARNAGAR DISTRICTS) OF PsVVNL, UTTAR PRADESH UNDER REVAMPED REFORMS- BASED AND RESULTS-LINKED, DISTRIBUTION SECTOR SCHEME
Contract No: PVVNL-MM/MT/RDSS/FS/95/24-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Values only. 3. Bidders shall fill Ex-work Price, Freight & Insurance Charges, Erection charges and applicable taxes (GST) in Rupees for each of the item seperately in respective column. If taxes are not filled seperately, the prices quoted by the bidder will be considered as inclusive of taxes and PVVNL may bifrucate the Price quoted by the bidder into Base Price and applicable taxes as per prevailing rate of taxes. 4. If any taxes are exempted/waived by Union/State Government during the currency of contract, it shall be the responsiblity of the contractor to avail such exemptions. Payment against such exempted taxes shall not be released. 5. The entire work is to be done on 'Turnkey' basis. Therefore the bidder should include the cost of all the items necessary to complete the work for successful commissioning of the equipment. 6. All the material and erection practices shall be as per tender specification and wherever not specified, shall be as per RESSPO and if not mentioned in RESSPO shall be as per IS. 7. Below Schedule Structure and quantities is provisional and may vary as per site requirement with due approval of CEO of the work. 8. All the hardware items such as Nut-Bolts, Washer, Steel structures and clamps etc. shall be hot-dip galvanised. 09. Permission and documentation regarding Electrical safety & others are in scope of Bidder. 10. Quoted rate must be identical for similar item in each schedule. If any variation then lowest rate of that item must be considered for evaluation and award of BOQ.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Ex-Works Supply Prices (in. Rs./Unit) (Including Taxes) Rs. P | Excise Duty | VAT | Unit Freight & Insurance Charges (in Rs./Unit) (Excluding Taxes) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | Unit Erection Charges (in Rs./Unit) (Excluding Taxes) |  |  | Total Unit Rate (Ex works(Supply+ F&I) & Erection | GST on Total Unit Rate @18% (Rs/Unit) | Unit Rate With Taxes/GST for supply,F&I and installation (in Rs.) | [24 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | 11kV New Line on 8.5 Mtr. PCC Pole with ACSR Rabbit Conductor | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | PCC Pole, 8.5 Mtr. Long | BI01010001010000000000000515BI0100001113 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001114 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | V-Type Cross arm for 11KV Line, 65x65x6 mm, GI Angle | BI01010001010000000000000515BI0100001115 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Cross arm holding Clamp with nuts & bolts | BI01010001010000000000000515BI0100001116 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
6 | 11KV `F' Bracket with N&B | BI01010001010000000000000515BI0100001117 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
7 | Supply of ACSR Rabbit Conductor | BI01010001010000000000000515BI0100001118 | 689 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
8 | Erection of ACSR Rabbit Conductor | BI01010001010000000000000515BI0100001119 | 223 | CKM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
9 | 11kV Polymer Disc Insulator T&C type 45 KN | BI01010001010000000000000515BI0100001120 | 2676 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
10 | Disc Fittings T&C type 45 KN | BI01010001010000000000000515BI0100001121 | 2676 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
11 | 11 KV Composite Polymer Pin Insulator with Nut and washers as per TS | BI01010001010000000000000515BI0100001122 | 12042 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
12 | 11KV MS Danger Board with clamp, bolts & nuts | BI01010001010000000000000515BI0100001123 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
13 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001124 | 2230 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
14 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001125 | 11150 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
15 | PG Clamps | BI01010001010000000000000515BI0100001126 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
16 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001127 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
17 | Aluminium Jointing Sleeves | BI01010001010000000000000515BI0100001128 | 669 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
18 | G.I. Barbed Wire | BI01010001010000000000000515BI0100001129 | 10035 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
19 | GI Wire 6 SWG | BI01010001010000000000000515BI0100001130 | 5575 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
20 | GI Wire 8 SWG | BI01010001010000000000000515BI0100001131 | 6690 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
21 | GI Wire 16 SWG | BI01010001010000000000000515BI0100001132 | 892 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
22 | Eye Bolt | BI01010001010000000000000515BI0100001133 | 892 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
23 | Turn Buckle | BI01010001010000000000000515BI0100001134 | 446 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
24 | 11kV 'E' Bracket with N&B | BI01010001010000000000000515BI0100001135 | 669 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
25 | GI Top Channel 100x50x2240 mm.With Clamp and NB and washer | BI01010001010000000000000515BI0100001136 | 223 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
26 | GI Angle 65x65x6 mm, 2700 mm long bracing complete with clamps, Nut, bolt and washers | BI01010001010000000000000515BI0100001137 | 223 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
27 | GI Channel 100x50x6 mm. 1300 mm long with clamp, nut,bolt and washer | BI01010001010000000000000515BI0100001138 | 223 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
28 | GI Channel 100x50x6, 1525 mm long ,with clamp, nut,bolt and washer | BI01010001010000000000000515BI0100001139 | 223 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
29 | Guarding angle 75x75x6 mm, 1600 mm long with holding clamp, packing piece, nut & bolts etc. | BI01010001010000000000000515BI0100001140 | 446 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
30 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001141 | 4014 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
31 | 11kV New Line on 8.5 Mtr. PCC Pole with ACSR Weasal Conductor
32 | PCC Pole, 8.5 Mtr. Long | BI01010001010000000000000515BI0100001143 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
33 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001144 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
34 | V-Type Cross arm for 11KV Line, 65x65x6 mm, GI Angle | BI01010001010000000000000515BI0100001145 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
35 | Cross arm holding Clamp with nuts & bolts | BI01010001010000000000000515BI0100001146 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
36 | 11KV `F' Bracket with N&B | BI01010001010000000000000515BI0100001147 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
37 | Supply of ACSR Weasal Conductor | BI01010001010000000000000515BI0100001148 | 606 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
38 | Erection of ACSR weasal Conductor | BI01010001010000000000000515BI0100001149 | 196 | CKM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
39 | 11kV Polymer Disc Insulator T&C type 45 KN | BI01010001010000000000000515BI0100001150 | 2354 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
40 | Disc Fittings T&C type 45 KN | BI01010001010000000000000515BI0100001151 | 2354 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
41 | 11 KV Composite Polymer Pin Insulator with Nut and washers as per TS | BI01010001010000000000000515BI0100001152 | 10593 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
42 | 11KV MS Danger Board with clamp, bolts & nuts | BI01010001010000000000000515BI0100001153 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
43 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001154 | 1962 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
44 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001155 | 9809 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
45 | PG Clamps | BI01010001010000000000000515BI0100001156 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
46 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001157 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
47 | Aluminium Jointing Sleeves | BI01010001010000000000000515BI0100001158 | 589 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
48 | G.I. Barbed Wire | BI01010001010000000000000515BI0100001159 | 8828 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
49 | GI Wire 6 SWG | BI01010001010000000000000515BI0100001160 | 4904 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
50 | GI Wire 8 SWG | BI01010001010000000000000515BI0100001161 | 5885 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
51 | GI Wire 16 SWG | BI01010001010000000000000515BI0100001162 | 785 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
52 | Eye Bolt | BI01010001010000000000000515BI0100001163 | 785 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
53 | Turn Buckle | BI01010001010000000000000515BI0100001164 | 392 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
54 | 11kV 'E' Bracket with N&B | BI01010001010000000000000515BI0100001165 | 589 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
55 | GI Top Channel 100x50x2240 mm.With Clamp and NB and washer | BI01010001010000000000000515BI0100001166 | 196 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
56 | GI Angle 65x65x6 mm, 2700 mm long bracing complete with Clamps, Nut, bolt and washers | BI01010001010000000000000515BI0100001167 | 196 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
57 | GI Channel 100x50x6 mm. 1300 mm long with clamp, nut,bolt and washer | BI01010001010000000000000515BI0100001168 | 196 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
58 | GI Channel 100x50x6, 1525 mm long ,with clamp, nut,bolt and washer | BI01010001010000000000000515BI0100001169 | 196 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
59 | Guarding angle 75x75x6 mm, 1600 mm long with holding clamp, packing piece, nut & bolts etc. | BI01010001010000000000000515BI0100001170 | 392 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
60 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001171 | 3531 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
61 | New LT Line on ACSR Weasel Conductor on 8.5 Mtr. PCC Pole
62 | PCC Pole, 8.5 Mtr. Long | BI01010001010000000000000515BI0100001173 | 270 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
63 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001174 | 270 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
64 | LT clamp with nut and bolt for PCC pole | BI01010001010000000000000515BI0100001175 | 1081 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
65 | LT Shakle Insulator 100x115 mm With Nut and Bolt | BI01010001010000000000000515BI0100001176 | 1081 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
66 | Supply of ACSR Weasel Conductor | BI01010001010000000000000515BI0100001177 | 57 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
67 | Erection of ACSR Weasel Conductor | BI01010001010000000000000515BI0100001178 | 14 | CKM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
68 | Aluminium Jointing Sleeves | BI01010001010000000000000515BI0100001179 | 81 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
69 | Earthing complete with M.S. Earthing Rod 20x2500 mm. & GI wire 6 SWG | BI01010001010000000000000515BI0100001180 | 81 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
70 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001181 | 81 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
71 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001182 | 405 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
72 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001183 | 270 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
73 | Guarding angle 75x75x6mm.1600 MM long with holding angle | BI01010001010000000000000515BI0100001184 | 27 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
74 | G.I Wire 6 SWG along with span | BI01010001010000000000000515BI0100001185 | 338 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
75 | G.I Wire 8 SWG | BI01010001010000000000000515BI0100001186 | 540 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
76 | G.I Wire 16 SWG for winding | BI01010001010000000000000515BI0100001187 | 54 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
77 | Eye Bolt | BI01010001010000000000000515BI0100001188 | 108 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
78 | Construction of new 100 KVA, 11/0.433kV Distribution Transformer S/S
79 | 11/0.44 kV 100 KVA Transformer (Level-I) as per specified in T.S. | BI01010001010000000000000515BI0100001190 | 28 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
80 | PCC Pole, 8.5 Mtr. Long | BI01010001010000000000000515BI0100001191 | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
81 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001192 | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
82 | GI Top Channel 125x65 mm, 2240 mm with clamp, bolts, nuts and washers | BI01010001010000000000000515BI0100001193 | 28 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
83 | GI Channel 100x50x2240mm (For TPMO,LA and Fuse set) | BI01010001010000000000000515BI0100001194 | 84 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
84 | Holding Clamps for Top Channel TPMO & Fuse Set etc. with nuts, bolts & washers | BI01010001010000000000000515BI0100001195 | 280 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
85 | GI Angle 75x75x6 mm, 2028 mm long with clamp for T/F base | BI01010001010000000000000515BI0100001196 | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
86 | 11kV Polymer Disc Insulator T&C type 45 KN | BI01010001010000000000000515BI0100001197 | 84 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
87 | Disc Fittings T&C type 45 KN | BI01010001010000000000000515BI0100001198 | 84 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
88 | 11 KV Composite Polymer Pin Insulator with clamp and washers as per TS | BI01010001010000000000000515BI0100001199 | 84 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
89 | 11kV TPMO complete set | BI01010001010000000000000515BI0100001200 | 28 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
90 | 11kV DO Fuse Set (3 Phase) | BI01010001010000000000000515BI0100001201 | 28 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
91 | 11kV Lightening Arrestor (Set- 3 No) | BI01010001010000000000000515BI0100001202 | 28 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
92 | G.I. Barbed Wire | BI01010001010000000000000515BI0100001203 | 112 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
93 | 11kV MS Danger Board with clamp, bolts & nuts | BI01010001010000000000000515BI0100001204 | 28 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
94 | SMC Distribution box as per technical specifications for 3 Ph 100 KVA DTR | BI01010001010000000000000515BI0100001205 | 28 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
95 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001206 | 56 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
96 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001207 | 280 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
97 | Chemical Pipe Earthing (80 mm dia, 3 m long Pipe) as per TS | BI01010001010000000000000515BI0100001208 | 84 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
98 | LT PVC Cable 3.5x150/70 Sq.mm. | BI01010001010000000000000515BI0100001209 | 560 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
99 | ACSR Weasel Conductor | BI01010001010000000000000515BI0100001210 | 1 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
100 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001211 | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
101 | GI Channel 100x50x2028mm (For Distribution box)) | BI01010001010000000000000515BI0100001212 | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
102 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001213 | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
103 | Construction of new 63 KVA, 11/0.433kV Distribution Transformer S/S
104 | 11/0.44 kV 63 KVA Transformer (Level-I) as per specified in T.S. | BI01010001010000000000000515BI0100001215 | 73 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
105 | PCC Pole, 8.5 Mtr. Long | BI01010001010000000000000515BI0100001216 | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
106 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001217 | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
107 | GI Top Channel 125x65 mm, 2240 mm with clamp, bolts, nuts and washers | BI01010001010000000000000515BI0100001218 | 73 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
108 | GI Channel 100x50x2028mm (For TPMO,LA and Fuse set) | BI01010001010000000000000515BI0100001219 | 219 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
109 | Holding Clamps for Top Channel TPMO & Fuse Set etc. with nuts, bolts & washers | BI01010001010000000000000515BI0100001220 | 730 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
110 | GI Angle 75x75x6 mm, 2028 mm long with clamp for T/F base | BI01010001010000000000000515BI0100001221 | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
111 | 11kV Polymer Disc Insulator T&C type 45 KN | BI01010001010000000000000515BI0100001222 | 219 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
112 | Disc Fittings T&C type 45 KN | BI01010001010000000000000515BI0100001223 | 219 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
113 | 11 KV Composite Polymer Pin Insulator with Nut and washers as per TS | BI01010001010000000000000515BI0100001224 | 219 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
114 | 11kV TPMO complete set | BI01010001010000000000000515BI0100001225 | 73 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
115 | 11kV DO Fuse Set (3 Phase) | BI01010001010000000000000515BI0100001226 | 73 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
116 | 11kV Lightening Arrestor (Set- 3 No) | BI01010001010000000000000515BI0100001227 | 73 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
117 | G.I. Barbed Wire | BI01010001010000000000000515BI0100001228 | 292 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
118 | 11kV MS Danger Board with clamp, bolts & nuts | BI01010001010000000000000515BI0100001229 | 73 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
119 | SMC Distribution box as per technical specifications for 3 Ph 63 KVA DTR | BI01010001010000000000000515BI0100001230 | 73 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
120 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001231 | 146 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
121 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001232 | 730 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
122 | Chemical Pipe Earthing (80 mm dia, 3 m long Pipe) | BI01010001010000000000000515BI0100001233 | 219 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
123 | LT PVC Cable 3.5x70/35 Sq.mm. | BI01010001010000000000000515BI0100001234 | 1460 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
124 | ACSR Weasel Conductor | BI01010001010000000000000515BI0100001235 | 2 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
125 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001236 | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
126 | GI Channel 100x50x2028mm (For Distribution box)) | BI01010001010000000000000515BI0100001237 | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
127 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001238 | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
128 | Construction of new 25 KVA, 11/0.433kV Distribution Transformer S/S
129 | 11/0.44 kV 25 KVA Transformer (Level-I) as per specified in T.S. | BI01010001010000000000000515BI0100001240 | 113 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
130 | PCC Pole, 8.5 Mtr. Long | BI01010001010000000000000515BI0100001241 | 226 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
131 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001242 | 226 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
132 | GI Top Channel 125x65 mm, 2240 mm with clamp, bolts, nuts and washers | BI01010001010000000000000515BI0100001243 | 113 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
133 | GI Channel 100x50x2240mm (For TPMO,LA and Fuse set) | BI01010001010000000000000515BI0100001244 | 339 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
134 | Holding Clamps for Top Channel TPMO & Fuse Set etc. with nuts, bolts & washers | BI01010001010000000000000515BI0100001245 | 1130 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
135 | GI Angle 75x75x6 mm, 2028 mm long with clamp for T/F base | BI01010001010000000000000515BI0100001246 | 226 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
136 | 11kV Polymer Disc Insulator T&C type 45 KN | BI01010001010000000000000515BI0100001247 | 339 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
137 | Disc Fittings T&C type 45 KN | BI01010001010000000000000515BI0100001248 | 339 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
138 | 11 KV Composite Polymer Pin Insulator with Nut and washers | BI01010001010000000000000515BI0100001249 | 339 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
139 | 11kV TPMO complete set | BI01010001010000000000000515BI0100001250 | 113 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
140 | 11kV DO Fuse Set (3 Phase) | BI01010001010000000000000515BI0100001251 | 113 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
141 | 11kV Lightening Arrestor (Set- 3 No) | BI01010001010000000000000515BI0100001252 | 113 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
142 | G.I. Barbed Wire | BI01010001010000000000000515BI0100001253 | 226 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
143 | 11kV MS Danger Board with clamp, bolts & nuts | BI01010001010000000000000515BI0100001254 | 113 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
144 | SMC Distribution box as per technical specifications for 3 Ph 25 KVA DTR | BI01010001010000000000000515BI0100001255 | 113 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
145 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001256 | 226 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
146 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001257 | 1130 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
147 | Chemical Pipe Earthing (80 mm dia, 3 m long Pipe) as per TS | BI01010001010000000000000515BI0100001258 | 339 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
148 | LT XLPE insulated unarmoured 4x25 Sq. mm. Cable | BI01010001010000000000000515BI0100001259 | 1469 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
149 | ACSR Weasel Conductor | BI01010001010000000000000515BI0100001260 | 3 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
150 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001261 | 226 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
151 | GI Channel 100x50x2028mm (For Distribution box)) | BI01010001010000000000000515BI0100001262 | 226 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
152 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001263 | 226 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
153 | Installation of 11 KV Outgoing VCB for Feeder Segreration | BI01010001010000000000000515BI0100001264
154 | 11KV Outgoing CTR 400/200/5A 350 MVA | BI01010001010000000000000515BI0100001265 | 27 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
155 | 11 KV rearrangement for connecting new 11 KV VCB with existing 11 KV Switch gear (Adoptor Panel) | BI01010001010000000000000515BI0100001266 | 27 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
156 | 11kV 3x185 mm2 XLPE Cable | BI01010001010000000000000515BI0100001267 | 1620 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
157 | Heat Shrinkable outdoor type termination kit suitable for 11kV XLPE 3x185 Sq.mm. cable size | BI01010001010000000000000515BI0100001268 | 27 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
158 | Heat Shrinkable indoor type termination kit suitable for 11kV XLPE 3x185 Sq.mm. cable size | BI01010001010000000000000515BI0100001269 | 27 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
159 | 11 Mtr. Long Steel Tubular pole 410 SP 55 | BI01010001010000000000000515BI0100001270 | 54 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
160 | GI Top Channel 100x50x2240 mm. | BI01010001010000000000000515BI0100001271 | 54 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
161 | 11 KV Polymer Disc Insulator T&C type 45 KN | BI01010001010000000000000515BI0100001272 | 81 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
162 | Disc Fitting T&C type 45 KN | BI01010001010000000000000515BI0100001273 | 81 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
163 | 11 KV Composite Polymer Pin Insulator with Nut and washers | BI01010001010000000000000515BI0100001274 | 81 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
164 | P.G. Clamp for ACSR Dog/Raccoon | BI01010001010000000000000515BI0100001275 | 81 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
165 | 11kV 'E' Bracket with N&B | BI01010001010000000000000515BI0100001276 | 81 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
166 | 11kV MS Danger Board with clamp, bolts & nuts | BI01010001010000000000000515BI0100001277 | 54 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
167 | 11kV Lightening Arrestor (Set- 3 No) | BI01010001010000000000000515BI0100001278 | 27 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
168 | G.I. Barbed Wire | BI01010001010000000000000515BI0100001279 | 135 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
169 | Aluminium Paint | BI01010001010000000000000515BI0100001280 | 108 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
170 | Red Oxide Paint | BI01010001010000000000000515BI0100001281 | 108 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
171 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001282 | 108 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
172 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001283 | 1080 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
173 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001284 | 108 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
174 | GI Strip 50x6 mm | BI01010001010000000000000515BI0100001285 | 2295 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
175 | G.I. Pipe 6" dia . | BI01010001010000000000000515BI0100001286 | 324 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
176 | Laying of 11 KV Cable including cost of Sand & Bricks | BI01010001010000000000000515BI0100001287 | 1620 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
177 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001288 | 54 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
178 | PVC 4x2.5 sq mm (Cu) | BI01010001010000000000000515BI0100001289 | 1188 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
179 | PVC 2x2.5 sq mm (cu) | BI01010001010000000000000515BI0100001290 | 1188 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
180 | Control Room Extension
181 | Extension of existing substation control room building,Control Room size 6x6 mtrs.( as per annexure attached in tender documents.) | BI01010001010000000000000515BI0100001292 | 10 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
182 | 11 KV Railway Crossing
183 | 11 Mtr. Long Steel Tubular pole 410 SP 55 | BI01010001010000000000000515BI0100001294 | 32 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
184 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001295 | 32 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
185 | 11kV 3x185 mm2 XLPE Cable | BI01010001010000000000000515BI0100001296 | 2400 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
186 | Top channel 125x 65 mm 3200 mm (10,7kg/m) | BI01010001010000000000000515BI0100001297 | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
187 | M.S Angle iron 65x65x6 mm 4300 mm long bracing with clamp | BI01010001010000000000000515BI0100001298 | 32 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
188 | Heat Shrinkable outdoor type termination kit suitable for 11kV XLPE 3x185 Sq.mm. cable size | BI01010001010000000000000515BI0100001299 | 32 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
189 | Laying of HDPE Pipe underground minimum 3 meters below the Railway track by HDD Method along with laying of 11 KV 3x185 Sqmm. XLPE Cable in G.I. Pipes. | BI01010001010000000000000515BI0100001300 | 1280 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
190 | HDPE Pipe (6" dia.) for laying UG below the Railway track by HDD Method. | BI01010001010000000000000515BI0100001301 | 1280 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
191 | G.I. Pipe 6" dia. with Clamps | BI01010001010000000000000515BI0100001302 | 192 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
192 | 11 KV Polymer Disc Insulator B&S type 70 KN | BI01010001010000000000000515BI0100001303 | 48 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
193 | Disc Fitting B&S type 70 KN | BI01010001010000000000000515BI0100001304 | 48 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
194 | P.G. Clamp for ACSR Dog/Raccoon | BI01010001010000000000000515BI0100001305 | 96 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
195 | 11kV MS Danger Board with clamp, bolts & nuts | BI01010001010000000000000515BI0100001306 | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
196 | G.I. Barbed Wire | BI01010001010000000000000515BI0100001307 | 80 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
197 | Aluminium Paint | BI01010001010000000000000515BI0100001308 | 64 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
198 | Red Oxide Paint | BI01010001010000000000000515BI0100001309 | 64 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
199 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001310 | 80 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
200 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001311 | 800 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
201 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001312 | 32 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
202 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001313 | 32 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
203 | Railway Crossing Documentation, Land and Approval Fee etc. (Payment shall be done as per actual) | BI01010001010000000000000515BI0100001314 | 8 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
204 | Digging of trench by excavation of earth, laying of bricks to cover the vable and filling of sand & earth ramming and dressing properly with complete job for laying of 11 KV XLPE cables | BI01010001010000000000000515BI0100001315 | 800 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
205 | Laying of 11 KV XLPE Cable in trenches and in G.I. Pipe on double pole | BI01010001010000000000000515BI0100001316 | 1120 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
206 | Number plate | BI01010001010000000000000515BI0100001317 | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
207 | 11 KV Polymer Pin Insulator | BI01010001010000000000000515BI0100001318 | 48 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
208 | Cable Route Marker | BI01010001010000000000000515BI0100001319 | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
209 | NHAI/State Highway Crossing
210 | 11 Mtr. Long Steel Tubular pole 410 SP 55 | BI01010001010000000000000515BI0100001321 | 80 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
211 | 11kV 3x185 mm2 XLPE Cable | BI01010001010000000000000515BI0100001322 | 4000 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
212 | Heat Shrinkable outdoor type termination kit suitable for 11kV XLPE 3x185 Sq.mm. cable size | BI01010001010000000000000515BI0100001323 | 80 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
213 | HDPE Pipe for cable laying (Pipe to be laid by HDD Method) | BI01010001010000000000000515BI0100001324 | 2200 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
214 | G.I. Pipe 6" dia . | BI01010001010000000000000515BI0100001325 | 480 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
215 | Laying of 11 KV XLPE Cable underground in trenches/ pipes. | BI01010001010000000000000515BI0100001326 | 3200 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
216 | Laying of 11 KV XLPE Cable in G.I. Pipe on double pole | BI01010001010000000000000515BI0100001327 | 800 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
217 | Top channel 125x 65 mm 3200 mm | BI01010001010000000000000515BI0100001328 | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
218 | M.S Angle iron 65x65x6 mm 4300 mm long bracing with clamp | BI01010001010000000000000515BI0100001329 | 40 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
219 | 11 KV Polymer Disc Insulator B&S type 70 KN | BI01010001010000000000000515BI0100001330 | 120 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
220 | Disc Fitting B&S type 70 KN | BI01010001010000000000000515BI0100001331 | 120 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
221 | P.G. Clamp for ACSR Dog | BI01010001010000000000000515BI0100001332 | 120 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
222 | 11kV MS Danger Board with clamp, bolts & nuts | BI01010001010000000000000515BI0100001333 | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
223 | G.I. Barbed Wire | BI01010001010000000000000515BI0100001334 | 320 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
224 | Aluminium Paint | BI01010001010000000000000515BI0100001335 | 200 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
225 | Red Oxide Paint | BI01010001010000000000000515BI0100001336 | 200 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
226 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001337 | 260 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
227 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001338 | 2470 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
228 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001339 | 120 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
229 | Concreting of Pole/Support as per TS | BI01010001010000000000000515BI0100001340 | 80 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
230 | NHAI/State highway crossing documentation, land charges and approval fee etc. (Payment shall be done as per actual) | BI01010001010000000000000515BI0100001341 | 20 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
231 | Road Restoration (Foot Path )charges | BI01010001010000000000000515BI0100001342 | 3 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
232 | Bolts Nuts & washers | BI01010001010000000000000515BI0100001343 | 120 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
233 | Aluminium winding wire - 6 SWG | BI01010001010000000000000515BI0100001344 | 20 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
234 | Construction of New LT Line on (3x50 + 1x35 +1x16)sq. mm LT ABC Cable
235 | PCC Pole, 8.5 Mtr. Long | BI01010001010000000000000515BI0100001346 | 1013 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
236 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001347 | 1013 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
237 | Earthing complete with M.S. Earthing Rod 20x2500 mm. & GI wire 6 SWG | BI01010001010000000000000515BI0100001348 | 567 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
238 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001349 | 405 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
239 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001350 | 2027 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
240 | Dead End clamp (Insulated) | BI01010001010000000000000515BI0100001351 | 405 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
241 | Suspension clamps with I-Hook (Insulated) | BI01010001010000000000000515BI0100001352 | 811 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
242 | Pole Clamps with nut & bolts for laying ABC | BI01010001010000000000000515BI0100001353 | 1013 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
243 | LT Insulating Piercing Connector (16sq.mm) suitable for street light | BI01010001010000000000000515BI0100001354 | 1013 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
244 | Insulating Piercing Connector (120-50 sq.mm -50-35 sq.mm) | BI01010001010000000000000515BI0100001355 | 2634 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
245 | SMC LT distribution boxes/kiosk, 3 phase on the LT Poles including all clamps & material required for mounting connections | BI01010001010000000000000515BI0100001356 | 1013 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
246 | Supply of LT ABC of 3x50+1x35+1x16 sq. mm | BI01010001010000000000000515BI0100001357 | 43 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
247 | Erection of LT ABC of 3x50+1x35+1x16 sq. mm | BI01010001010000000000000515BI0100001358 | 41 | CKM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
248 | 1x35 mm2 Un-armoured XLPE insulated Al. LT Cable for energising the distribution boxes. | BI01010001010000000000000515BI0100001359 | 4053 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
249 | 1x16 mm2 Un-armoured XLPE insulated Al. LT Cable for energising the street light | BI01010001010000000000000515BI0100001360 | 1135 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
250 | End cap for LT AB cable | BI01010001010000000000000515BI0100001361 | 486 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
251 | PG Clamps | BI01010001010000000000000515BI0100001362 | 1013 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
252 | Concreting of PCC Pole/Support as per TS | BI01010001010000000000000515BI0100001363 | 1013 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
253 | Construction of New LT line on (3x95 + 1x70 +1x16)sq. mm LT ABC Cable
254 | PCC Pole, 8.5 Mtr. Long | BI01010001010000000000000515BI0100001365 | 338 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
255 | Stone Pad (300x300x75mm) | BI01010001010000000000000515BI0100001366 | 338 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
256 | Earthing complete with M.S. Earthing Rod 20x2500 mm. & GI wire 6 SWG | BI01010001010000000000000515BI0100001367 | 270 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
257 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001368 | 122 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
258 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001369 | 608 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
259 | Dead End clamp (Insulated) | BI01010001010000000000000515BI0100001370 | 135 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
260 | Suspension clamps with I-Hook (Insulated) | BI01010001010000000000000515BI0100001371 | 338 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
261 | Pole Clamps with nut & bolts for laying ABC | BI01010001010000000000000515BI0100001372 | 338 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
262 | LT Insulating Piercing Connector (16sq.mm) suitable for street light | BI01010001010000000000000515BI0100001373 | 338 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
263 | Insulating Piercing Connector (120-50 sq.mm -50-35 sq.mm) | BI01010001010000000000000515BI0100001374 | 878 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
264 | SMC LT distribution boxes/kiosk, 3 phase on the LT Poles including all clamps & material required for mounting connections | BI01010001010000000000000515BI0100001375 | 338 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
265 | Supply of LT ABC of 3x95+1x70+1x16 sq. mm | BI01010001010000000000000515BI0100001376 | 14 | Km. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
266 | Erection of LT ABC 3x95+1x70+1x16 sq. mm | BI01010001010000000000000515BI0100001377 | 14 | CKM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
267 | 1x35 mm2 Un-armoured XLPE insulated Al. LT Cable for energising the distribution boxes. | BI01010001010000000000000515BI0100001378 | 1351 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
268 | 1x16 mm2 Un-armoured XLPE insulated Al. LT Cable for energising the street light | BI01010001010000000000000515BI0100001379 | 378 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
269 | End cap for LT AB cable | BI01010001010000000000000515BI0100001380 | 162 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
270 | PG Clamps | BI01010001010000000000000515BI0100001381 | 338 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
271 | Concreting of PCC Pole/Support as per TS | BI01010001010000000000000515BI0100001382 | 338 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
272 | Overhead crossing of existing HT Line
273 | 13 meter STP Pole-SP-70 | BI01010001010000000000000515BI0100001384 | 532 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
274 | X-arm MS Angle 65X65X6mm V-Type 11 KV | BI01010001010000000000000515BI0100001385 | 532 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
275 | Cross arm holding clamps with bolts & nuts | BI01010001010000000000000515BI0100001386 | 532 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
276 | 11 KV polymeric Pin Insulator | BI01010001010000000000000515BI0100001387 | 1596 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
277 | F-bracket for fitting top insulator with bolts & nuts | BI01010001010000000000000515BI0100001388 | 532 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
278 | Danger Plate with clamps & bolts | BI01010001010000000000000515BI0100001389 | 532 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
279 | Aluminium paint | BI01010001010000000000000515BI0100001390 | 1064 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
280 | Red oxide paint | BI01010001010000000000000515BI0100001391 | 1064 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
281 | Number marking on Pole with paint | BI01010001010000000000000515BI0100001392 | 532 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
282 | Barbed wire GI | BI01010001010000000000000515BI0100001393 | 2128 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
283 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001394 | 1064 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
284 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001395 | 5320 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
285 | Concreting of STP 13 M supports (@.63 Cu Mtr per pole) | BI01010001010000000000000515BI0100001396 | 532 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
286 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001397 | 532 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
287 | Overhead crossing of existing LT Line
288 | 11 meter STP Pole-SP-55 | BI01010001010000000000000515BI0100001399 | 434 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
289 | X-arm MS Angle 65X65X6mm V-Type 11 KV | BI01010001010000000000000515BI0100001400 | 434 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
290 | Cross arm holding clamps with bolts & nuts | BI01010001010000000000000515BI0100001401 | 434 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
291 | 11 KV polymeric Pin Insulator | BI01010001010000000000000515BI0100001402 | 1302 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
292 | F-bracket for fitting top insulator with bolts & nuts | BI01010001010000000000000515BI0100001403 | 434 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
293 | Danger Plate with clamps & bolts | BI01010001010000000000000515BI0100001404 | 434 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
294 | Aluminium paint | BI01010001010000000000000515BI0100001405 | 868 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
295 | Red oxide paint | BI01010001010000000000000515BI0100001406 | 868 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
296 | Number marking on Pole with paint | BI01010001010000000000000515BI0100001407 | 434 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
297 | Barbed wire GI | BI01010001010000000000000515BI0100001408 | 1736 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
298 | Stay Complete (GI Stay Rod 16x1800 mm-1 nos , Eye Bolt -1 nos, Anchor plate -1 nos,Turn Buckle -1 nos, Hellically Formed End Fitting, Square Washer and thimble, Nuts Bolt & Washers , Stay Calmp and Guy Insulator as per approved Drawing and TS | BI01010001010000000000000515BI0100001409 | 868 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
299 | Stay Wire 7/10 SWG | BI01010001010000000000000515BI0100001410 | 4340 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
300 | Concreting of STP 11 M supports (@.44 Cu Mtr per pole) | BI01010001010000000000000515BI0100001411 | 434 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
301 | Earthing of pole by MS earthing rod of 20x2500 mm. and 6 SWG earthing wire etc. | BI01010001010000000000000515BI0100001412 | 434 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
302 | Additional items that may be required for completion of work
303 | 9 MTR STP Pole | BI01010001010000000000000515BI0100001414 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
304 | 3x120 sq. mm 11 kV AB Cable | BI01010001010000000000000515BI0100001415 | 1 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
305 | 11kV Polymer Disc Insulator with Fitting for 11 KV ABC | BI01010001010000000000000515BI0100001416 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
306 | 11kV Polymer Disc Insulators with I-Hook | BI01010001010000000000000515BI0100001417 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
307 | Heat Shrinkable 1 ph. termination kit outdoor for 11 kV 3x120 Sq. mm. AB Cable | BI01010001010000000000000515BI0100001418 | 1 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
308 | Spacers LT PVC | BI01010001010000000000000515BI0100001419 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
309 | LT Insulation Piercing Connectors of 95/50 sq. mm - 70/35 sq. mm (For messenger wire jumpering & energizing DB neutral) | BI01010001010000000000000515BI0100001420 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
310 | On/Off switch for street light connections | BI01010001010000000000000515BI0100001421 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
311 | Height raising channel 100X50,2240 mm long | BI01010001010000000000000515BI0100001422 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE!
312 | Back clamp for height raising channel holding clamps with bolts & nuts | BI01010001010000000000000515BI0100001423 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [13 empty] | 0 | 0 | 0 | [24 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information