## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of 11KV Line Strenthening Business Plan Scheme 2024-25 Part-2 in the Area of EE, EUDD-I, EUDD-III, EUDD-V and EUDD-IX Ghaziabad. Under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 23/2024-25/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of A. B. Cable LT. (3x120+1x195+1x16) from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 750 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 11 kvXLPE Cable 3x185 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 2210 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of HDPE Pipe 140 mm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 801 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of HDPE Pipe 120 mm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 560 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of 33 kvXLPE Cable 3x300 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 506 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Carriage of GI Pipe 6" Dia from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 148 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Carriage of ST Pole 11 MTR Long SP-55 from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001119 | 109 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Carriage of ACSR Dog Conductor from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 6982 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Carriage of ACSR Weasel Conductor from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 30 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Carriage of line material as per site requirement:-Distribution Box 3 Phase - 7 Nos, 33 kv O/D Cable Box 3x300 sqmm-12 Nos, 11 kv O/D cable Jointing Kit 3x185 sqmm- 44 Nos, 11 kv I/D cable Jointing Kit 3x185 sqmm- 2 Nos ...etc.. from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Carriage of line material as per site requirement:-11KV Stay wire- 10 Kg, MS Angle for Bracing 65x65x6 MM- 2220 Kg, MS Channel 100x50 mm-1440 Kg, GI Wire 8 SWG-1200 Kg, GI Wire 10 SWG-300 Kg...etc.. from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Carriage of line material as per site requirement:-33 kv Polymeric Disc Insulator 70 KN- 18 Nos, 33 kv disc Fitting 70 KN- 18 Nos, 11KV Pin with Nut- 12 Nos, MS Top Channel Set- 2 Nos, MS Dropper- 8 Nos, 11KV Pin Insulator- 133 Nos, 11KV Disc Insulator-123, 11KV Pin with Nut- 85 Nos, 11KV Disc Fitting- 102 Nos, 11KV Stay Set- 50 Nos, 11KV V-Type Cross ARM- 18 Nos, MS Earthing Rod- 22 Nos, Earthing of Pole- 10 Nos, F Bracket- 10 Nos ...etc.. from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Dismantling of ABC 3x95 Scrap & Used carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001114 | 712 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Dismantling of Damage STP off Size carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001115 | 3725 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Dismantling of Damage ST Pole carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001116 | 14 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Dismantling of Damage Gater Pole carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001117 | 7 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Dismantling of Old & Used Dog Conductor Scrap carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001118 | 408 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Dismantling of Old & Used Rabbit Conductor Scrap carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001119 | 1070 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Erection of ST Pole 11 Mtr long long complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 109 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Providing and Grounting/Concreting of Pole complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 109 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Cable Laying 33 kv XLPE Cable 3x300 sqmm Trunchless/Drilling with HDPE Pipe 140 mm (HDPE Carriage from Store)- 266 Mtr and Loop riser…etc work- 240 Mtr under EUDD-V, work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 506 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | After Laying 33 kv XLPE Cable 3x300 sqmm, Road Restoration for Pucca road Charges at work site. | BI01010001010000000000000515BI0100001117 | 30 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Cable Laying 11 kvXLPE Cable 3x185 sqmm alongwith cost of Digging, Bricks, sand- 440 Mtr and Loop riser…etc work- 60 Mtr under EUDD-I, Govindpuram work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 500 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Cable Laying 11 kvXLPE Cable 3x185 sqmm Trunchless/Drilling with HDPE Pipe 120 mm (HDPE Carriage from Store)- 560 Mtr and Loop riser…etc work- 40 Mtr under EUDD-V, work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 600 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Cable Laying 11 kvXLPE Cable 3x185 sqmm Trunchless/Drilling with HDPE Pipe 140 mm (HDPE Carriage from Store)- 550 Mtr and Loop riser…etc work- 560 Mtr at various work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 1110 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | After Laying 33 kv XLPE Cable 3x300 sqmm, Road Restoration for Pucca road Charges at work site. | BI01010001010000000000000515BI0100001115 | 90 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Fixing/Installation line material as per site Requirement:- Distribution Box 3 Phase - 7 Nos, 33 kv O/D Cable Box 3x300 sqmm-12 Nos, 11 kv O/D cable Jointing Kit 3x185 sqmm- 44 Nos, 11 kv I/D cable Jointing Kit 3x185 sqmm- 2 Nos ...etc.. at work Site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Fixing/Installation line material as per site Requirement:- 11KV Stay wire- 10 Kg, MS Angle for Bracing 65x65x6 MM- 2220 Kg, MS Channel 100x50 mm-1440 Kg, GI Wire 8 SWG-1200 Kg, GI Wire 10 SWG-300 Kg ...etc.. at work Site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Fixing/Installation line material as per site Requirement:- 33 kv Polymeric Disc Insulator 70 KN- 18 Nos, 33 kv disc Fitting 70 KN- 18 Nos, 11KV Pin with Nut- 12 Nos, MS Top Channel Set- 2 Nos, MS Dropper- 8 Nos, 11KV Pin Insulator- 133 Nos, 11KV Disc Insulator-123, 11KV Pin with Nut- 85 Nos, 11KV Disc Fitting- 102 Nos, 11KV Stay Set- 50 Nos, 11KV V-Type Cross ARM- 18 Nos, MS Earthing Rod- 22 Nos, Earthing of Pole- 10 Nos, F Bracket- 10 Nos ...etc.. at work Site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Laying/Lifting/sagging of A. B. Cable LT. (3x120+1x195+1x16) complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 750 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Laying/Lifting/sagging of ACSR Dog Conductor complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 6982 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Laying/Lifting/sagging of ACSR Weasel Conductor complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 30 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Fixing/Installation of GI Pipe 6" Dia at site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 148 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Supply & Fixing/Installation MS LT Clamp with Sackle insulator at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 52 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Supply, installation testing and commissioning of 11 kv, 1250 Amps, 25 KA vacuum/solid dielectric BIL 28KV/75 KV peak with magn, Current sensor/ transformer, voltage sensor/ transformer magnetic actuator mechanism Autorecloser with complete accessories with 100 fault recorder and 500 event recorder. The Autorecloser shall be provided with a galvanized mounting frame for structure or pole mounting. It shall be of sufficient size to accommodate the addition of an auxiliary voltage transformer (Aux. VT) bracket in case it is fitted outside the substation. The control cabinet shall include battery capable of providing 24 hours of operation upon loss of AC power. During this 24-hour period, the battery shall be capable of providing up to 10 open and close operations. All necessary wiring and space for FRTU to be given with Autorecloser for future compatibility of SCADA system (supply of FRTU is not in scope). at various site complete in all respect as per respo Norms. (Makes: Authorized by UPPCL) | BI01010001010000000000000515BI0100001118 | 11 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Supply & Fixing/Installation Holding Clamp at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 411 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | Supply & Fixing/Installation Suspension Clamp at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 31 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38 | Supply & Fixing/Installation J Hook at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 31 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | Supply & Fixing/Installation Nut & Bolts Off Size at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 492 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
40 | Supply & Fixing/Installation Clamps with Nut & Bolts at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 15 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41 | Supply & Painting Red Oxide Paint at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 23 | Ltr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42 | Supply & Painting Alluminium Paint at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 23 | Ltr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
43 | Supply & Fixing/Installation Concreting of Stay at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44 | Supply & Fixing/Installation 11KV Stay Clamp at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
45 | Supply & Fixing/Installation Stone Pad at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 53 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
46 | Supply & Fixing/Installation Number Plate With Clamp at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 48 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
47 | Supply & Fixing/Installation Danger Board With Clamp at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 24 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
48 | Supply & Fixing/Installation Aluminum Binding Wire at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 35 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49 | Supply & Fixing/Installation Cross Arm Holding Clamps with Bolts & Nut at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 8 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
50 | Supply & Fixing/Installation Dead & Clamp (Stay Clamp) at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 75 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
51 | All other works complete in all respect as per estimate requirement. | BI01010001010000000000000515BI0100001118 | 28 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information