## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work: fo¦qr forj.k [k.M f}rh;] lgkjuiqj ds dk;Z{ks= esa uohu ftyk fo¦qr fodkl fuf/k ;kstuk ds vUrxZr xzke fQjkgsMh esa izkFkfed fo¦ky; ds ifjlj ls xqtj jgh 11 ds0oh0 dh fo¦qr ykbZu dks ifjlj ls ckgj LFkkukUrfjr djus gsrq] xzke cgknjiqj essa izkFkfed fo¦ky; ds ifjlj ls xqtj jgh ,y0Vh0 dh fo¦qr ykbZu dks ifjlj ls ckgj LFkkukUrfjr djus gsrq] xzke lMd nw/kyh esa izkFkfed fo¦ky; ds ifjlj ls xqtj jgh 11 ds0oh0 dh fo¦qr ykbZu dks ifjlj ls ckgj LFkkukUrfjr djus gsrq] xzke ikMyh [kq’kgkyiqj esa izkFkfed fo¦ky; ds ifjlj ls xqtj jgh 11 ds0oh0 dh fo¦qr ykbZu dks ifjlj ls ckgj LFkkukUrfjr djus gsrq ,oa xzke [kuiqjk esa izkFkfed fo¦ky; ds ifjlj ls xqtj jgh 11 ds0oh0 dh fo¦qr ykbZu dks ifjlj ls ckgj LFkkukUrfjr djus gsrq dk;ZA
Contract No: 72/W/EDC-II/SRE/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safe cartage of PCC/ST poles up to (11 Mtr. Long) from ESC, SRE to site of work including loading & unloading at both ends. |  | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of other complete line material (Except PCC/ST Pole) from ESC, SRE to site of work including loading, unloading at both ends. |  | 2 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Erection of single support on PCC/ST poles up to (11 Mtr. Long) with complete fitting of all accessories 11 KV/LT line complete. |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Erection of double Pole on PCC/ST poles up to (11 Mtr. Long) with complete fitting with all accessories as per RESPO specification. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Fixing of 11 KV stay rod by digging of pits in block of 600X600X300 MM. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole. |  | 9 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Providing and fixing of stone pad 300x300x75 |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Earthing of poles by earthing rods . |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Providing of all type MS clamps for PCC/ST poles with nuts and bolts made by MS flat size 50x6mm best quality. |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing & Fixing nuts & bolts of various sizes. |  | 10 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providing and fixing Suspension-clamp with I-HOOK. |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Removal of old & used conductor from the existing 11 KV/LT line with making roll of conductor and safely carrige from site to ESC, SRE including loading and unloading at both ends. |  | 340 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Laying, lifting, stringing, sagging jumpering & binding of ACSR Rabbit Conductor for 11KV/LT Line including complete. |  | 560 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Laying, lifting, stringing, sagging jumpering & binding of ACSR Weasel Conductor for 11KV/LT Line including complete. |  | 695 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Removal of 25/63/100 KVA T/F from the existing D/P after opening HT & LT connection and with shifting the T/F from new site. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Safe installation of 25/63/100 KVA T/F on the new double pole with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Laying, lifting, Stringing, proper sagging of LT AB cable of size 3x95+1X70+1X16 and 3x120+1x95+1x16 sq.mm. including of all accessorie. |  | 275 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Concreting of PCC/ST pole with cement concreting in block of 600x600x1500 mm in ratio 1:4:8 with cement, sand and brick ballast size 1x1.5” |  | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information