## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: S.E. EDC SAMBHAL
Name of Work: fo¦qr forj.k [k.M] lEHky ds vUrxZr 33@11 dsoh midsUnzksa ds lqn`<hdj.k lEcU/kh fofHkUu dk;ksZ dks ckg~; ,tsUlh ds ek/;e ls djk;s tkus ds lEcU/k esaA
Contract No: 09/2024-25/EDC SAMBHAL
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE Without Taxes In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT Without Taxes In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Providing and Fixing Following Electric Materials at 33/11 KV Sub-Stations Under Electricity Distribution Division, Sambhal for Maintain & Continue giving Supply.
2 | Fuse wire 39 Swg | Fuse wire 39 Swg | 42 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Fuse wire 40 Swg | Fuse wire 40 Swg | 48 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Fuse wire 16 Swg | Fuse wire 16 Swg | 10 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Fuse wire 24 Swg | Fuse wire 24 Swg | 12 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Fuse wire 30 Swg | Fuse wire 30 Swg | 22 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Fuse wire 27 Swg | Fuse wire 27 Swg | 26 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Fuse wire 37 Swg | Fuse wire 37 Swg | 22 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Fuse wire 16 Swg | Fuse wire 16 Swg | 10 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Vaccum Intrupter 1250A Suitable for Stel Mac VCB | Vaccum Intrupter 1250A Suitable for Stel Mac VCB | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Vaccum Intrupter 1250A Suitable for BECCO Mac VCB | Vaccum Intrupter 1250A Suitable for BECCO Mac VCB | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Vaccum Intrupter 1250A Suitable for ALSTOM Mac VCB | Vaccum Intrupter 1250A Suitable for ALOSTUN Mac VCB | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Vaccum Intrupter 1250A Suitable for PASCAL Mac VCB | Vaccum Intrupter 1250A Suitable for PASCAL Mac VCB | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Ashida Relay 30 C+1E/F,5A/1A Selected | Ashida Relay 30 C+1E/F,5A/1A Selected | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | C & S Relay 30 C+1E/F,5A/1A Selected | C & S Relay 30 C+1E/F,5A/1A Selected | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Tripping Coil for 11 KV VCB 24 V DC | Tripping Coil for 11 KV VCB 24 V DC | 49 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Closing Coil for 11 KV VCB 24 V DC | Closing Coil for 11 KV VCB 24 V DC | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Tripping Coil for 33 KV VCB 24 V DC | Tripping Coil for 33 KV VCB 24 V DC | 19 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Closing Coil for 33 KV VCB 24 V DC | Closing Coil for 33 KV VCB 24 V DC | 19 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | 11 KV VCB Spout for Stel Mac VCB | 11 KV VCB Spout for Stel Mac VCB | 16 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | 11 KV VCB Spout for PASCAL Mac VCB | 11 KV VCB Spout for PASCAL Mac VCB | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | 11 KV VCB Housing for VI PASCAL Mac VCB | 11 KV VCB Housing for VI PASCAL Mac VCB | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | 11 KV VCB Housing for Yumna Mac VCB | 11 KV VCB Housing for Yumna Mac VCB | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | LT Bushing Rod Made of Brass for 100 KVA Transformer | LT Bushing Rod Made of Brass for 100 KVA Transformer | 180 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | LT Bushing Rod Made of Brass for 250 KVA Transformer | LT Bushing Rod Made of Brass for 250 KVA Transformer | 80 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | LT Bushing Rod Made of Brass for 400 KVA Transformer | LT Bushing Rod Made of Brass for 400 KVA Transformer | 48 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | LT Bushing Rod Made of Brass for 630 KVA Transformer | LT Bushing Rod Made of Brass for 630 KVA Transformer | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Charging Gear make steel and pascal | Charging Gear make steel and pascal | 13 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information