## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M udqM ds dk;Z{ks= es 33@11 ds0oh0 fo¦qr midsUnz [ksMk vQxku ls iksf”kr xzke fiy[kuh es d’;Ik cLrh es ttZj rkj cnyus] xzke dq.Mkdyka es xsV ds ikl j[ks 100 ds0oh0,0 ifjorZd ds vfrHkkfjr gksus ds dkj.k vyx ls 63 ds0oh0,0 dk VªkLQkeZj yxkuk] xzke ePNjgsMh es 63 ds0oh0,0 ifjorZd ds vfrHkkfjr gksus ds dkj.k vyx ls 25 ds0oh0,0 dk VªkLQkeZj yxkuk] ,oa fo¦qr forj.k [k.M f}rh; ds dk;Z{ks= es 33@11 ds0oh0 fo0mi0 vkbZ0Vh0vkbZ0 ls iksf”kr xzke u;kxako es jfonkl efUnj ds ikl j[ks 100 ds0oh0,0 ifjorZd ds vfrHkkfjr gksus ds dkj.k vyx ls 63 ds0oh0,0 dk VªkLQkeZj yxkuk],oa xzke ‘ks[kiqjk dnhe HkVVk dkyksuh Msjk cUnk uokt ds ihNs 63 ds0oh0,0 ifjorZd ds vfrHkkfjr gksus ds dkj.k vyx ls 63 ds0oh0,0 dk VªkLQkeZj yxkus dk dk;ZA
Contract No: 15/W/EDC-II/SRE/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely carriage of PCC poles (up to 09 Mtr. Long) from ESC, SRE to site of work including loading & unloading at both ends. |  | 35 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriage of other complete line material with 11 KV XLPE cable/ABC cable/Weasel Conductor (Except PCC Poles) from ESC, SRE/ JE store to site of work including loading, unloading at both ends. |  | 2 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safely carriage of 25/63 KVA T/F from ESC, SRE, to the site of work including loading & unloading at both ends. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Erection of single support on PCC poles (up to 09 Mtr. Long) with complete fitting of all accessories of 11 KV/LT line as per RESPO Specification. |  | 27 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | Erection of Double Pole on PCC poles (up to 09 Mtr. Long) with complete fitting of all accessories complete. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Grouting of PCC Pole after digging of pits in block 16x1800mm in ratio 1:4:8 with Ist class brick cement & ballast with good quality dry river sand . |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Grouting of stay rods by digging of pits in block of 600X600X300 mm. in ratio 1:4:8 with Ist class brick cement & ballast with good quality dry river sand with nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Earthing of poles by earthing rod as per RESPO Specification. |  | 28 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing & fixing of LT clamp with nuts bolts made of new MS flat iron 50x6 mm on PCC poles |  | 27 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.1 | Providing & fixing of X-arm holding clamps on PCC poles with nuts bolts made of new MS flat iron 50x6 mm |  | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing & fixing of F-brackets on PCC poles with nuts bolts made of new MS flat iron 50x6 mm |  | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing & fixing of J-Hook Clamp for PCC poles with nuts bolts made of new MS flat iron 50x6 mm |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Providing & fixing of double Pole clamp on PCC poles with nuts bolts made of new MS flat iron 50x6 mm |  | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Laying, lifting, Stringing, sagging & jumpring with binding of ACSR Weasel Conductor for 11KV/LT Line . |  | 3382 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Safely installation of 25/63 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Laying, lifting, Stringing, proper sagging ABC cable of size 3x120+1x95+1x16 sq.mm. including fixing of all accessories. |  | 60 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Fixing of Distribution Box of Single Phase on PCC Pole with providing suitable clamp and making connection of above Distribution Box with ABC cable including connecting jumpering with service connection. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Laying and making connections of LT PVC/XLPE cable 4x16/4x25/4x35/3.5x50/ 3.5x70/ 3.5x150/ sq.mm. from T/F to double pole (approx to 10 Mtr). |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Removal of Old & used ACSR Weasel conductor from the existing 11KV/ LT lines with making roll and carrige from site to J.E store/ESC, SRE including loading and unloading at both ends. |  | 630 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information