|  |
| --- |
| Electricity Distribution Circle-II Clock Tower, Saharanpur  Logo  Very Short Term E-Tender No. 126/W/EDC-II/SRE/2021-22  fo|qr forj.k [k.M&jkeiqj efugkju ds vUrxZr fo|qr forj.k mi[k.M ukukSrk ds dk;Z{ks= es futh uydwi ,y0,e0oh0&5 ds 4202 miHkksDrkvks ds la;kstuks ij foHkkxh; 3 Qst 04 ok;j ¼10&60½ ,Eih0 ehVj ¼Hk.Mkj dsUnz ls izkIr dj½ LFkkfir dj ehVMZ djus gsrq vuehVMZ miHkksDrkvks ij ehVj LFkkiuk djkus dk dk;Z Lkeikfnr djk;s tkus dk dk;ZA  ***Office of the***  ***Superintending Engineer***  ***Electricity Distribution Circle-II***  ***Clock Tower, Saharanpur-247001 (U.P)***  ***Phone No. 9193330320***  Email ID:- seedc2sre@gmail.com  **Date of Opening : 04-05-2022 Tender Cost Rs:-3540/-**  **Including GST** |

**OFFICE OF THE SUPERINTENDING ENGINEER**

**ELECTRICITY. DISTRIBUTION CIRCLE – II**

**Clock Tower, Saharanpur-247001 (U.P)**

# E-TENDER SPECIFICATION NO. : 126/ W/ EDC -II/ SRE / 2021-22

WORK DESCRIPTION  fo|qr forj.k [k.M&jkeiqj efugkju ds vUrxZr fo|qr forj.k mi[k.M ukukSrk ds dk;Z{ks= es futh uydwi ,y0,e0oh0&5 ds 4202 miHkksDrkvks ds la;kstuks ij foHkkxh; 3 Qst 04 ok;j ¼10&60½ ,Eih0 ehVj ¼Hk.Mkj dsUnz ls izkIr dj½ LFkkfir dj ehVMZ djus gsrq vuehVMZ miHkksDrkvks ij ehVj LFkkiuk djkus dk dk;Z Lkeikfnr djk;s tkus dk dk;ZA

Bid Submission End Date : 04-05-2022 13:00 AM

Bid Opening Date : 04-05-2022 13:30 PM

COST OF TENDER : Rs. 3540.00 (Including GST) ( Non-

Refundable)

EARNEST MONEY : Rs. 14000/-

v/kh{k.k vfHk;Urk fo|qr forj.k e.My&f}rh;] lgkjuiqj dk;kZy; ds cSad lSUVªy cSad vkWQ bf.M;k] dksVZ jksM] lgkjuiqj ds [kkrk la0 **3668938333** vkbZ0,Q0,l0lh0 dksM **CBIN0281443** es vkj0Vh0th0,l0@,u0bZ0,Q0Vh0 ds ek/;e ls tek djkuh gksxhA

**A/C NO. : 3668938333 (CBI, Court Area, Saharanpur in the favour of SE EDC II SRE)**

IFSC COAD:- : **CBIN0281443**

**TENDER ISSUED BY THE:**

SUPERINTENDING ENGINEER, ELECTRICITY. DISTRIBUTION CIRCLE-II

Clock Tower Saharanpur**-247001 (U.P)**

**fufonk dk izFke Hkkx**

**vgZrk,W ¼izh DokyhQkbaZx 'krsZ½**

QeZ@Bsdsnkj dks fufonk ds Hkkx&izFke esa fuEufyf[kr izi= miyC/k djkus vko';d gksxs vU;Fkk mldk Hkkx&f}rh; ugh [kksyk tk;sxkA

¼i½ fo|qr lqj{kk funs’kky; ¼m0iz0½ }kjk tkjh d&Js.kh dkUVªsDVj dk izek.k i= dh Nk;kizfrA

¼ii½ QeZ dk oS/k th0,l0Vh0 iathdj.k dk izek.k&i= dh Nk;kizfrA

¼iii½ QeZ ds Lokeh dk iSudkMZ dh Nk;kizfrA

¼iv½ QeZ ds Lokeh dk vk/kkjdkMZ dh Nk;kizfrA

¼v½ ftykf/kdkjh egksn; }kjk tkjh QeZ Lokeh dk uohure ,ao oS/k pfj= izek.k i= dh Nk;kizfrA

(vi) lh0,0 }kjk lR;kfir QeZ dh xr nks o’kksZ dh cSysal’khV dh Nk;kizfrA

(vii) Je foHkkx }kjk tkjh QeZ ds iathdj.k dk uohure ,ao oS/k izek.k i= dh Nk;kizfrA

(viii) fufonkdrkZ ds ikl ykbZu fuekZ.k@ehVj LFkkiuk dk xr 05 o”kksZ es de ls de 02 o”kksZ dk vuqHko gksuk pkfg;sA ehVj LFkkiuk gsrq vuqHko dks ofj;rk nh tk;sxhA

(ix) fufonkdrkZ dk VuZvksoj dqy vuqekfur ykxr dk 1-5 xquk gksuk pkfg;sA

(x) fufonkdrkZ ls vuqcU/k ds le; dk;kZns’k /kujkf’k dk 03 izfr’kr ijQksjesUl cSad xkajVh yh tk;sxh ftldh oS/krk vuqcU/k es ‘kr&izfr’kr dk;Z iw.kZ vof/k vFkok 02 o”kZ ¼tks Hkh vf/kd gks½ rFkk Dyse fijh;M 03 ekg dk gksxkA

1. dk;Znk;h laLFkk dks vuehVMZ ls ehVMZ fd;s tkus gsrq futh uydwi miHkksDrkvksa dh lwfp lEcfU/kr forj.k [k.M ls izkIr dj ijh{k.k [k.M }kjk izkIr djkbZ tk;sxh rFkk lEcfU/kr JE/TG-2/JMT dks Vhe ds vquJo.k gsrq ukfer fd;k tk;sxkA
2. dk;Znk;h laLFkk dks izfr Vhe izfrfnu ,d ckj es vf/kdre 5 u;s ehVj rFkk vko’;d ehVj lhfyax cqd fyf[kr es izkIr djkbZ tk;sxh rFkk bldk jftLVj cukdj ehVj ds esd ,o dze la[;kokj fjdkMZ ijh{k.k’kkyk es vo’; ladfyr fd;k tk;sxkA
3. dk;Znk;h laLFkk dh izR;sd Vhe dks izfrfnu dk miHkksx fooj.k lgk;d vfHk;Urk ¼ehVj½ dks nsuk gksxkA lgk;d vfHk;Urk ¼ehVj½ QeZ }kjk fn;s x;s ehVjks ds miHkksx ls lEcfU/kr vfHkys[k nsus ds i’pkr gh mijksDr fcUnq 02 ds vuqlkj vfxze ehVj fn;s tk;saA
4. dk;Znk;h laLFkk ds deZpkjh dks dsoy izkIr djkbZ xbZ lwph es vfdar miHkksDrkvks ds ifjlj ij gh dk;Zokgh dh tk;sxhA ifjlj ij igqpus ij leLr dk;Zokgh lEcfU/kr miHkksDrk vFkok mlds izfrfuf/k ds le{k dh tk;s rkfd fdlh fookn dh fLFkfr mRiUu u gksaA
5. dk;Znk;h laLFkk dks izR;sd n’kk esa u;k ehVj miHkksDrk ds futh uydwi dh dksBjh ds ckgj vFkok fudVre iksy ij **mfpr lkbZt ds 02 ux MS strip of minimum 2 mm thickness with nut bolt ds Clamp dk izkfo/kku djkrs gq, tehu ls 5 QqV dh mpkbZ ij LFkkfir djuk gksxkA** LFkkfir fd;s tkus ds I’pkr~ ehVj ckWDl ij ijekusUV ekdZj ls miHkksDrk dk uke ,ao dusD’ku la[;k@,dkmUV vkbZ0Mh0 fy[kuh gksxhA lkFk gh mldk QksVks bl rjg ls ysuk gksxk fd mlesa u;s ehVj dk ehVj ua0 ySc ua0 rFkk miHkksDrk dk dusD’ku la[;k bR;kfn iznf’kZr gksA
6. QksVks fy;s tkus ds i’pkr cnyus okys O;fDr dks lhfyax fjiksVZ es u;s ehVj ds leLr fooj.k ;Fkk ehVj u0] ySc u0] ehVj es vfdar jhfMax ,oa fMEkk.M] LFkyh; fLFkfr] ubZ lhyks dk fooj.k vFkok vU; dks miHkksDrk@miHkksDrk izfrfuf/k dh mifLFkfr es Hkjk tk;sxkA ,oa ySc dks miyC/k djk;k tk;skxkA
7. Uk;s ehVj yxkus ls iw.kZ ;g Hkh lqfuf’pr djuk gksxk fd iksy ls ehVj ds buiqV rd dsfcy esa dksbZ Hkh dV u gks ;fn budfeax dsfcy ij dV bR;kfn gS rks lEcfU/kr voj vfHk;Urk@Vh0th0&2 dks voxr djkrs gq, ubZ dsfcy vFkok voj vfHk;Urk ds funZs’k ds vuqlkj vfxze dk;Zokgh dh tk;sxhA
8. u;s ehVj dks iksy vFkok dksBjh ij LFkkfir djus ds Ik’pkr~ budfeax dsfcy ,ao vkmVxksbZax dsfcy dks Aluminum/MS dh ¶yslscy LVªhi@fDyi yxkdj dluk gksxk rkfd budfex@vkmVxksbZax dsfcy ds Hkkj ds dkj.k VZfeuy IysV ij vuko’;d Hkkj u vk;sA
9. u;s ehVj dks iksy vFkok dksBjh ij LFkkfir djus ds I’pkr~ ehVj ij yxkbZ xbZ lhyksa jhfMax midsUnz@QhMj@forj.k ifjorZd dk uke@LFkku bR;kfn dk fooj.k ehVj lhfyax ij u;s ehVj ds dkWye esa Hkjrs gq, iw.kZ djsaxs rFkk miHkksDrk@miHkksDrk izfrfuf/k ds gLrk{kj ysdj lhfyax izek.k i= dh miHkksDrk izfr dsk ogh ij izkIr djk;saxsaA
10. dk;Znk;h laLFkk }kjk aehVj yxkus ds Ik’pkr lEcfU/kr lhfyax cqd dks izR;sd n’kk esa 23 rkjh[k rd vFkok igys lEcfU/kr ijh{k.k’kkyk esa lgk;d vfHk;Urk ¼ehVj½ dks tek djkus gksxsaA
11. lgk;d vfHk;Urk ¼ehVj½@voj vfHk;Urk ¼ehVj½ dk ;g nkf;Ro gksxk fd u;s ehVj dh lhfyax dks lEcfU/kr miHkskDrk ds [kkrk la[;k ij 03 fnol esa ,MokbZt dj fcfyax lIykbZ VkbZi dks vuehVMZ Js.kh ls ehVMZ Js.kh esa djrs gq, ,MokbZt djuk gksxk RkFkk ,MokbZt djus ds Ik’pkr~ lhfyax izek.k i=ksa dk ckbUMj vf/k’kklh vfHk;Urk ¼forj.k½ dks O;fDrxr :Ik ls gLrxr djkuk gksxkA
12. dk;Znk;h laLFkk dh Vhe dks fn;s x;s leLr ehVjks ds miHkksx ls lecfU/kr leLr vfHkys[k lgk;d vfHk;Urk ¼ehVj½ }kjk ijh{k.k’kkyk es iw.kZ fooj.k ;Fkk ehVj lhfyax] ehVj yxkus dh frFkh rFkk fcfyax flLVe ij ,MokbZt djus dh frfFk ,ao ,MokbZt gksus ds Ik’pkr~ izFke ,e0;w0 fcy tkjh gksus bR;kfn ls lEcfU/kr leLr fooj.k Register esa ladfyr fd;s tk;sA
13. lgk;d vfHk;Urk] ehVj ,oa m[k.M vf/kdkjh }kjk vxys ekg es izFke lIrkg es xr ekg es ,MokbZt fd; x;s ehVjks dh lwph fcfyax ,tsUlh dks i= ds ek/;e ls gLrxr dh tk;sxh rkfd vxys gh ekg izFke ,e0;w0 csLM fcy tkjh gks ldsA izFke ,e0;w0 fcy dk mRrjnkf;Ro lgk;d vfHk;Urk] ehVj dk gksxkA
14. dk;Znk;h laLFkk }kjk vkoafVr dk;Z dks iw.kZ djus ds i’pkr lgk;d vfHk;Urk] ehVj dk;Znk;h laLFkk dks fn;s x;s leLr u;s ehVjks ,oa mlds lkis{k lhfyax izek.k i=ksa ds ys[ks tks[ks dk feyku djsaxs rFkk lqLi”V fjiksVZ vf/k’kklh vfHk;Urk ¼ijh{k.k½ dks izsf”kr djsxsaA
15. vxj fufonk ls lEcfU/kr dksbZ okn fookn gksrk gS rks og lgkjuiqj U;k;y; es gksxsA
16. fufonkdkj dks LVksj ls fuxZr lkexzh dh iw.kZ ftEesnkjh fufonkdkj dh gksxhA fdlh Hkh lkexzh ds {kfr gksus ds dkj.k lkexzh dh {kfriwfrZ fufonkdkj }kjk ns; gksxhA
17. fufonkdkj dh cSad ,dkmUV fMVsy dh Nk;kizfrA
18. fufonkdkj }kjk bl vk'k; dk 'kiFk&i= fd iwoZ esa ns'k ds fdlh Hkh fMLdke ds vUrxZr fdlh Hkh forj.k bdkbZ }kjk QeZ dks dkyh lwph es ugha Mkyk x;k gSA
19. QeZ@Bsdsnkj ds }kjk i=kpkj gsrq viuk bZ&esy vkbZ0Mh0 ,ao Qksu ua0 miyC?k djk;k tkuk vfuok;Z gksxkA
20. mijksDr okafNr izi= dzekuqlkj viyksM djuk lqfuf’pr djsa ,ao fufonk QkeZ esa vfdar izR;sd dkWye Hkjuk vko’;d gSA

**fufonknkrk ds eksgj lfgr gLrk{kj**

**vgZrk,W ¼lsd.Mjh DokyhQkbZax 'krsZ½**

1. dsoy mUgha QeZ@Bsdnkjks dh fufonk;as [kksyh tk;sxh ftlds }kjk mijksDr leLr izek.k i= Hkkx&izFke esa layXu fd;s tk;sxs] vU;Fkk mudk Hkkx f}rh; ugh [kksyk tk;sxkA
2. Hkkx f}rh; esa nj dk vkadyu fuEukuqlkj gS rFkk QeZ@Bsdsnkj }kjk U;wure njks ij dk;Z dh nj jkf'k vafdr djuh gSA

**vU; “krZA**

1. mijksDr bZ&fufonk esa vuqcU/kdrkZ ds iwoZ vkpj.k] dk;Z iz.kkyh dks laKku esa j[krs gq, gh fuxe fgr esa laKku fy;k tk;sxkA

**fufonknkrk ds eksgj lfgr gLrk{kj**

**PROFORMA FOR SUBMITTING EARNEST MONEY**

E-Tender for ------------------------------------------------------------------------------------------------------

Against E-Tender specification No.---------------------------------------------------------------

From :

……………………………..

……………………………..

……………………………..

To,

The Superintending Engineer,

Electricity Distribution Circle-II

Pashchimanchal Vidyut Vitran Nigam Ltd.

Saharanpur (U.P)

Dear Sir,

With reference to your invitation to tender for the above I/we hereby offer to the PVVNL the items in the schedule annexed of such portion thereof, as you may determine in strict accordance with the annexed conditions of contract form 'B' specification and schedule of rates to the satisfaction of the purchaser or in default thereof the forfeit to pay to PVVNL the sum of money mentioned in the said conditions.

The rates quoted are inclusive rates and in full satisfaction of all claims.

I/we hereby agree to abide by this tender for the period of four months from the date, fixed for opening of the same.

As sum of Rs. ..…………………..only as earnest money have been deposited with the Superintending Engineer, Electy. Distribution Circle-I Saharanpur, vide RTGS/NEFT (UTR/Chq No……………….…..………..………..dt. …………………………the full value of which shall be retained by the PVVNL against the security deposited in Clause (3) of the said conditions of contract.

I/we hereby undertake and agree to execute a contract in the form annexued herein accordance with the conditions of contract.

Yours faithfully,

Signature & seal of Tenderer

Date. ………................................

**(TO BE MADE ON NON-JUDICIAL STAMP PAPER OF RS. 10/- AFFIXED THEREON)**

**DECLARATION**

E-Tender invited by SUPERINTENDING ENGINEER**,**

ELECTRICITY. DISTRIBUTION CIRCLE – II

CLOCK TOWER, SAHARANPUR

E-Tender for \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

E-Tender Notice No. & Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name of E- Tenderer \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**IN CONSIDERATION OF THE PVVNL** having treated the tenderer to be an eligible person whose tender may be considered, the tenderer hereby agrees to the conditions that the proposal in response to the above invitation shall not be withdrawn within-------------- Days from the Dated of opening of the E-Tender and also to be condition that if their after does Withdraw his proposal within the said period, the earnest money deposited by him may be forfeited to the PVVNL In the of the Letter.

Signed this\_\_\_\_\_\_\_\_\_\_\_\_day of--------------------------------------

**SIGNATURE OF THE TENDERER**

**WITH SEAL**

Important Instructions to Tenderers

Your tender shall not be considered if you fail to submit the Performa duly filled up. Replies should be completed without almightily and covering letters etc. shall not be acceptable. You may however, attach extra sheets if the space provided is not sufficient.

**Sl. No. Particulars.**

1. Specification against which

You have tendered.

1. Receipt No. and date by which

cost of tender specification

was deposited by you.

1. Name and address of manufacturer /

Contractors.

4- E-Mail ID:-

1. Location of manufacturer’s

factory.

1. Year since which the manufacturer

has started production of item tendered.

1. Quantity offered (if there are two or

more items, state quantities separately with units.)

1. Amount of form in which earnest

money deposited with SUPERINTENDING

ENGINEER**,** ELECTRICITY. DISTRIBUTION

CIRCLE-II, SAHARANPUR . Please give reference

in this connection (cheque will not be Accepted).

1. Do you agree to all the conditions of the

Tender specification of the tender and

If not state the modifications clearly

Which you would desire in the General

Conditions of contract form’A’(itmay please

Be noted that it shall be entirely at the

descretion of the purchasor/Board to accept

or reject the modificationproposal).

1. Please state clearly (Answer Yes/No)if you would

Accept The order if modification in the form ‘A’

(Sl.No.9) are not acceptable to the Board without

imposing any further conditions.

1. Give two references who can certify

You financial status and capability to

Undertake such construction.

SIGNATURE OF THE E-TENDERERS

1. Statement of past/current construction work of similar nature carried

out(attach certificate for performance).

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name and Order Particulars Qty. Remarks

Address contract of work

of no. date

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. 2. 3. 4

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. What is the delivery period

under penalty?

1. What is the validity period

of your tender?

1. Quoted price per (State)

Separated for each item,

state For Meerut Store Clearly)

1. Is the quoted price for items

firms and firm in all respects?

1. Is the quoted price exclusive

of GST?

1. If the quoted price is inclusive

of GST included

at what rate?

19. If the quoted price exclusive of

GST on finished product

(where applicable)?

20. If the quoted price is inclusive of

GST on finished product

and what rate?

1. Have you read the instructions

and special instructions to

tenderors and agree to the same?

1. Name and details address of

authorized representative to

present you against this tender.

1. Name & details address of

Proprietor/Partner/Director.

1. If the tendering firm are not

Manufacturer themselves full

Name and address of

Manufacturer’s /Proprietor/

Partners/Directors to be given.

23. (a) GST registeration No.

1- Central.

1. State.

SIGNATURE OF THE TENDERERS