## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY DISTRIBUTION CIRCLE, A-BLOCK, HYDEL COLONY, KAVI NAGAR, GHAZIABAD.
Name of Work: fo¦qr forj.k [k.M] eksnhuxj ds {ks=kUrxZr dkaoM+ ;k=k ds nkSjku fo¦qr vkiwfrZ lqpk: j[kus gsrq ykbZuksa dh ejEer djuk] xkfMZax djuk] fjlSfxax djuk ,oa lqj{kk ds n`f’Vxr iksyksa ij 5 QhV dh ÅWpkbZ rd IykfLVd dh iryh “khV@bUlqysfVM lkexzh yxkuk ,oa ifjorZdksa ds pkjksa vkSj csjkhdsfVax djus bR;kfn dk dk;ZA
Tender No. 04/2021-22/E.D.C/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 8 | 8
1 | Safe Cartage of PCC/ST Pole 8.5/11/13 Mtr long from any store center under jurisdiction area of PVVNL discom or from any other place to the respective site of work through the Kuchha/ Pucca Road including the work of its loading & unloading at both the respective ends with cost of labour,T&P etc required for carriage. | BI01010001010000000000000515BI0100001113 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Cartage of line material Stay Rod ACSR weasel/dog/LTABC conductor earthing rod, stay set, Cross arm, MS Channel MS angle clamps and other associated accessories etc from any store center under jurisdiction area of PVVNL discom or from any other place to the respective site of work through the Kuchha/ Pucca Road including the work of its loading & unloading at both the respective ends with cost of labor, T&P etc required for carriage. | BI01010001010000000000000515BI0100001114 | 20 | Qtl |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Erection of single/ ST/PCC poles including complete HT fittings as per RESPO manual and as per direction of engineer incharge with cost of labour,T&P etc required as well as concreting of poles required for proper completion of work including fabrication and fixing of all fitting of S.T pole. | BI01010001010000000000000515BI0100001120 | [6 empty] | 1 | Full Conversion
3.1 | PCC Pole 8.5 mtr | BI01010001010000000000000515BI0100001121 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.2 | Single ST pole 11 meter long | BI01010001010000000000000515BI0100001122 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.3 | Grouting of support. | BI01010001010000000000000515BI0100001123 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Laying, sagging stringing and binding and jumpering etc of ACSR weasel/dog/LT ABC conductor on the erected pole as per RESPO manual and as per direction of supervising engineer. This work includes providing of clamps & other accessories required for stringing alongwith the cost of labor T&P carrier etc required for proper completion work. | BI01010001010000000000000515BI0100001124 | 800 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Providing, Fixing & Filling of 11 KV XLPE Cable Termination kit O/D and I/D and making connection of 11 KV XLPE Cable | BI01010001010000000000000515BI0100001125 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Providing, Fixing & Filling of 33 KV XLPE Cable Termination kit O/D and I/D and making connection of 33 KV XLPE Cable. | BI01010001010000000000000515BI0100001126 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Providing, Fixing & Filling of 11 KV XLPE straight thru jointing kit suitable for 11 KV XLPE Cable 3x185 sqmm | BI01010001010000000000000515BI0100001127 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Earthing of each support with MS earth rod of 2.5 mtr long including excavation of pit and driving of MS rod up to proper depth and connection the earth electrode with the help of G.I wire and SWG. MS earth rod will be provided by the contractor | BI01010001010000000000000515BI0100001128 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Making of Guarding of 11 KV line various location with fabrication and fixing of fittings etc required for electrical safety as per direction of supervising engineer It also includes the cost of labor, T&P carrier etc required for proper completion work. | BI01010001010000000000000515BI0100001129 | 6 | Span. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Providing & Fixing of chemical type earthing with GI 80 mm 03 mtr long Pipe filled with carbon crystal conductive mixture compound along with 50x6 MS strip 03 mtr long & back fill compound earthing of various 250 KVA, 400 KVA & above T/F installed as per RESPO manual and as per direction of supervising engineer. It includes the cost of labor, T&P carrier etc required for proper completion work. | BI01010001010000000000000515BI0100001131 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Resaging of Loose 11 KV/LT line | BI01010001010000000000000515BI0100001132 | 10 | Span. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Ressagging/strengthening of loose 33 KV line | BI01010001010000000000000515BI0100001133 | 4 | Span. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Providing and fixing of Bamboo Seperator in LT line. | BI01010001010000000000000515BI0100001134 | 30 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Cutting & chopping of tree branches along 33/11 kv & LT line | BI01010001010000000000000515BI0100001135 | 50 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Providing & Fixing of Temporary Fencing of Wooden Bamboo Ropes (for barricating) for already installed 11/0.4 kv T/F near by kanwad yatra routes. | BI01010001010000000000000515BI0100001136 | 35 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Providing & fixing insulated Sheet on 6 ft binding for ST pole/RS joist pole for safety of kawad yatra. | BI01010001010000000000000515BI0100001137 | 350 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Repairing of Existing Fencing around the existing T/F. this This work includes providing of material its fabrication & other accessories required alongwith the cost of labor T&P carrier etc required for proper completion work. | BI01010001010000000000000515BI0100001138 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information