## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : fo¦qr uxjh; forj.k e.My & f}rh;] uks,Mk ds v/khuLFkksa [k.Mksa gsrq iz.kkyh lqn`<hdj.k ds dk;kZsa ds fy, ¶;wt lsV] Vhih,evks] Fkzh Qsl fMLVªhC;w’ku ckWDl] vkblksysVj ,oa Vsyysl ;wfuV dh vkiwfrZ ,oa LFkkiuk ls lEcfU/kr dk;ZA
Contract No: SHORT TERM E-TENDER NO. 97 /EUDC-II NOIDA/2023-24
G.S.T. AND ALL TAXES INCLUSIVE IN ALL QUOATED RATES.
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.) The rate quoted by the tenderer shall be inclusive of all duties, taxes (except GST), fees, octroi and other levies, materials, any type of NOC, labour to & FOR transportation of material and labour charges etc. GST AND ALL TAXES INCLUSIVE IN QUOTED RATES. 3. The entire work is to be done on 'Departmental' basis. 4. All the material and erection practices shall be as per tender specification. 5. Above Schedule Structure and quantities is provisional and may vary as per site requirement with due approval. 6. Indicative scope of works and quantity of Items/Materials required for above work shall be as per the Price Bid. Any other material if required to complete the job and not mentioned above, shall have to be provided by the bidder without additional cost. 7. Financial evaluation and selection of 'L1 Bidder' shall be done on the basis of total amount. The Rates received in the tender will be done final after the approval of competent authority/ committee and competent authority / committee will have the right to negotiate in tender rate. 8. Tenderer must be fill-up the enclosed terms & conditions sheet and attached with 1st Part of Tender as well as scanned copy of same will be uploaded on NIC Website alongwith other documents.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by the Bidder INCLUSIVE OF ALL TAXES AND GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT with All Taxes and GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Supply of 11KV Horizontal Isolator 400 Amp. as per specification. |  | 1 | Nos. | 100 |  |  | Excess(+) | 104 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Installation of 11 KV Isolators at Different Substations of EUDD - III, Noida and EUDD - VIII Jewar (100 Nos. in EUDD -III, Noida and 04 Nos. EUDD - Jewar) Assembling and installation of Isolator on the isolator structure. Adjusting of operating mechanism in proper alignment so as to ensure smooth operation of the same. In case of Line Isolator proper operation of earth links shall also be ensured. The work includes fabrication for proper fixing if required. |  | 1 | Nos. | 100 |  |  | Excess(+) | 104 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Fabrication of Isolator structure by using 4.0 m long 04 Nos. of G.I. channel of size (125x65x6)mm with bracing by G.I. Angle (40x40x5)mm/ (50x50x6)mm size and providing 02 Nos. top channel of G.I. Angle (75x75x6)mm and 2.6m long on both side of Isolator. The work also includes cutting, drilling, welding and proper alignment of the same for completion of work. |  | 1 | Job | 100 |  |  | Excess(+) | 104 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Isolator Structure : Erection of Isolator structure (Line and Bus) 04 Nos. size of plinth (0.9x0.30x1.0) m as per drawing of RESPO. Excavation of earth for making pits of size (0.9x0.30x1.0)m. |  | 1 | Job | 100 |  |  | Excess(+) | 104 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | C.C. work in ratio of 1:4:8 (cement, fine sand and brick ballast) of size (0.90x0.30x0.15)m for pits for making bed. Work includes proper ramming etc.C.C. work of ratio 1:3:6 (cement, coarse sand and 25 mm stone grit) for pre-fabricated structure of Line and Bus isolator size of plinth (0.90x0.3x1.5)m. 12mm thick plaster with cement mortar ratio 1:4 (cement & fine sand) of plinth of 0.4m upper side. |  | 1 | Job | 100 |  |  | Excess(+) | 104 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Dismentaling of Old and Used Isolator from the Site and Safe carriage of its from work site to any store of PVVNL Discom including loading and unloading both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 104 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supply and Installation of 11 KV Fuse Set at different Substations. (160 Nos. EUDD-II, Noida and 08 Nos. in EUDD - VIII, Jewar) with proper connections and complete work in all respect. |  | 1 | Nos. |  |  |  |  | 168 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supply of Three Phase Distribution Box with suitable clamps and NUT, Bolt and Washers as per approved GTP of PVVNL. |  | 1 | Nos. |  |  |  |  | 140 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Installation of above Three Phase Distribution Box with fixing of clamps and Nut Bolts and Washers mounted on Pole at different locations under EUDD - II, Noida with proper connections of LT/HT conusmers and complete work in all respect. |  | 1 | Job |  |  |  |  | 140 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supply of 11 KV 200 Amp. TPMO (Air Break Heavy Duty Switches) with 02 Nos. 75mm X 40mm X 2800mm galvanised mounting channels as per attached specifications. |  | 1 | Nos. | 100 |  |  | Excess(+) | 54 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Mounting and installation of above 11 KV 200 Amp. TPMO (Air Break Heavy Duty Switches) with 02 Nos. 75mm X 40mm X 2800mm galvanised mounting channels complete with providing and fixing of required galvanised holding clamps, heavy duty GI pipe 25mm dia with operating handle mechanism, nuts & bolts with supporting channel etc. by the contractor complete in all respect. |  | 1 | Job |  |  |  |  | 54 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Providing of Fuse stud type tri-pole fuse unit (Tailless unit suitable for 200-500 amp. 300-650 Volt for housing 400/630 sq. mm 3 core LT PVC cable complete fitted with 3 Nos. L.T Incoming and 3 Nos. L.T Outgoing studs .made of brass. The studs are to be fitted on stud type based channel made of M.S sheet of 16 SWG in size of 5” in length and 6” in width duly painted with gray enamel paint (having 7 no. holes of 60 mm dia) with the support of white glazed praline based insulator of superior quality duly fitted with galvanized iron clip, bolts, nuts, washers, screws etc. One hole for neutral points as the bottom for earthing arrangement as per sample |  | 1 | Nos. |  |  |  |  | 159 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Fixing and Commissioning of Tail-less Distribution Fuse units of 500 Ams. 650 volts stud type with the help of nuts, bolts & clamps including fixing of Bus bar, Aluminum crimping lugs etc. and connecting the same complete in all respect. (29 Nos. for EUDD-VIII, Jewar and 130 Nos. in EDD- Gr. Noida) |  | 1 | Job |  |  |  |  | 159 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information