## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : fo¦qr forj.k [k.M & xzsVj uks,Mk ds vUrxZr 11 dsoh iks”kd gScriqj dh vfrHkkfjrk lekIr djus gsrq u;s 11 dsoh iks”kd dk fuekZ.k djus ls lEcfU/kr dk;ZA
Contract No: SHORT TERM E-TENDER NO 81/EUDC-II NOIDA/2023-24
G.S.T. AND ALL TAXES INCLUSIVE IN ALL QUOATED RATES.
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.) The rate quoted by the tenderer shall be inclusive of all duties, taxes (except GST), fees, octroi and other levies, materials, any type of NOC, labour to & FOR transportation of material and labour charges etc. GST AND ALL TAXES INCLUSIVE IN QUOTED RATES. 3. The entire work is to be done on 'Departmental' basis. 4. All the material and erection practices shall be as per tender specification. 5. Above Schedule Structure and quantities is provisional and may vary as per site requirement with due approval. 6. Indicative scope of works and quantity of Items/Materials required for above work shall be as per the Price Bid. Any other material if required to complete the job and not mentioned above, shall have to be provided by the bidder without additional cost. 7. Financial evaluation and selection of 'L1 Bidder' shall be done on the basis of total amount. The Rates received in the tender will be done final after the approval of competent authority/ committee and competent authority / committee will have the right to negotiate in tender rate. 8. Tenderer must be fill-up the enclosed terms & conditions sheet and attached with 1st Part of Tender as well as scanned copy of same will be uploaded on NIC Website alongwith other documents.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by the Bidder INCLUSIVE OF ALL TAXES AND GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT with All Taxes and GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Construction of New 11KV feeder Haivatpur-02 from 33/11 kv S/s Sudhamapuri for Spliting the Load of Extremely over loaded 11 kv feeder Haivatpur Eminating from 33/11 KV S/S Sudhamapuri. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Safe carriage of following stock material, from any of the Store Center of PVVNL to work site including Loading from Store and safe unloading at site for Item No. 3 to 8 | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | 11 kv XLPE cable 3x120 sq mm |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1110 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | 11 KV Disc Insulator with fitting |  | 1 | Nos. | 100 |  |  | Excess(+) | 42 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | 11kv Pin Insulatar With Pin |  | 1 | Nos. | 100 |  |  | Excess(+) | 350 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | ACSR Rabbit |  | 1 | Mtr. | 100 |  |  | Excess(+) | 6800 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | ST POLE 11 M LONG |  | 1 | Nos. | 100 |  |  | Excess(+) | 18 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | 11 KV VCB FOR O/G CTR 400/200/5A, 350 MVA |  | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | SUPPLY OF FOLLOWING MATERIAL BY THE CONTRACTOR FROM THE PVVNL APPROVED VENDORS AS PER GTP APPROVED. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Heat Shrinkable outdoor type end termination cable jointing kit suitable for 11KV XLPE 3x120 Sq.mm. cable (Make - Raychem/3M/Denson) |  | 1 | No | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Cross Arm 100x50x6 mm G.I channel for 11KV line |  | 1 | No. | 100 |  |  | Excess(+) | 120 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | G.I.Channel 100x50x6x2240mm (9.56kg/mt) with 2 Nos. G.I.Clamp of 65x8mm for Dropper for fuse set & double pole for 11KV line |  | 1 | No. | 100 |  |  | Excess(+) | 35 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Supply and Errection of the Following material for completing the work as per RESPO. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | The excavation of foundation pit in mix soil/normal soil/soft soil & hard rock as per site condition and its back filling and leveling etc. The size of the pit will be (750x450)mm and having depth of 1/6th of the full length of the support. Erection of support, complete with providing & fixing of all G.I.Clamps size of 75x10mm, 65x8mm, G.I.Nut bolt & washer, P.G.Clamp, Stone Pad, Al. Binding wire, 'E' bracket 75x10mm, and other accessories as per drawing. The work includes carriage and handling of supports from sectional store to pit site as well as any fabrication work if required & fixing of cross bracing sets 4.3mtr long, from G.I.Angle 65x65x6mm. The work includes cutting holes and providing G.I.Bolt of 16x40mm size, in the middle of the cross bracing with 01No. spring washer of proper size as per drawing/ as per schedule. Double Pole Structures (a) ST - 11 Mtr. Long Pole |  | 1 | Nos | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | The excavation of foundation pit in mix soil/normal soil/soft soil & hard rock as per site condition and its back filling and leveling etc. The size of the pit will be (750x450)mm and having depth of 1/6th of the full length of the support. Erection of support, complete with providing & fixing of all G.I.Clamps size of 75x10mm, 'F' bracket 75x10mm, G.I.Nut bolt & washer, Stone Pad Al. Binding wire and other accessories as per drawing. The work includes carriage and handling of supports from sectional store to pit site as well as an fabrication work if required. Single Pole (a) 11M Long STP, SP-55 Round Pole |  | 1 | Nos. | 100 |  |  | Excess(+) | 14 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Grouting of supports in CC 1:3:6 (Cement, sand & 20mm stone grift). Grouting will be done in the block of size (450x450)mm x1/6th of full length of the support, upto ground level, 300mm plinth above the ground level with C.C. 1:3:6 (Cement, Course sand and Stone grift) with muffing as per RESPO. Work includes back filling and proper ramming. Single Pole and Double Pole (a) 11M Long STP, SP-55 Round Pole |  | 1 | Nos. | 100 |  |  | Excess(+) | 18 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Laying, spreading, lifting and final sagging of 3 phases ACSR Rabbit conductor in accordance with Line chart includidng binding and fixing of all accessories in 03Nos. Conductor in parallel as per site requirement. |  | 1 | Mtr | 100 |  |  | Excess(+) | 6800 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Drilling of dia 220 mm in two parallel bores for Double Curcuit by trenchless method by horizontal boring machine at a depth of 1.50 mtrs to 2.50 mtrs. (as requirement at site) below the ground level with complete work in all respect as per RESPO. |  | 1 | Mtr | 100 |  |  | Excess(+) | 500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Supply & Laying of HDPE Pipe PE-80, PN-6, DN-110mm dia by HDD trenchless method for 11KV, 3x120sq.mm XLPE cable as per site requirement. (PVVNL GTP APPROVED HDPE PIPE SHALL BE SUPPLIED WITH INSPECTION.) |  | 1 | Mtr | 100 |  |  | Excess(+) | 500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Laying and commissiong of 11KV 3x120sqmm XLPE Cable Double Ckt. in HDPE Pipe PE-80, PN-6, DN-160mm dia after digging HDD trenchless method boring including complete connections at both ends after providing and crimping of lugs of proper size for completion of work. as per site requirement. |  | 1 | Mtr | 100 |  |  | Excess(+) | 500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Laying and commissiong of 11KV 3x120sqmm XLPE Cable overhead on ST Pole with complete connections at both ends after providing and crimping of lugs of proper size for completion of work. as per site requirement. |  | 1 | Mtr | 100 |  |  | Excess(+) | 610 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Digging of pits of size 4 mtr x 4 mtr x 1.5 mtr for cable loop and making risers at double pole and re-filling of pits in proper manner with required material at kacha/pakka and hot mix road. (All Work and material in the scope of contractor) |  | 1 | Job | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | FIXING OF PIN INSULATOR WITH PIN, COMPLETE WORK IN ALL RESPECT. |  | 1 | Nos. | 100 |  |  | Excess(+) | 350 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | FIXING OF Disc. INSULATOR WITH Fitting, COMPLETE WORK IN ALL RESPECT. |  | 1 | Nos. | 100 |  |  | Excess(+) | 42 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | FIXING OF DROPPER CHANNEL AS PER SITE REQUIREMENT. |  | 1 | Nos. | 100 |  |  | Excess(+) | 35 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Preparation of 11 KV Power Cable ends: Making of 11 KV XLPE Heat shrinkable outdoor jointing kits suitable for 3x185sqmm XLPE Cable after duly plumbing and taping of cable, providing, fixing and crimping of proper size good quality lugs with complete connention in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Installation and commissioning of 11KV VCB for O/G CTR 400/200/5a,350 MVA with complete connections in all respect. |  | 1 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | PROVIDING AND Laying of 3x50mm2 11KV cable from 11KV outgoing VCB in control room to PCC Double Pole after digging trench for laying cable and refilling of trench including connections at both ends after providing and crimping of lugs of proper size for completion of work and laying brick over & both sides of 11KV cable after digging trench of 0.3 m wide & 0.5 m depth and providing and wearing 75 mm dia G.I. pipe of 2.5 M length over 11KV Cable complete in all respect. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Plinth for 11 KV V.C.B. Construction of plinth for the structure of 11 KV VCB & C.T.’s as per details (All required materials provided / Supply by the contractor own his cost) :- Excavation of earth of size (2.4x1.5x1.0)m pits for construction of plinth. Brick Ballast ratio (1:4:8) (cement, sand & brick ballast) for foundation work (2.4x1.5x0.15)m plinth. R.C.C. work in ratio 1:2:4 (cement, coarse sand & stone grit) of 20m size for making plinth of size (2.4x1.5x1.0)m and grouting of foundation bolts 03 Nos. for 11 KV VCB.12mm thick plaster with cement mortar in ratio 1:4 (cement & fine sand) of plinth of 0.4m upper side size (2.4x1.5x0.4)m. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information