# PVVNL-MT/COM/32(s)/21-22

SCHEDULE OF GUARANTEED TECHNICAL PARTICULARS FOR 33 KV PT

| 1. | Name of Manufacturer. | : |  |
| --- | --- | --- | --- |
| 2. | Manufacturer Type & Designation. | : |  |
| 3. | Name of resin employed in manufacturer of P.T. | : |  |
| 4. | Rated Primary voltage. | : |  |
| 5. | Rated Secondary voltage. | : |  |
| 6. | Rated burden of Secondary. | : |  |
| 7. | Accuracy Class. | : |  |
| 8. | Temperature rise at 1.2 times. Rated voltage with rated burden. | : |  |
| 9. | Temperature rise for (8 above) |  |  |
| 10. | Rated Voltage factor and time. | : |  |
| 11. | One Minute power frequency withstand test (dry) voltage. | : |  |
| 12. | 1/50 ms impulse withstand test voltage |  |  |
| 13. | One Minute Power Frequency with stand Voltage on Secondary |  |  |
| 14 | Cross sectional area - Primary - Secondary |  |  |
| 15. | Total Weight. | : |  |
| 16. | Mounting Details. | : |  |
| 17. | Overall dimensions: | : |  |
| (a) | Height. | : |  |
| (b) | Width. | : |  |
| (c) | Height. | : |  |
| 18. | The P.T of the offered Design Should have been type tested during last five years from the date of Opening of it should be indicated that when and where were they type tested |  |  |
| 19. | Details if test reports (to be enclosed with the tender with the tender with Part-I) |  |  |