## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SE EUDC Muzaffarngar
Name of Work: fo¦qr uxjh; forj.k [k.M&izFke] eqt¶Qjuxj ds vUrxZr :Mdh pqaxh iqfyl pkSdh ls jkeiqj frjkgk gksrs gq, ¼jsyos vksoj fczt dks NksMdj½ lqHkk”k pkSd jkeiqj pkSjkgk iqfyl pkSdh rd 25 eh0 pkSMkbZ esa dk;Z fd;k tkus gsrq iqy ls jkeiqj pkSjkgk iqfyl pkSdh rd vkus okys 33 dsoh jkeiqj frjkgk fo¦qr ykbZu ds [kEHkksa dks f’k¶V djus dk dk;Z] iqy ls jkeiqj pkSjkgk iqfyl pkSdh rd vkus okys 11 dsoh jkeiqj] U;w :Mdh jksM] ‘ksjiqj QhMj dh fo¦qr ykbZuksa ds [kEHkksa o ifjorZdksa dks f’k¶V djus dk dk;Z ,oa iqy ls jkeiqj pkSjkgk iqfyl pkSdh rd vkus okys 11 dsoh jkeiqj] U;w :Mdh jksM QhMj dh ,y0Vh0 fo¦qr ykbZuksa ds [kEHkksa dks f’k¶V djus dk dk;ZA
Contact No: 9412749361
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE SHORT TERM E-TENDER No. 44/2022-23 OF EUDC MZN (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 7 | 7
1 | Carriage of Following Line Materials From PVVNL Store to Work Site Inculding Safe Loading And Unloading At both Ends As Per Site Condition
1.01 | ST Pole 13 mtr Long |  | 26 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | ST Pole 11 mtr Long |  | 146 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | ACSR Dog Conductor |  | 24300 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | LT ABC Cable (3x120+1x95+1x16) Sqmm. |  | 1000 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | LT ABC Cable (3x95+1x70+1x16) Sqmm. |  | 800 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | LT ABC Cable (3x50+1x35+1x16) Sqmm. |  | 400 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | Lime material |  | 35 | Qntl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Errection Of Pole and 11 KV/33 KV overhead Line As Following Below Works
2.01 | Errection Of 11KV D/P For STP 11 Mtr Long Pole and Fixing All Accessories As per Norms (Nut, bolts and clamps will be provided by contractor) |  | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | Errection Of 33 KV D/P For STP 13 Mtr Long Pole and Fixing All Accessories As per Norms (Nut, bolts and clamps will be provided by contractor) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | Errection Of 11 KV Single Support of ST Pole 13 Mtr Long and Fixing All Accessories As per Norms (Nut, bolts and clamps will be provided by contractor) |  | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | Errection Of 11 KV Single Support of ST Pole 11 Mtr Long and Fixing All Accessories As per Norms (Nut, bolts and clamps will be provided by contractor) |  | 88 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | Errection Of 33 KV Single Support of ST Pole 13 Mtr Long and Fixing All Accessories As per Norms (Nut, bolts and clamps will be provided by contractor) |  | 14 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | Spreading and Re-Sagging of ACSR Dog Condouctor |  | 24300 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | Work Of 11 KV Line Gaurding (Fixing All Accessories As Per Norms) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | Errection Of T-Off Channel ST Pole 11 Mtr Long (Fixing All Accessories As Per Norms) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | Concreting of ST pole including all work of excavation, cement concreet in size .60x.60x.30mm in ration 1:4:8 (Cement, sand, 40mm brick ballast) as per drg. Including. |  | 172 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | Fabrication of M.S angle and channel |  | 2700 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Errection Of L.T. Overhead Line, 11 KV and 33KV Overhead Line As Following Below Works
3.01 | Errection Of Single Pole For LT Line on STP 11 Mtr Long and Fixing All Accessories As per Norms (Nut, bolts and clamps will be provided by contractor) |  | 22 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | Spreading And Re-Sagging of LT ABC Cable (3x120+1x95+1x16) Sqmm. |  | 1000 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | Spreading And Re-Sagging of LT ABC Cable (3x95+1x70+1x16) Sqmm. |  | 800 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | Spreading And Re-Sagging of LT ABC Cable (3x50+1x35+1x16) Sqmm. |  | 400 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | Removing & Reconnecting of Consumers Service Cable |  | 500 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.06 | Errection of stay complete and Grouting of stay rods including all work of excavation, cement concreet in size .60x.60x.30mm in ration 1:4:8 (Cement, sand, 40mm brick ballast) as per drg. including back filling & proper ramming etc. with fixing tightening & nuzzling of stay set with the pole |  | 54 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Errection Of Distribution Transformer & Dismentiling Works Givin Below As Following
4.01 | Errection Of Double Pole (Fixing All Accessories As Per Norms) For 400/250 KVA Transformar |  | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | Dismentiling Of 400 KVA Transformer Form Plinth And Disconnection Of LT And HT Side |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | Dismentiling Of 250 KVA Transformer Form Plinth And Disconnection Of LT And HT Side |  | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.04 | Dismentiling Of 100 KVA Transformer Form D/P And Disconnection Of LT And HT Side |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.05 | Dismentiling Of 63 KVA Transformer Form D/P And Disconnection Of LT And HT Side |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.06 | Dismentiling Of 25 KVA Transformer Form D/P And Disconnection Of LT And HT Side |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.07 | Contruction of Plinth For 400/250 KVA Transformer (all material will be provided by contractor) |  | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.08 | Fancing For 400/250 KVA Transformer (all material will be provided by contractor) |  | 6 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.09 | Providing of Water level Earthing work with G.I Pipe of 1.25" dia. by boring the earth upto water level deep & connecting G.I Flat of size 35x5 mm |  | 26 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.1 | Errection Of 400 KVA Transformer Form Plinth And Re-connection Of LT And HT Side |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.11 | Errection Of 250 KVA Transformer Form Plinth And Re-connection Of LT And HT Side |  | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.12 | Errection Of 100 KVA Transformer Form D/P And Re-connection Of LT And HT Side |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.13 | Errection Of 63 KVA Transformer Form D/P And Re-connection Of LT And HT Side |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.14 | Errection Of 25 KVA Transformer Form D/P And Re-connection Of LT And HT Side |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Dismentiling Of Existing Material
5.01 | Dismentiling Of Double Pole With All Accessories |  | 18 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | Dismentiling Of PCC/ST Pole With All Accessories |  | 136 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | Dismentiling Of AB Conductor |  | 280 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | Dismentiling Of ACSR Weasel Conductor |  | 5100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | Dismentiling Of ACSR Dog Conductor |  | 19100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | M S Channel |  | 780 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | M S Angel |  | 540 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | Cross Arm And other Material |  | 120 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Cutting and choping of tree branches |  | 600 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Carriage of Following Dismentle Materials From Site to ESC Muzaffarnagar Inculding Safe Loading And Unloading At both Ends As Per Site Condition
7.01 | Double Pole With All Accessories |  | 18 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.02 | PCC/ST Pole With All Accessories |  | 136 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.03 | AB Conductor |  | 280 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.04 | ACSR Weasel Conductor |  | 5100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.05 | ACSR Dog Conductor |  | 19100 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.06 | M S Channel |  | 780 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.07 | M S Angel |  | 540 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.08 | Cross Arm And other Material |  | 120 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information