## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: vf/k'kklh vfHk;Urk] fo¦qr forj.k [k.M&izFke] eqt¶Qjuxj ds v/khu fo¦qr forj.k mi[k.M&f}rh;@r`rh;@c?kjk&eqt¶Qjuxj ds dk;Z {ks= ds vUrxZr 33@11 dsoh midsUnz ykyw[ksMh ls iksf"kr 11 dsoh cqVjkMk taxy iks"kd o 33@11 dsoh midsUnz vykoyiqj ls iksf"kr 11 dsoh iks"kdksa] 33@11 dsoh midsUnz tkSyh ls iksf"kr 11 dsoh tkSyh VkÅu] :Mdyh VkÅu] fetkZfVYyk taxy dh ykbZu] 33@11 dsoh fdukSuh ls iksf"kr taxy iks"kd] 33@11 dsoh midsUnz dqVck ls iksf"kr 11 dsoh dqVck taxy] dekyiqj taxy] [ktkSyk iks"kd] 33@11 dsoh midsUnz ihiygsMk ls iksf"kr 11 dsoh uaxyk fiFkkSjk iks"kd] 33@11 dsoh fldjh ls fuxZr 11 dsoh clsMh iks"kd dh ykbZu esa LFkkfir ehfM;e o Lyke 11 dsoh@11-04 dsoh forj.k ifjorZdksa dks {kfrxLr gksus ls cpkus ds fy;s U;wVªy o ckWMh vfFkZax djuk] 33@11 dsoh midsUnz tkSyh ij LFkkfir 05 ,eoh, ikoj ifjorZd o 33@11 dsoh midsUnz uSjkuk ij LFkkfir 10 ,eoh, ikoj ifjorZd esa vkW;y ysoy de gksus ij ifjorZd dks {kfrxzLr gksus ls cpkus ds fy;s vkW;y ysoy ifjiw.kZ djuk] 33 dsoh ykbZu uSjkuk o 33 dsoh b.MLVªh;y ua0&2 dh ykbZu ds e/; isMksa dh dVkbZ&NVkbZ dk dk;Z djk;s tkus ds fy;s 04 ua0 Liku dh ykbZu dks [kksyuk o iwoZ dh Hkkafr cka/kus dk dk;Z djuk] 33 dsoh flYojVksu iks"kd dh ykbZu ds {kfrxzLr dsfcy ckWDl cnyuk] 33@11 dsoh midsUnz uSjkuk ls iksf"kr 11 dsoh fl[ksMk VkÅu] uSjkuk taxy] fHkDdh taxy dh ykbZu esa LFkkfir ehfM;e o Lyke 11 dsoh@11-04 dsoh forj.k ifjorZdksa dks {kfrxLr gksus ls cpkus ds fy;s U;wVªy o ckWMh vfFkZax djuk] 33@11 dsoh midsUnz ihiygsMk ls iksf"kr 11 dsoh ihiygsMk VkÅu iks"kd dh ykbZu esa LFkkfir ehfM;e o Lyke 11 dsoh@11-04 dsoh forj.k ifjorZdksa esa vkW;y ysoy de gksus ij ifjorZdksa dks {kfrxLr gksus ls cpkus ds fy;s vkW;y ysoy ifjiw.kZ djuk o ¶;wt lsV yxkuk] 33@11 dsoh fdukSuh ls fuxZr 11 dsoh ihuuk taxy iks"kd dh ykbZu esa miHkksDrk Jh /kesZUnz iq= Jh egkohj ds Mcy iksy o 01 ua0 ih-lh-lh- ds {kfrxzLr gksus ij iqu% LFkkfir djuk] eSllZ Mkdhuh gsYFk QwM dh {kfrxzLr lh0Vh0@ih0Vh0 cnyuk] xzke&vFkkbZ esa ;qlqQiqj jksM ij lqj{kkn`f"V ls ,y-Vh-ykbZu fMLesaVy djuk] 33@11 dsoh midsUnz cqMhukdyk ls iksf"kr 11 dsoh cqMhukdyk VkÅu iks"kd o 33@11 dsoh midsUnz tlksbZ ls iksf"kr 11 dsoh lksUVk VkÅu iks"kd dh ykbZu esa LFkkfir ehfM;e o Lyke 11 dsoh@11-04 dsoh forj.k ifjorZdksa dks {kfrxLr gksus ls cpkus ds fy;s vkW;y ysoy ifjiw.kZ djuk o ¶;wt lsV yxkuk o vU; vuqj{k.k dk dk;Z ckg~; ,tsUlh ds ek/;e ls djkus gsrq dk;ZA
Contract No: 07/2023-24/EDC-I MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | fo¦qr Hk.Mkj dsUnz ls lkbZV rd lkexzh ig¡qpkus dk dk;Z ftlesa nksuksa vksj dh yksfMax o vuyksfMax 'kkfey gSA¼nwjh 0 ls 50 fd0eh0½ | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | PCC Pole 8.5 Mtr Long |  | 6 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | TRANSFORMER OIL RECLAIMED (1050 Ltr.) for DISTRIBUTION TRANSFORMER |  | 5 | Mªe | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | 33 KV CABLE JOINTING KIT OUTDOOR 3x300 Sqmm |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 11 KV INTRUPTOR make BHEL |  | 6 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.05 | ykbZu lkexzh ¼bUlqysVj] fMLd] rkj] Økl vkeZ vkfn½ |  | 2 | dqary esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Hk.Mkj dsUnz ls izkIr fo¦qr lkexzh dks lkbZV ij LFkkfir djus dk iw.kZ dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | fu;ekuqlkj LFkkfir 33 dsoh ykbZu esa ck/kd isMksa dh dVkbZ&NVkbZ dk dk;Z djk;s tkus gsrq 05 Likuks dh ykbZu dks fMLesaVy djuk] fj&lSfxax djuk] d.MDVj dks bUlwysVj ls [kksyuk o iwoZ dh Hkkafr ykbZu dks LFkkfir djus dk iw.kZ dk;Z djkdj vkiwfrZ pkyw djus dk dk;ZA |  | 1 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | fu;ekuqlkj 33 dsoh flYojVksu iks"kd dh ykbZu esa lkbZV Hkksik jksM fudV ,u-,p-&58 dss {kfrxzLr dsfcy ckWDl dks cnyus gsrq LFkkfir dsfcy dks fMLesaVy dj 33 dsoh dsfcy ckWDl dks LFkkfir djuk o dsfcy dks iwoZ dh Hkkafr LFkkfir dj vkiwfrZ pkyw djus dk iw.kZ dk;ZA |  | 1 | izfr tkWc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | jsLiks ekudksa ds vuqlkj ih0lh0lh0 iksy cukus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 6 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | fu;ekuqlkj lkbZV ij LFkkfir ehfM;e o Leky 11@0-4 dsoh forj.k ifjorZdksa esa vkW;y ysoy de gksus ds dkj.k forj.k ifjorZd dks {kfrxzLr gksus ls cpkus ds fy;s forj.k ifjorZdksa ds vkW;y ysoy dks ifjiw.kZ djus dk iw.kZ dk;ZA ¼vkW;y dh ek=k 1050 yhVj½ |  | 3 | tkc esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | fu;ekuqlkj LFkkfir ,y-Vh-ykbZu ds <hys rkjksa dh fj&lSfxax djus dk iw.kZ dk;ZA |  | 2 | Liku esa | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.06 | fu;ekuqlkj LFkkfir 11 dsoh ykbZu ds e/; isMksa dh Vgfu;ksa dh dVkbZ&NVkbZ djus dk dk;ZA |  | 5 | Liku esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | fu;ekuqlkj 33@11 dsoh midsUnz ij LFkkfir 11 dsoh oh-lh-ch- dh {kfrxzLr 11 dsoh bUVªiVj dks cnyus dk iw.kZ dk;ZA |  | 6 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.08 | fu;ekuqlkj 11 dsoh LVs; lSV DEiyhV LFkkfir djus dk dk;ZA |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | fu;ekuqlkj lkbZV ij LFkkfir 250 dsoh, forj.k ifjorZd gsrq ubZ fIyUFk dk fuekZ.k djukA ftlesa fodsUnzh; lkexzh tSls%&lhesUV] ckyw bZV] jksMh] ctjh o vU; vko';d lkexzh fufonkdkj }kjk ns; gksxhA |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | fu;keulkj lqj{kkn`f"V ls lkbZV ij LFkkfir 250 dsoh, forj.k ifjorZd gsrq QSfUlax dk fuekZ.k djukA ftlesa fodsUnzh; lkexzh tSls%& yksgs dh QSfUlax uV ,.M ckYV bR;kfn vko';d lkexzh fufonkdkj }kjk ns; gksxhA |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | fu;keulkj lqj{kkn`f"V ls lkbZV ij LFkkfir 250 dsoh, forj.k ifjorZd dh th-vkbZ-ikbZi ds ek/;e ls ifjorZd dh vfFkZax djukA ftlesa fodsUnzh; lkexzh fufonkdkj }kjk ns; gksxhA gsrq QSfUlax dk fuekZ.k djukA ftlesa fodsUnzh; lkexzh tSls%& yksgs dh QSfUlax uV ,.M ckYV bR;kfn vko';d lkexzh fufonkdkj }kjk ns; gksxhA |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | fufonkdkj }kjk fuEufyf[kr lkexzzh miyC/k djkukA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | NUT & BOLTS |  | 4 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | LT SACKAL INSULATOR |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | SUSPENSION CLAMP |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.04 | X-ARM CLAMP |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.05 | F-CLAMP |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.06 | LT CLAMP with NUT & BOLT |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information