## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of electrification & giving new connection to various consumers in the area of Sub-Division- Lal Kuan, Bhrampur and Shastri Nagar, Ghaziabad by Running Tender (Deposit Scheme) in the jurisdiction of EE, EUDD-IX, GZB.
Tender no. 48/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Cartage of ST pole 11 meter long from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001113 | 35 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Cartage of PCC pole pole from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001114 | 60 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Cartage of 25/63/100 KVA T/F from store center Meerut road GZB to different site including loading and unloading at both side | BI01010001010000000000000515BI0100001115 | 18 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Cartage of line material ,pin insulator, PVC LT /HT cable ABC channel, TPMO, FUSE Set ,stay, ACSR dog and weasel conductor and other line material from store center Meerut road GZB to different site including loading and unloading at both side, | BI01010001010000000000000515BI0100001116 | 22 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Cartage of 11KV XLPE Cable size 3x70/120/185mm2 from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001117 | 600 | mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Cartage of CT/PT Unit/ Metring Cubical (Per Connection 01 Job) from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001118 | 18 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and all material and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001119 | 22 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Errection of Single pole with 8.5 meter long pcc pole after digging of pits in proper size 1500x600x500 MM and fixing of all material and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001114 | 20 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Errection of Single pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001115 | 18 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Errection of Single pole with 8.5 meter long PCC pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/Pole and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001116 | 20 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Fixing of all accesorieses (Top channel dropeer Channel insulator) | BI01010001010000000000000515BI0100001117 | 14 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Lying of stringing and proper sagging ACSR/Dog/Rabbit weasel conductor in 11KV/LT line & complete work in all respect as per norms. | BI01010001010000000000000515BI0100001118 | 400 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Concreting of ST pole complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001114 | 35 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Paint of pole complete work in all respect as per RESPO norms. complete work in all respect | BI01010001010000000000000515BI0100001115 | 35 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Earthing of pole with M S earth road complete work in all respect | BI01010001010000000000000515BI0100001114 | 35 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | placing of 25/63/100 KVA T/F / CTPT / Metering Cubical (Per Connection 01 Job)on double pole with the help of crane | BI01010001010000000000000515BI0100001115 | 36 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Earthing of 11/0.4 KV T/F with suitable G.I.Pipe and fixing suitable GI Strip including all material complete work in all respect | BI01010001010000000000000515BI0100001116 | 18 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Fixing and providing MS pole clamp different size | BI01010001010000000000000515BI0100001117 | 120 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Fixing and providing of different size of nut & bolt with washer. | BI01010001010000000000000515BI0100001118 | 50 | Kg. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Fixing and providing PRC clamp. | BI01010001010000000000000515BI0100001119 | 90 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Lying of LT PVC cable off All Sizes with complete work in all respect as per norms. | BI01010001010000000000000515BI0100001114 | 120 | mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Grouting of stay set after digging of pits in proper size and grouting in Ratio 1:4:8 with cement, sand and concrete as per norms of nigam & complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001115 | 10 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Filling of 11 KV XLPE cable Jointing Kit size 3x70/120/185 mm2 & complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001116 | 20 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Laying of HT cable of size 3x70/150/120/185 mm And Other Size complete work in all respect | BI01010001010000000000000515BI0100001117 | 500 | mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Dismantling of Line Meterial And Transformer from various site and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001118 | 5 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information