## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M udqM ds dk;Z{ks= es iw.kZ tek ;kstuk ds vUrxZr 33@11 ds0oh0 fo¦qr midsUnz] y[kukSrh ls fuxZr 11 ds0oh0 iks”kd ljktiqj ij Jh lq[kiky iq= Jh xq:uke ds;j vkWQ Jh vkj0ds0b.Vj izkbZtst fuoklh xzke nkSyriqj] xaxksg rglhy udqM ftyk lgkjuiqj dks 15 fd0ok0 dk u;k la;kstu fuxZr djus gsrq] 33@11 ds0oh0 fo¦qr midsUnz] vEcSgVk ls ikfs”kd oh0,e0vkVk pDdh ds;j vkWQ Jh vuqt dqekj iq= Jh izeksn dqekj fuoklh xzke <k;dh rglhy udqM ftyk lgkjuiqj dks 7-5 ,p0ih0 u;k la;kstu fuxZr djus gsrq] 33@11 ds0oh0 fo¦qr midsUnz csj[ksMh fgUnq ls fuxZr 11 ds0oh0 iks”kd csj[ksMh fgUnq ij xaxksg FkkukHkou ekxZ es ck/kd 11 ds0oh0 ykbZu dks vU;= LFkkukUrfjr fd;s tkus gsrq ,oa 33@11 ds0oh0 fo¦qr midsUnz <k;dh ls iksf”kr Jh vafdr dqekj iq= Jh lknhjke fuoklh xzke <k;dh rglhy udqM ftyk lgkjuiqj dks u;s la;kstu 10 ,p0ih0 fuxZr djus dk dk;ZA
Contract No: 27/W/EDC-II/SRE/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely carriage of PCC/ST poles (up to 11 Mtr. long) from ESC, SRE to site of work including loading & unloading at both ends. |  | 21 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriage of other complete line material with ACSR Weasel Conductor (Except PCC/ST Poles) from ESC, SRE/ JE store to site of work including loading, unloading at both ends. |  | 2 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safely carriage of 25 KVA T/F from ESC, SRE, to the site of work including loading & unloading at both ends. |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Erection of single support on PCC/ST poles (up to 11 Mtr. long) with complete fitting of all accessories of 11 KV/LT line as per RESPO Specification. |  | 15 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | Erection of Double Pole on PCC/ST poles (up to 11 Mtr. long) with complete fitting of all accessories complete. |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Providing and Fixing of Stone Ped 300x300x75 as per RESPO specifications |  | 11 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Grouting of PCC Pole after digging of pits in block 16x1800mm in ratio 1:4:8 with Ist class brick, good quality sand, cement & ballast. |  | 13 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Grouting of stay rods by digging of pits in block of 600X600X300 mm. in ratio 1:4:8 with Ist class brick, good quality sand, cement & ballast with nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Earthing of poles by earthing rod completely. |  | 17 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.1 | Providing of X-arm holding clamps PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 13 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing of F-clamp for PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing of double Pole clamp on PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Laying, lifting, Stringing, sagging & jumpring with binding of ACSR Weasel Conductor for 11KV/LT Line . |  | 1684 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Safely installation of 25 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Fixing of Distribution Box of 3-Phase on PCC Pole with providing suitable clamp and connection of above Distribution Box with ABC cable connecting jumpering including with service connection. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Removal of Old & used ST Pole 11 Mtr long scrap (165 kg) /ACSR weasel conductor scrap (20 kg) from the Existing 11KV/ LT lines with making roll and carrige from site to J.E store/ESC, SRE including loading and unloading at both ends. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information