## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work: fo¦qr forj.k [k.M jkeiqj efugkju lgkjuiqj ds vUrxZr uxj fudk; ;kstuk uxj iapk;r jkeiqj efugkju dh lhek foLrkj gksus ds mijkUr xzke CykWd dkyksuh jkeiqj efugkju dks 33@11 ds0oh0 fo¦qr midsUnz jkeiqj efugkju rglhy ls tksMus gsrq 2-00 fd0eh0 11 ds0oh0 iks”kd dk fuekZ.k ,ao 01 ux vfrfjDr 63 ds0oh0,0 ifjorZd fuekZ.kZ] xzke rsyhiqjk esa 1-8 fdeh0 ykbZu] midsUnz jkeiqj efugkju rglhy dks ukftjiqjk dks tksMus gsrq 01 fd0eh0 o CykWd dkyksuh esa vfrHkkfjr 100 ds0oh0,0 ifjorZd dh {kerko`f} dj 250 ds0oh0,0 gsrq] ihjcuh nsgkr dks tksMus gsrq 0-5 fd0eh0 03 ux vfrfjDr iksy yxkus gsrq ,ao midsUnz jkeiqj rglhy ls iksf”kr 1500 ehVj ,p0Vh0 ykbZu o 25]63]100] ifjorZd LFkkfir gsrq dk;ZA
Contract No: 149/W/EDC-II/SRE/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Providing Steel Tubler Poles SP-55, 11 Mtr. |  | 46 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Providing PCC Pole 8.5 Mtr. |  | 184 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Providing M.S Channel 100x50x6 mm. |  | 270 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Providing M.S Angle 65x65x6 mm. |  | 210 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | Providing 11 KV Cross Arms Angle V-Type |  | 152 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Providing 11 KV Stay set 16x1800mm |  | 92 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Providing Stay Wire 7/10 SWG |  | 460 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Providing Earthing Rod 2540x20 mm. |  | 98 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing of J-hook. |  | 78 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providong 3 Phase Distibution box. |  | 118 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing G.I Pipe 100 mm 6" dia |  | 360 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | .Providing X-Arm holding clamp nut and bolts. |  | 211 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Providing of PG Clamp nut and bolts. |  | 106 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Providing of Dead and clamp. |  | 58 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing 11 KV Cable Jointing Kit O/D of size 3x185 sq mm. |  | 24 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Providing and Fixing Suspension-clamp size 95/50 sq mm. for PCC/ST Poles as per RESPO specifications. |  | 78 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Providing and Fixing Pearcing connector size of 50/35 sqmm. for PCC/ST Poles as per RESPO specifications. |  | 156 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Safely cartage of ACSR Rabbit/Weasel conductor from ESC, SRE to the site of work including loading & unloading at both ends. |  | 3 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Safely cartage of 11 KV XLPE Cable of size 3x185 sq mm Cable from ESC, SRE to the site of work including loading & unloading at both ends. |  | 600 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Safely cartage of ABC (3X50+1x35+1x16/3X95+1x70+1x16/ 3X120+1x70+1x16) sq.mm Cable from ESC, SRE to the site of work including loading & unloading at both ends. |  | 5500 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Removal of 100 KVA T/F From the D/P & Carrige From Site of works to ESC, SRE including loading & unloading at both ends |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Removal of ACSR weasel conductor of 11 KV existing line Fell down and making roll of conductor and with shifting from side to ESC, SRE including loading & unloading at both ends. |  | 85 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Safely cartage of New 25 KVA (2No)/63 KVA (2 No)/100 KVA (1No) T/F from ESC, SRE, to the site of work including loading & unloading at both ends. |  | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Safely cartage of New 250 KVA T/F from ESC, SRE, to the site of work including loading & unloading at both ends |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Erection of single support on PCC/ST (up to 11 Mtr. Long) with complete fitting of all accessories for 11 KV line LT line. |  | 218 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Febraction and Erection of double pole On PCC/ST (up to 11 Mtr. Long) with complete fitting of bracings & other accessories as per RESPO Specifications. |  | 6 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Laying, lifting, Stringing, sagging jumpering & binding of ACSR Rabbit/Weasel conductor on PCC/ST Pole for 11 KV/LT Line as per RESPO specifications. |  | 27700 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Earthing of PCC/ST Poles by earthing rod as per RESPO specifications. |  | 98 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Febraction charges of Angel & Channal. |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Fixing of G.I Pipe 100mm. 6" dia 3.5 mtr. Long at the both at side of double pole. |  | 360 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.31 | Digging of trench Driling under the Highway crossing & Railway track by Driling Machice 1.5 mtr. deep and laying of Two No. Parrera G.I pipe 6” dia on 1 meter distance with Providing of 6 mm thick G.I pipe of 6” dia at diffirent site of work. |  | 210 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.32 | Laying of 11 KV XLPE cable 3x185sq.mm under the road crossing into existing trench and after laying the trench should be covered with laying of bricks and filling of earth with ramming at diffirent site. |  | 600 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.33 | Fixing & Making of 11 KV Cable J/Kit O/D of size 3x185 sq mm. side. |  | 24 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.34 | Safely installation of New 25 KVA (2No)/63 KVA (2 No)/100 KVA (1No) T/F on the D/Pole with proper alignment and Complete fitting including making connection and com |  | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.35 | Constriction of plinth for installation of 250 KVA T/F of size 1.5x1.5x1 mtr made of 9”inch thick wall in all four sides with 6”inch thick RCC Top duly filled with sand and plastered 12mm thick in ratio 1:4 with cement and sand on outer surface of brick wall as per RESPO Specification. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.36 | Safely installation of New 250 KV T/F on the D/Pole with proper alignment and Complete fitting including making connection and commissioning |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.37 | Pipe Earthing of 250 KVA T/F (Body earthing) by boring 60fit deep & fixing of G.I pipe 1½” Dia (Jindal Class B) and connecting with G.I. Strip of size 40x5 mm and G.I wire at bottom of G.I pipe to the T/F providing of required charcoal & salt in the pipe |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.38 | Laying and making connection 3.5x150 sq mm lead of 250 KVA T/F properly. |  | 180 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information