## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M&f}rh;] lgkjuiqj ds dk;Z{ks= es iz.kkyh lq}<hdj.k ¼,fM’kuy fctusl Iyku½ ds vUrxZr xzke uYgsMk xqtZj esa Vkoj ds ikl LFkkfir 100 ds0oh0,0 ifjorZd ds vfrHkkfjr gksus ds dkj.k vyx ls 63 ds0oh0,0] Vijh vMMk fudV jsyos LVs’ku ds ikl] dk’khjke dkyksuh esa ‘ksj flag iz/kku ds lkeus] v{kj/kke iqfy;k ds ikl ,ao xzke eDdkckal ij LFkkfir 250@400 ds0oh0,0 ifjorZd ds vfrHkkfjr gksus ds dkj.k vyx ls 100 ds0oh0,0] xzke dSyk’kiqj esa cl LVS.M ds ikl] xzke ‘ks[kiqjk esa desys ds ikl 250 ds0oh0,0 ifjorZd ds vfrHkkfjr gksus ds dkj.k vyx ls 250 ds0oh0,0 ifjorZd djus dk dk;Z
Contract No: 130/w/EDC II/SRE/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely carriage of PCC/ST poles (up to 11 Mtr. Long) from ESC, SRE to site of work including loading & unloading at both ends. |  | 17 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriage of other complete line material (Except PCC/ST Poles) from ESC, SRE to site of work including loading, unloading at both ends |  | 2 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | Safely cartage of New 63(1No)/100(4No)/250(2N0) KVA T/F from ESC, SRE, to the site of work by including loading & unloading at both ends. |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Erection of single support on PCC/ST poles with complete fitting of all accessories of 11 KV/LT line. complete. |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.05 | Erection of D/P on PCC/ST poles with complete fitting of all accessories of 11KV/LT Line as per RESPO Specification. |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | Providing of Earthing Rod 20x2500 mm Complete.. |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Providing of Ms Angel 65x65x6 mm. |  | 200 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Providing of Aluminium Lug 150A. |  | 28 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing Stay Set 16x 1800 mm Complete. |  | 17 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providing Ms Channel 125x65x6 mm. |  | 390 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing of All Type Clamp with nut and bolt as per RESPO specification. |  | 71 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing nut and bolt best quality. |  | 30 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Providing G.I Wire 4 mm. 8 SWG. |  | 70 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Concreting of Pole with cement concreting in block of 600x600x1500 mm in ration 1:4:8 with cement sand and Brick ballast size 1x1.5 sq mm. |  | 17 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Grouting of 11 KV stay rods by digging of pits in block of 600X600X300 mm. and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Constriction of plinth for installation of 250 KVA T/F of size 1.5x1.5x1 mtr made of 9”inch thick wall in all four sides with 6”inch thick RCC Top duly filled with sand and plastered 12mm thick in ratio 1:4 with cement and sand on outer surface of brick wall as per RESPO Specification. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Safely installation of New 63(1No)/100(4No)/250(2N0) KV T/F on the D/Pole with proper alignment and Complete fitting including making connection and commissioning |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV/LT Line as per RESPO specification. |  | 330 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Pipe Earthing of 250 KVA T/F (Body earthing) by boring 60fit deep & fixing of G.I pipe 1½” Dia (Jindal Class B) and connecting with G.I. Strip of size 40x5 mm and G.I wire at bottom of G.I pipe to the T/F providing of required charcoal & salt in the pipe |  | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Providing & Making of Wiremesh fencing size 2.5x2.5x2.5 mtr with grouting making frame of MS angle 40x40x6 mm and fixing four no ms strip size 25x6 mm at equal distance in between the frame and fixing square mesh of 50 mm squre in each frame the fencing should cover all side of T/F with providing 1 no door size 6x3 with sitakni & dandala with green paints (British/Asian/enamel paints) |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Laying, lifting, Stringing, proper sagging LT ABC cable of size 3x95+1x70+1x16 sq.mm. including fixing of all accessories. |  | 288 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information