**BOQ**

**TENDER NO. 04(W)/EDC-2/MT/2022-23, Regarding Replacement & fitting of old & damaged of 11 KV Heat Shrinkable Jointing kit of indoor & outdoor type of different size of 11 KV XLPE Cable of 11 KV Lines & 33/11 KV sub-stations of under Jurisdiction of EDD-II, Meerut Under EDC-2 Pallavpuram Meerut.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sl.**  **No.** | **Description of Works** | **Quantity** | **Rate per Unit.** | **Amount**  **(In Rs)** |
| 01. | Following works of Replacement & fitting of old & damaged of 11 KV Heat Shrinkable Jointing kit of indoor & outdoor type of different size of 11 KV XLPE Cable of 11 KV Lines & 33/11 KV sub-stations under Jurisdiction of EDD-II, Meerut.  Replacement of old & damaged Jointing kit with the help of nuts & bolts & snatching the cable properly with the help of sharp glass cutting & preparing 03 nos. cable lead of cable for fixing of jointing kit after remove carbon by amri clothes & sharp glass cutting & then fitted heat shrinkable jointing kit on the 3 lead of cable with the help of blue lamp properly punching of 03 nos. crimping lugs after prepared jointing kit fixed on Equipment with the help of nuts, bolts & washers etc & tapping by HT & Empire Tape etc. The 11 KV Heat Shrinkable Jointing Kit will be provided by the Contractor. | 20 Nos. |  |  |