## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer Electricity Civil Distribution Circle, PVVNL, Meerut.
Name of Work: Miscellaneous Civil works at 33/11 K.V Sub-Station Sheikhpura Qadeem, Distt-Saharanpur.
T.S. No: 05/ECDC/MRT/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Excavation in foundation in ordinary soil (loam, clay or sand) including lift upto 1.5 Metre and lead upto 30 metre including filling, watering, and ramming of excavated earth into the trenches or into the space between the building and the side of the foundation or in to the plinth and removal & disposal of surplus earth as directes by the E/I up to a distance of 30m from the foundation trenches. CSI No. 4.01 | BI01010001010000000000000515BI0100001119124 | 15 | Cum | 171 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Earth filling under floors including cost of the earth when obtained from outside Corporation's area including its carriage, loading/unloading, spreading, watering and ramming in 20 cm layers and dressing of earth etc. Rates including cost of earth, labour, T&P and ROYALITY of earth etc. required for proper completion of the work. CSI No. 4.10 | BI01010001010000000000000515BI0100001119125 | 3 | Cum | 389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Earth filling in open area including cost of the earth when obtained from outside Corporation's area including its carriage ,loading/unloading,spreading, watering and ramming in 20cm layers and dressing of earth etc. Rate including all cost of material but excluding ROYALTY of Earth, Complete. Royalty will be paid extra to Contractor as per prevailing orders on Production of Proof of Payment in form of Challan Receipt of ibid work.. CSI No. 4.11 | BI01010001010000000000000515BI0100001119126 | 5 | Cum | 372 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Concrete with 4cm gauge down graded Stone ballast , coarse sand (F.M. 1.8 to 2.5) and cement in proportion of 12:6:1 in foundation and under floors and supply of all materials, labour, tools and plants etc. required for proper completion of the work. CSI No. 5.01 | BI01010001010000000000000515BI0100001119127 | 4 | Cum | 4663 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Cement concrete with 2Cm gauge down stone ballast, coarse sand and cement in the proportion 4:2:1 for grouting of hold fasts, roof treatment and other similar works incl, cost of all material, labour & T&C complete as per direction of E/I. CSI No. 5.03 | BI01010001010000000000000515BI0100001119128 | 3.4 | Cum | 6088 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | RCC work with cement, approved coarse sand and 2cm (3/4”) gauge approved stone ballast in the proportion of 1:2:4 in the lintels or bends and sun shade of doors and windows excluding supply of reinforcement and its bending but including its cutting, fixing and binding the same with 24 B.W.G.G.I. wire including necessary centering and smooth shuttering etc. required for proper completion of work including supply of all material, binding wire, labour and T&P etc. CSI No. 5.07 | BI01010001010000000000000515BI0100001119129 | 2 | Cum | 8208 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | As in item no 06 above but R.C.C. Raft foundation and footing. CSI No. 5.13 | BI01010001010000000000000515BI0100001119130 | 2 | Cum | 7186 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | RCC work with cement, approved coarse sand ( F.M. 2.9 to 3.2) and 2cm (3/4”) gauge approved stone ballast in the proportion of 1:2:4 in the T-Beam Columns and Walls up to 1.5 m height (only web of T or L beam shall be measured). excluding supply of reinforcement and its bending but including its cutting, fixing and binding the same with 24 B.W.G. G.I. wire including necessary centering and smooth shuttering etc required for proper completion of work including supply of all material, binding wire, labour and T&P etc. (Column means length/height of column should be greater than or equal to 3 times the least lateral dimension of column.). CSI No. 5.15 | BI01010001010000000000000515BI0100001119131 | 2 | Cum | 10502 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Concreting of 40 mm thick R.C.C. trench cover of mild steel frame work with CC 1:1.5:3 in cement coarse sand ( F.M. 2.9 to 3.2), 12 mm down graded stone ballast with smooth finishing on both top and bottom surfaces matching with floor colour complete with all labour, materials, T&P etc. required for proper completion of the work but excluding cost of cover of steel frame. CSI No. 5.17 | BI01010001010000000000000515BI0100001119132 | 2 | Sqm | 407 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | 1st class brick work in 1:6 cement and coarse sand of 2.25 F.M. mortar in foundation and plinth including supply of all material, labour and T&P etc. required for proper completion of work. CSI No. 6.01 | BI01010001010000000000000515BI0100001119133 | 8 | Cum | 4312 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | 1st class brick work in 1:6 C.M. with cement and coarse sand of 2.25 F.M. mortar in super structure including necessary cutting and moulding of brick as required including honey comb brick work, thickness of wall one brick (230mm) thick in super structure. CSI No. 6.01+6.06 | BI01010001010000000000000515BI0100001119134 | 5 | Cum | 4815 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Add for extra labour in item no. 11 as above but for wall of half brick 4.5” (115mm) thick in super structure. CSI No. 6.07 | BI01010001010000000000000515BI0100001119135 | 5 | Cum | 629 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | 25mm.thick Damp proof course with cement concrete consisting of 1 part cement, 1½ parts approved coarse sand and 3 parts approved 13mm (1/2”) down graded stone grit including S/M water proofing liquid compound (Preferably RECRON 3Sor Dr.Fixit) as directed by the Engineer-in-charge mixed in proportion as specified by the manufacturer. CSI No. 7.01 | BI01010001010000000000000515BI0100001119136 | 6 | Sqm | 314 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Supply and fixing stainless steel. Mosquito proof heavy quality iron wire mesh of 15×28 Gauge over windows including supply and fixing of necessary steel screws and cost of all materials, labour and T&P etc. required for proper completion of work. CSI No. 8.15 (A) | BI01010001010000000000000515BI0100001119137 | 8 | Sqm | 548 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Supply and Fixing of aluminium fittings with screw for doors and windows etc. (a) L-Drop 16 mm dia 12" long CSI No. 8.23 (a) | BI01010001010000000000000515BI0100001119138 | 4 | Nos | 203 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Same as item No. 15 above but for (c) L-Drop 16 mm dia 8" long CSI No. 8.23 (c) | BI01010001010000000000000515BI0100001119139 | 4 | Nos | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Same as item No. 15 above but for (e) Tower bolt 8" long CSI No. 8.23 (e) | BI01010001010000000000000515BI0100001119140 | 4 | Nos | 76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Same as item No. 15 above but for (g) Handle 6" long CSI No. 8.23 (g) | BI01010001010000000000000515BI0100001119141 | 4 | Nos | 51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Same as item No. 15 above but for (g) Stopper with rubber pad CSI No. 8.23 (i) | BI01010001010000000000000515BI0100001119142 | 4 | Nos | 51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Supply and fixing 30mm thick of single leaf flush doors commercial quality conforming to I.S. 2202 part-I (1983) including fixing of wooden cleats and stoppers including cost of all materials labour, & T&P etc. required for the proper completion of the work. CSI No. 8.24 (a) | BI01010001010000000000000515BI0100001119143 | 7 | Sqm | 1465 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Mild steel or iron work in heavy large size sections such as trusses, built-up gates, roof work, window/boundry grill or railing, trench covers, grating etc. wrought to required form including supply of steel bolts, nuts, wastage etc. and their fixing charges, welding, required for proper completion of the work incl, cost of all material, labour and T&P etc. CSI No. 9.02 | BI01010001010000000000000515BI0100001119144 | 0.2 | M.T. | 74360 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Mild steel or iron in plain work such as reinforced concrete or reinforced brick work (when not including in over all rates) wrought to required shape as necessary including bending for proper completion of the work and including supply of steel its wastage, bend, hooks authorized overlapping as required for proper completion of the work. CSI No. 9.04 | BI01010001010000000000000515BI0100001119145 | 0.2 | M.T. | 70322 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Supply and fixing of welded mesh of approved quality and size as approved by E/I, over M.S.Angle frame with M.S. flat, nuts & bolts or welding as required , Rate including cost of all material, labour and T&P etc. required for proper completion of work. (Excluding cost of M.S.Angle frame with M.S. flat). CSI No. 9.16 | BI01010001010000000000000515BI0100001119146 | 20 | Kg | 85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Providing and applying four courses of water proofing treatment at roofs consisting first course of straight run 85/25 grade bitumen confirming to I.S. 73-1961@0.7 Kg/Sqm, second course of roof guard consisting of polythene sheets weighting 0.12 Kg/ Sqm, with 75mm over laps, along roof slope, third course of cold cut back bitumen B.S. grade @ 1.0 kg/ Sqm as per I.S. 7290 and the fourth and final course of 1:1.5:3 cement concrete, 25mm thick with water proofing compound (RECRON.3S) as per specifications, including all materials, labour and T & P etc. required for proper completion of work. CSI No. 10.06 | BI01010001010000000000000515BI0100001119147 | 12 | Sqm | 340 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | P/F Chicken Mesh of 22 gauge and 20 mm Hexagonal size over roof/wall in cement concrete/Mortar with 10 cm. over lapping with the help of U nails. as per direction of E/I. including cost of all materials, labour T&P etc. required for proper completion of work. CSI No. 10.09 | BI01010001010000000000000515BI0100001119148 | 25 | Sqm | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | 12mm thick plaster with cement mortar of 1 part cement & 6 parts of approved coarse sand 2.5 F.M. over Brick work, min. thickness not less than 10mm including supply all material, labour and T&P required for proper completion of work CSI No. 11.06 | BI01010001010000000000000515BI0100001119149 | 80 | Sqm | 161 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Add for extra labour and materials for plaster over rough face of one brick thick wall. CSI No. 11.09 | BI01010001010000000000000515BI0100001119150 | 40 | Sqm | 22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | 2cm (3/4”) thick cement plaster in dado or skirting in 1:2 mix, consisting of one part of cement and two parts of approved coarse sand laid in panels finished with 3mm (1/8”) floating coat of neat cement or cement and marble dust in ratio of 5:1 including supply of all materials, labour and T&P etc. required for proper completion of work. CSI No. 11.10 | BI01010001010000000000000515BI0100001119151 | 8 | Sqm | 236 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Engraving groove 12X12mm in the plaster of the outer face wall vertically or horizontally or inclined to display the surface good as directed by the Engineer-in-charge including labour and tools & plants etc. required for proper completion of work. CSI No. 11.11 | BI01010001010000000000000515BI0100001119152 | 180 | RM | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Providing and mixing approved quality of water proofing compound (125 gms.) (DR. FIXIT / RECRON.3S) / hardening material in cement mortar or Concrete as per direction of E/I in proportion as recommended by the manufacturer. CSI No. 11.12 | BI01010001010000000000000515BI0100001119153 | 45 | Per bag cement | 43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Rendering, smoothening and proper finishing with cement mortar/slurry (mortar 1:2 cement and coarse sand) in horizontal and vertical surface of foundations/roof etc. as per direction of E/I inclduing supply of all material labour and T&P etc. required for proper completion of wrok. CSI No. 11.16 | BI01010001010000000000000515BI0100001119154 | 5 | Sqm | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | 3mm thick neat cement floating coat including cost of all material labour, and T&P etc. required for proper completion of work. CSI No. 11.17 | BI01010001010000000000000515BI0100001119155 | 25 | Sqm | 23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | 40mm thick cement concrete floor 1:2:4 ratio with cement, approved coarse sand and 20mm graded stone aggregate laid in panels finished with 3mm floating coat of neat cement, including cost of all materials, labour and T&P required for proper completion of work but excluding cost of base concrete. CSI No. 12.02 | BI01010001010000000000000515BI0100001119156 | 8 | Sqm | 357 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | S/F 6 or 8 mm thick glazed/matt finish tiles SOMANI or equivalent approved quality and size upto 400x400 in floor, skirting or dado laid with 1:3 cement and coarse sand mortar and joints finished with white cement including polishing etc. complete including supply of all materials, labour and T&P etc. required for proper completion of work. CSI No. 12.07 | BI01010001010000000000000515BI0100001119157 | 15 | Sqm | 929 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Painting or varnishing on iron works in small areas of new wood work with one coat of ready mixed priming paint and one coat of approved superior quality ready mixed paint of clear synthetic varnish including supply of all materials, labour and T&P etc. required for proper completion of the work. Paint to be used should confirm to the ISI no. 103-1950. CSI No. 13.01 | BI01010001010000000000000515BI0100001119159 | 50 | Sqm | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Same as in item 35 but for every coat after Ist coat. CSI No. 13.02 | BI01010001010000000000000515BI0100001119160 | 35 | Sqm | 32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | Same as item No. 35 but for every coat on previously painted old wood or steel work. CSI No. 13.03 | BI01010001010000000000000515BI0100001119161 | 35 | Sqm | 45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38 | Applying BIRLA PUTTY or equivalent putty on new interior or exterior surface over one coat of water base cement primer of ICI or equivalent brand for smoothning and leveling of the surface as per requirement and direction of E/I, including cost of all material,labour and T&P required for proper completion of work. CSI No. 13.04 | BI01010001010000000000000515BI0100001119162 | 15 | Sqm | 88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | Applying BIRLA PUTTY or equivalent putty on OLD interior or exterior surface after cleaning the old painted surface as per requirement and direction of E/I, including cost of all material, labour and T&P required for proper completion of work. CSI No. 13.05 | BI01010001010000000000000515BI0100001119163 | 20 | Sqm | 54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
40 | One priming coat & one coat synthetic/acrelic distemper on new work including supply of all materials, labour and T&P etc. required for proper completion of the work. CSI No. 13.09 | BI01010001010000000000000515BI0100001119164 | 25 | Sqm | 24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41 | Same as item No. 40 but for every coat after the first coat. CSI No. 13.10 | BI01010001010000000000000515BI0100001119165 | 30 | Sqm | 18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42 | Same as item No. 40 but for every coat on previously old distempered surface. CSI No. 13.11 | BI01010001010000000000000515BI0100001119166 | 35 | Sqm | 33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
43 | Dismantling Plastered or unplastered brick work or stone masonry work in lime or cement mortar and including stacking of materials as directed by Engineer-in-charge with in a distance of 60 meters. CSI No. 15.01 | BI01010001010000000000000515BI0100001119168 | 7 | Cum | 420 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44 | Dismantling reinforced cement concrete or reinforced brick work or Cement.Concrete. including stacking of dismantled material as directed by the Engineer-in-charge within a distance of 60 metres. CSI No. 15.02 | BI01010001010000000000000515BI0100001119169 | 2 | Cum | 1020 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
45 | Dismantling cement concrete of brick or granolithic floor, including base concrete as and where required including stacking of dismantled material as directed by Engineer-in-charge within a distance of 60 meters. CSI No. 15.03 | BI01010001010000000000000515BI0100001119170 | 12 | Sqm | 48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
46 | Dismantling existing plaster including disposal of refuse as directed by the Engineer-in-charge within a distance of 60 meters. CSI No. 15.06 | BI01010001010000000000000515BI0100001119171 | 50 | Sqm | 34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
47 | Wiring point for light with 1.5 sq. mm. FR PVC insulated multistrand single copper conductor cable in PVC conduit pipe concealed in the wall, 14 SWG copper PVC coated Earth continuity wire, and approved quality, piano type switch ceiling rose/angle/batten holder as per approved sample on 3mm thick phenolic laminated akelite sheet etc. of matching shade with wall colour complete in all respect CSI NO.21.01 | BI01010001010000000000000515BI0100001119172 | 4 | Nos | 520 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
48 | Wiring point for two way light with 1.5 sq. mm FR PVC insulated multistrand single core copper conductor cable in PVC conduit pipe concealed in the wall, 14 SWG copper earth continuity wire and two numbers two ways approved quality piano type switches & ceiling rose/angle/batten holder as per approved sample on 3 mm thick phenolic laminated bakelite sheet etc. of matching shade with wall colour complete in all respects, as per direction of E/I. CSI No. 21.02 | BI01010001010000000000000515BI0100001119173 | 8 | Nos | 657 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49 | Wiring point for fan/fresh air fan (light duty exhaust fan) 1.5 sq. mm FR PVC insulated multistrand single core copper conductor cable PVC conduit pipe concealed in the wall, 14 SWG copper earth continuity wire and approved quality, piano type switch & ceiling rose as per approved sample on 3mm thick phenolic laminated backelite sheet etc. of matching shade with wall colour complete in all respects as per direction of E/I. CSI NO.21.03 | BI01010001010000000000000515BI0100001119174 | 3 | Nos | 596 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
50 | Wiring point for plug with 1.5 sq. mm FR PVC insulated multistrand single core copper conductor cable in PVC conduit pipe concealed in the wall 14 SWG copper earth continuity wire and approved quality type switch and socket as per approved sample etc. of matching shade with wall colour complete in all repects as per direction of E/I. CSI NO.21.04 | BI01010001010000000000000515BI0100001119175 | 5 | Nos | 278 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
51 | S/F of 6/10/16/20/25/32 Amp. MCB of approved make and as per sample approved by E/I (10KA) CSI No. 21.18 | BI01010001010000000000000515BI0100001119176 | 12 | Nos | 160 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
52 | S/F power plug 15 amp./250 volts flush type switch and 5 pin 15 Amp. 250 volts flush type Universal socket suitable in M.S. box of 175mm x 100mm x 50 mm size with sun-mica top sheet 3 mm thick mounted with cup washers and machine brass screws. (Anchor or SSK make). CSI No. 21.20 | BI01010001010000000000000515BI0100001119177 | 5 | Nos | 276 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
53 | Dismentalling and resoling brick on edge / intrlocking tile floor with existing old bricks/tile laid dry joints filled with sand including preparation of base to proper slope and camber, its ramming including supply of labour, T&P etc. (Labour only) CSI No. 22.03 | BI01010001010000000000000515BI0100001119178 | 50 | sqm | 138 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
54 | Supply and fixing 4 mm thick glass panes of Saint Gobain/Modi with putty & brads of approved make and quality as per sample including supply of all materials, labour and T&P etc. required for proper completion of the work . CSI No. 22.06 | BI01010001010000000000000515BI0100001119179 | 8 | Sqm | 540 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
55 | Scraping and cleaning old white wash, colour wash, cement wash or snowcem etc. with wire brush, sand paper etc. including disposal of refuse as directed by the Engineer-in-charge within a distance of 60 metres including cost of all labour, T&P etc. required for proper completion of work. CSI No. 22.16 | BI01010001010000000000000515BI0100001119180 | 500 | Sqm | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
56 | Thorough cleaning of inspection chamber including disposal of waste outside the corporation area including removing septic tank cover and refixing cover in its position as per direction of the E/I including cost of all labour, T&P etc. required for proper completion of work. CSI No. 22.20 | BI01010001010000000000000515BI0100001119181 | 1 | Nos | 250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
57 | Disposal of rubbish/debris outside the corporation area as per direction of Engineer in-charge including cartage labour and T&P etc. required for proper completion of the work. CSI No. 22.22 | BI01010001010000000000000515BI0100001119182 | 2 | Per cart | 300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
58 | Cleaning of existing water supply pipe line of different dia ranging from 50 mm to 100 mm dia including digging trench and opening of pipes thorough cleaning of pipes, cutting, threading if required fixing and refilling of digged trenches including making good the road as directed by the Engineer-in-charge including supply of all labour and T&P etc. required for proper completion of the work. CSI No. 22.36 | BI01010001010000000000000515BI0100001119184 | 10 | RM | 30 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
59 | Thorough cleaning of PVC Tank upto capacity of 1000 litres with bleaching powder and rubbing inside surface of OHT with jute and wire brush including cleaning and washing the surface with water including operation of tubewell and valves if required as per direction of E/I including cost of all materials, labour and T&P etc. required for completion of wrok. CSI No. 22.38 (B) | BI01010001010000000000000515BI0100001119185 | 12 | Job | 190 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
60 | Replacing and fixing White glazed earthen ware W.C. ‘ Orissa `Pan (Hindware Cat. No.20042) 580 mm size of approved sample including cost of all materials, labour and T&P etc completion including dismentling of broken Pan and its disposal out side corporation area. CSI No. 22.39 | BI01010001010000000000000515BI0100001119186 | 1 | Nos | 2000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
61 | S/R of bakelite angle holder of SSK or equivalent make of approved quality including cost of all labour material, T&P etc. required for proper completion of the work. CSI No. 22.51 | BI01010001010000000000000515BI0100001119187 | 5 | Nos | 42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
62 | S/R of Piano type switch 6 Amp 250 volt of Havells or equivalent make of approved quality including cost of all labour material, T&P etc. required for proper completion of the work. (A) Without frame CSI No. 22.52 (A) | BI01010001010000000000000515BI0100001119188 | 5 | Nos | 36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
63 | S/R of Piano type switch 16 Amp 250 volt of Havells or equivalent make of approved quality by E/I. including cost of all labour material, T&P etc. required for proper completion of the work. (A) Without frame CSI No. 22.55 (A) | BI01010001010000000000000515BI0100001119189 | 5 | Nos | 90 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
64 | S/R switch socket combined 2/3 pin 16 Amp 250 volt of Havells or equivalent make of approved quality by E/I. including cost of all labour material, T&P etc. required for proper completion of the work. CSI No. 22.56 (A) | BI01010001010000000000000515BI0100001119190 | 5 | Nos | 95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
65 | S/R of regulator Mechanical type for ceiling fan of GEC or equivalent make including cost of all labour material, T&P etc. required for proper completion of the work. CSI No. 22.60 (A) | BI01010001010000000000000515BI0100001119191 | 2 | Nos | 95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
66 | S/F of 5 to 20 Amp MCB 9KA / 10 KA of Havells or equivalent make of approved quality by E/I including cost of all labour material, T&P etc. required for proper completion of the work. CSI No. 22.63 | BI01010001010000000000000515BI0100001119192 | 2 | Nos | 158 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
67 | Supply and fixing of spiral type CFL tubes 11W to 15W of PHILIPS or equivalent make of approved sample and make as per direction ofEngineer-in-charge CSI No. 22.68 (A) | BI01010001010000000000000515BI0100001119193 | 2 | Nos | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
68 | Supply and fixing CP Brass bib cock 15 mm dia heavy quality CAT 0010(Royal) Sonata or equivalent make including supply of all materials labour .T&P etc. required for the proper complittion of the work. CSI No. 24.20 | BI01010001010000000000000515BI0100001119197 | 1 | Each | 1028 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
69 | Supply and fixing of 15 mm dia C.I /PVC bib-cock including supply of all materials labour. T&P etc. required for the proper completion of the work. CSI No. 24.25 | BI01010001010000000000000515BI0100001119198 | 5 | Each | 105 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
70 | Supply and fixing of 15 mm dia C.P. Brass Angle value of heavy quality /Sonata; Coats or equivalent make including supply of all materials labour. T&P etc. required for the proper completion of the work. CSI No. 24.26 | BI01010001010000000000000515BI0100001119199 | 3 | Nos | 805 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
71 | Providing and fixing 15 mm dia C.P. Pillar cock L&K, Sonata (Round)-CAT 0060 Royal or equivalent make including supply of all materials labour. T&P etc. required for the proper completion of the work. CSI No. 24.33 (A) | BI01010001010000000000000515BI0100001119200 | 5 | Nos | 730 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
72 | Providing and fixing P.V.C. connection pipe 300 mm long x 15 mm dia. with brass union including supply of all materials, labour and T & P etc. required for proper completion of work. CSI No. 24.41 | BI01010001010000000000000515BI0100001119201 | 1 | Each | 110 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
73 | Providing and fixing of 110 mm dia PVC pressure pipe (6 Kg/sq.cm.) for water supply mains with specials such as tee, bend socket, elbow etc. including cutting of pipe wherever necessary and including excavation of trenches (450 × 600) mm for laying the pipe line and including its back filling after testing the pipe line including watering, ramming etc. complete including disposal of surplus earth from the site up to 100m as per direction of E/I including supply of all materials labour. T&P etc. required for the proper completion of the work. CSI No. 24.47 (A) | BI01010001010000000000000515BI0100001119202 | 8 | RM | 361 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
74 | Providing and fixing first quality European type white glazed earthen ware seat ISI marked size 450mmx350mm approx. as per approved sample ( Hind ware required design No. 183660 or equivalent make) including 10 litres capacity low levell PVC flushing cistern as per approved sample with all accessories, Plastic seat cover with plastic lid , C.P. brass hinge and rubber buffers, 32 mm dia C.P. flush pipe with union ,C.P. nozzle jet with 15 mm dia PVC connection 600 mm long including supply of all materials, labour, T&P etc. required for proper completion of the work. CSI No. 25.01 | BI01010001010000000000000515BI0100001119203 | 2 | Nos | 5950 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
75 | Providing and fixing white glazed “P” or “S” trap for W.C. pan over minimum 75 mm thick cement concrete in proportion of 1:6:12 including cost of cement concrete, all materials, labour, T&P etc. required for proper completion of the work. CSI No. 25.04 | BI01010001010000000000000515BI0100001119204 | 5 | Each | 575 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
76 | Providing and fixing of Ist quality white glazed earthen ware wash hand basin ISI marked size 510mm x 400mm (Hindware or equivalent make) with R.S. or C.I. brackets, C.P. Brass pillar cock 15mm dia (weight not less than 400 gms) ISI marked, 32mm dia C.P. brass chain with rubber plug, 32mm dia C.P. Brass waste standard pattern with check nut, P.V.C. connection 15 mm dia including cutting and making good the walls and floor including cost of all required materials, labour and T& P etc. required for proper completion of work ( Fittings to be used should be of superior quality as per approved sample ) CSI No. 25.08 | BI01010001010000000000000515BI0100001119205 | 1 | Each | 2150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
77 | Providing and fixing of Ist quality white glazed earthen ware angular urinal basin for corner size 430mm x 370mm x 340 mm or squatting type 450mm x 350mm as per approved sample (Hindware or equivalent make) including C.P. brass union coupling, P.V.C. waste pipe including supply of all materials, labour and T&P etc. required for proper completion of the work.. CSI No. 25.14 | BI01010001010000000000000515BI0100001119206 | 1 | Nos | 1550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
78 | Providing and fixing C.P. Brass soap dish with brackets fixed to wooden cleats with brass screws including supply of all materials, labour, T&P etc. required for proper completion of work. CSI No. 25.23 | BI01010001010000000000000515BI0100001119208 | 2 | Nos | 360 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
79 | Providing and fixing 100mm. dia C.P. grating over Nahani Trap or drain holes including cost of all materials, labour and T & P etc. required for proper completion of the work. CSI No. 25.24 | BI01010001010000000000000515BI0100001119209 | 2 | Nos | 42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
80 | Applying two coat of Dr.Fixit pidicrete URP with cement slurry of one parts of Dr. Fixit pidicrete URP (covering area of URP-2.00 to 2.2Sqm/Kg) and 1.5 parts of cement on Horizontal and vertical damp surface. Before application ,clean the surface with wire brush or scrubber to remove hidden dirt,loose particles,laitance and dust, degrease the surface by using suitable solvent. throughly saturated the surface with potable water but at the time of application water should not be accumulated at any place as per direction E/I including supply of all materials ,labours and T& P etc.required for proper completion of work. CSI No. 26.35 | BI01010001010000000000000515BI0100001119210 | 150 | Per Sqm | 159 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
81 | Clearing jungle including uprooting of rank vegetations , grass ,bush wood and removal of rubbish upto a distance of 50 meters outside the periphery of area cleared. CSI No. 26.36 | BI01010001010000000000000515BI0100001119211 | 26 | Sqm | 70 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
82 | Extraction of defective and choked hand pump and repairing the same by replacing dolchi,glass, rubber washer etc complete to repair the hand pump in all respect. CSI No. 26.66 | BI01010001010000000000000515BI0100001119213 | 2 | Job | 980 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
83 | Finishing walls with 2 coat water proof exterior emulsion paint of ACE (ASIAN) or equivalent brand on already well prepared new wall /Ceiling surfaces over one coat of under coat primer (ICI) followed by One coat of ACE emulsion paint to give an even shade (0940) including thorough washing with water as per direction E/I including cost of all material, labour & T&P required for proper completion of work. NSI | BI01010001010000000000000515BI0100001119326 | 70 | Sqm | 54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
84 | Same as above item no. 83 above but for every additional coat of water proof exterior emulsion ACE paint of approved brand and shade (0940) complete. NSI | BI01010001010000000000000515BI0100001119327 | 250 | Sqm | 22.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information