## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: S.E. EDC SAMBHAL
Name of Work: Replacement of 33 KV & 11 KV VCB, LA/CT, Isolator, Relay and Control Panel etc, along with associated items and Water Level Earthing of Power T/F & Equipments at various 33/11KV Substations and medium powerT/Fs installed at verious location in System Strenthening work (20 Crore Per District) on Semi Turnkey Basis Under EDC SAMBHAL
Contract No: 36/2023-24/EDC SAMBHAL
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE Without Taxes In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT Without Taxes In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Providing of Following Material | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | MS Channel 125x65x6 mm |  | 252 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | MS Angle 75x75x6 mm |  | 207 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | Control Cable 4x2.5sqmm |  | 2000 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | Control Cable 2x2.5sqmm |  | 1000 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | Ligthening Arrestor 33 KV | Ligthening Arrestor 33 KV | 100 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 33KV Bus Isolator 800A | 33KV Bus Isolator 800A | 35 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | Connector for 33KV VCB | Connector for 33KV VCB | 102 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | Connector for 33KV Isolator | Connector for 33KV Isolator | 210 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | Connector for 33KV CT | Connector for 33KV CT | 222 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | PG Clamp for Dog/Panther Conductor | PG Clamp for Dog/Panther Conductor | 168 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Safe cartage of following material from store center to work site with loading, unloading at both points and proper stacking.
2.01 | (a) 33KV Vacuum Circuit Breaker 1250 Amp. |  | 17 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | (b) 33KV Control Panel for Single/Double Transformer |  | 18 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | (c) 11KV VCB, I/C CTR 600/300/5A, 350 MVA, 24 Volt |  | 16 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | (d) 11KV VCB, O/G CTR 200/100/5A, 350A |  | 41 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | (e) 33KV CT, 400/200/1-1-1A |  | 111 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Head load cartage of following material from road to site Upto 0 to 1 Km.
3.01 | (a) 33KV Vacuum Circuit Breaker 1250 Amp. |  | 17 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | (b) 33KV Control Panel for Single/Double Transformer |  | 18 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | (c) 11KV VCB, I/C CTR 600/300/5A, 350 MVA, 24 Volt |  | 16 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | (d) 11KV VCB, O/G CTR 200/100/5A, 350A |  | 41 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | (e) 33KV CT, 400/200/1-1-1A |  | 111 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.06 | Fabrication of M.S channel/Angles |  | 414 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.07 | Dismantling of Old 33KV VCB from structure in substation yard |  | 17 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.08 | Mounting & installation of 33 KV VCB on New structure safely along with all connections and proper earthing |  | 17 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.09 | Dismantling of Old 33KV Control Panel and shifting it to outside in substation premises from Control Room |  | 18 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.1 | Placing of panels on specific place over SGR trench on MS Channels and fixing of Control Panels with nut & bolts |  | 18 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.11 | Laying of Control cable in existing trench and dressing of existing trench |  | 2380 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.12 | Making electrical connection of panels by control wiring complete with VCB, CT etc |  | 18 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.13 | Dismantling of old 11KV VCB from control room and shifting it to outside control room in substation premises |  | 57 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.14 | Mounting & installation of 11 KV Incomer Feeder With Proper earthing of Panel. |  | 16 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.15 | Mounting & installation of 11 KV O/G feeder With Proper earthing of Panel. |  | 41 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.16 | Dismantling of old 33 KV Isolator from structure |  | 35 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.17 | Mounting & installation of 33KV Isolator complete by assembling, fixing of operation handle, pins etc for smooth operation of the isolator |  | 35 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.18 | Dismantling of old 33 KV CT from structure |  | 111 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.19 | Mounting & installation of 33 KV CT with Proper connections |  | 111 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.2 | Mounting & installation of 33KV Lightening Arrestor by replacing existing LA |  | 100 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.21 | Erection of 33KV Fuse Set |  | 5 | Job. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.22 | Installation of Battery charger along with battery set in control room |  | 8 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Earthing of Equipments
4.01 | Supply and erection of Water Level Delta earthing by boring and lowering by providing GI Pipe size 40 mm dia in to the ground up to water level or minimum 60 ft with GI strip with size (50x6 mm) for power transformer. |  | 48 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | Supply and erection of Water Level earthing by boring and lowering by providing GI Pipe size 40 mm dia in to the ground up to water level or minimum 60 ft with GI strip with size (40x6 mm) for Control pannel, incoming VCB, RT-DAS Pannel, Power Transformer Body earthing. |  | 150 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | Supply and erection of Water Level earthing by boring and lowering by providing GI Pipe size 40 mm dia in to the ground up to water level or minimum 60 ft with GI strip with size (40x6 mm) for Distribution transformer. |  | 700 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Back Cartage along with loading, unloading of dismantled following items from working site to store center
5.01 | (a) 33KV Vacuum Circuit Breaker 1250 Amp. |  | 17 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | (b) 33KV Control Panel for Single/Double Transformer |  | 18 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | (c) 11KV VCB, I/C CTR 600/300/5A, 350 MVA, 24 Volt |  | 16 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | (d) 11KV VCB, O/G CTR 200/100/5A, 350A |  | 41 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | (e) 33KV CT, 400/200/1-1-1A |  | 111 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Supply of Vaccum Interrupter Make CGL, Stelmec, Pascal, Yamuna, ABB etc. |  | 54 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Supply of 33 KV Control Panel Numeric Relay. |  | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Supply of 11 KV Numeric Relay. |  | 70 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information