## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Urban Distribution Circle, Saharanpur
Name of Work: Lora= iks"kd ls iw.kZ tek ;kstuk ds vUrxZr 250 ds0oh0,0 okf.kT; Hkkj fuxZr djus dk dk;ZA
Contract No: ET No. 14/W/EUDC/SRE/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Safe Carriage upto 13 mtr long steel pole from PVVNL, Store/ works place/ dump store/33kv S/S place to site including loading & unloading both ends. |  | 95 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.2 | Safe carriage of line material from PVVNL, Store/ work place/ dump store/ 33kv S/S place to site including loading & unloading at both ends. |  | 7.5 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.3 | Safe carriage of 11kv XLPE cable upto 3x300 sqmm from PVVNL, Store/ work place/ dump store/ 33kv S/S plae to site including loading & unloading both ends. |  | 100 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.4 | Safe carriage of 11kv XLPE cable upto 3x70 sqmm from PVVNL, Store/ work place/ dump store/ 33kv S/S plae to site including loading & unloading both ends. |  | 400 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.5 | Safe carriage of 11kv CT/PT unit 20/5 from PVVNL, Store to site of work including including loading & unloading both ends. |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.6 | Safe crriage of 11kv metering cubical 20/5 from PVVNL, Store to site of work including loading & unloading both ends. |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.7 | Safe carriage of 11kv VCB incoming/outgoing from PVVNL, Store to site of work including loading & unloading both ends. |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.8 | Errection of upto 13 mtr. Long steel double pole support with proper alignment & upto depth of one sixth of length of pole. |  | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.9 | Errection of 11 mtr. Long single pole support with proper alignment & upto depth of one sixth of length of pole. |  | 87 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Fixing of stay rod size 16x1800 mm by digging pit and fixing of stay rod as per norm. |  | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.1 | Stringing, nuzzling, binding of stay wire with clamp on pole and stay rod as per sample. |  | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | Grouting of stay rod size of 16x1800mm in Ratio 1:4:8 cement, send & brick ballast including linting and nuzzling of stay complete work as per Respo. |  | 20 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.3 | Laying stringing and sagging of ACSR Dog conductor including binding and jumpering. |  | 8200 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.4 | Providing & fixing of holding clamp with Nut Bolts for ST poles made by new MS angle 50x6mm as per Respo. |  | 314 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.5 | Fixing of Top channel/dropper channel/substation Angle, T-off & angle channel arm. |  | 198 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.6 | Grouting of pole as per Respo. |  | 95 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.7 | Construction of pole plinth of size 45x45x30cm in ratio 1:4:8 cement send and concrete as per Respo. |  | 95 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.8 | Earthing of pole with help of earth rod. |  | 95 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.9 | Making of section in 11kv line including proper binding and jumpering. |  | 7 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | Installation of 11kv metering cubical at the meter room including making the chair by MS angle with grouting. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.1 | Installation of 11kv CT/PT combind unit on the double pole with complete connection. |  | 3 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.2 | Digging of Trench 0.5mtr. Width and 1 mtr. Deep and laying of 11kv XLPE cable upto 3x70 sqmm sperading the send & placeing the bricks top of cable back felling the trench properly. |  | 180 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.3 | Filling of outdoor/indoor type cable jointing kit complete in all respect. |  | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.4 | Installation of 11kv incoming and outgoing VCB in the control room of 33/11kv S/S Manakmau in proper alingment. |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.5 | Earthing of VCB in control room with existing earthing system. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.6 | Earthing of metering cubical CT/PT by boaring & fixing of 40deep G.I. pipe if class 'B' 1 1/4" dia and connected with G.I. strip of size 30x5mm including providing required char coel & salt. (A)11kv metering cubical |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.7 | (B) 11kv CT/PT combined unit. |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.8 | Gaurding of 11kv line with the help of G.I. wire. |  | 90 | Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.9 | Supply and fixing of Danger board plate with clamp and Nut/bolts on the poles. |  | 95 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | Supply and fixing of number plate with clamp and Nut/bolts on the poles. |  | 95 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.1 | Supply fixing and clamping of G.I pipe 150mm dia 02 mtr. Height. |  | 8 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.2 | Supply and fixing of barbed wire on the poles. |  | 95 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information