## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Workshop Circle, Meerut | [54 empty] | Bought Out
Name of Work: (i) Supply MS Pipe band (J Type), ID 18mm, OD 21mm, weight about 200 gm, suitable for Silica gel breather of Transformer. Conforming to Relevant IS with Latest Amendment and as per approved Drawing and G.T.P. (ii) Supply of HV Bushing Ring Clamp with four nos. hole made of 1mm thick Steel sheet suitable for HV side Bushing for repairing of Distribution Transformers of Capacity 10 KVA to 1000 KVA and as per Drawing, approved G.T.P and Sample.(iii) Supply of Member made of Aluminium suitable for 11 KV HT Bushing Ring Clamp for repairing of Distribution Transformers of Capacity 10 KVA to 1000 KVA and as per Drawing G.T.P and Sample.(iv) Supply of GI Hexagon Bolts with Nuts of the Size 10mm Ø x 65mm with suitable nut and 2 Nos. washers suitable for Repairing of Distribution T/F as per IS 1364 (2002) with latest Amendment and as per approved Drawing & G.T.P.(v) Supply of Hexagon Bolts with Nuts and washers of different sizes suitable for Repairing of Distribution T/F in following sizes as per IS 1364 (2002) and as per approved Draawing & G.T.P. | [54 empty] | Direct
Tender Reference No : S.T. E- T.No. 55/E. Workshop C./MRT/ 2023-24 | [54 empty] | Quote for Supply Portion only
Bidder Name : | [54 empty] | Quote for Erection Portion only
PRICE BID 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Unit Ex-Works Price and GST in %age only. 3. Above Schedule Structure and quantities is provisional and may vary as per site requirement. 4. Indicative scope of works and quantity of Items/Materials required for above work shall be as per the Price Bid. Any other material if required to complete the job and not mentioned above, shall have to be provided by the bidder without additional cost. 5.Supply order/Contract will be awarded on basis L-1 Rates of Tendered items of the tender (in Condition Tendered material item is not a sub part of other tendered item) on the discretion of SE, EWC, Meerut. 6. Tenderer must be fill-up the enclosed terms & conditions sheet and attached with 1st Part of Tender as well as scanned copy of same will be uploaded on NIC Website alongwith other documents. 7. Bidders must be filled up the GST in %age, Otherwise G.S.T. rates will be included in the given basic rates.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Description of Works | Item Code | Tendered Quantity | Unit | Estimated Rate | Bought-out /Direct | Specify Bought-out /Direct | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Ex-Works Price (Rs./unit) | Excise Duty (Rs/Unit) | CST/VAT (Rs/Unit) | Other Taxes & Duties (Rs/Unit) | Freight & Insurance Charges (in Rs./Unit) |  |  | Unit FOR Dest. Supply Price incl. all Taxes and Duties (in Rs./Unit) (F+G+H+I+J) | Total Value for work (In Rs.) (C x F) | GST (in %age) | Total Value for GST (in Rs.) (13*22/100) |  |  | Total Unit Price incl. GST (in Rs.) (13+23) | [26 empty] | Total Amount excl. GST (in Rs.) (4 x 13) | Total Amount incl. GST (in Rs.) (4 x 26) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply MS Pipe band (J Type), ID 18mm, OD 21mm, weight about 200 gm, suitable for Silica gel breather of Transformer. Conforming to Relevant IS with Latest Amendment and as per approved Drawing and G.T.P. | item5 | 8000 | Nos. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
2 | Supply of HV Bushing Ring Clamp with four nos. hole made of 1mm thick Steel sheet suitable for HV side Bushing for repairing of Distribution Transformers of Capacity 10 KVA to 1000 KVA and as per Drawing, approved G.T.P and Sample. | item6 | 20000 | Nos. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
3 | Supply of Member made of Aluminium suitable for 11 KV HT Bushing Ring Clamp for repairing of Distribution Transformers of Capacity 10 KVA to 1000 KVA and as per Drawing G.T.P and Sample. | item7 | 80000 | Nos. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
4 | Supply of GI Hexagon Bolts with Nuts of the Size 10mm Ø x 65mm with suitable nut and 2 Nos. washers suitable for Repairing of Distribution T/F as per IS 1364 (2002) with latest Amendment and as per approved Drawing & G.T.P. | item8 | 2500 | Kg. | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
5 | Supply of Hexagon Bolts with Nuts and washers suitable for Repairing of Distribution T/F in following sizes as per IS 1364 (2002) and as per approved Draawing & G.T.P.
5.01 | Hexagon MS Bolt of size 10mm Ø x 30mm with suitable nut and 1 No. suitable washer. | item9 | 3500 | Kg | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
5.02 | Hexagon MS Bolt of size 12mm Ø x 40 mm with suitable nut and 1 No. suitable washer. | item10 | 1000 | Kg | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [10 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 | #VALUE!
Total in Figures | [21 empty] | 0 |  |  | 0 | [26 empty] | 0 | 0 |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information