## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M udqM ds dk;Z{ks= es iw.kZ tek ;kstuk ds vUrxZr vf/k’kklh vf/kdkjh uxj ikfydk ifj”kn udqM ds;j vkQ Jh Hkwijke oekZ iq= Jh jktkjke lkbV udqM esa 45 fdyks okV MfEiax ;kMZ gsrq ,ao eS0 dksxks bZdks VSd lksY;w’ku izk0fy0 ds;j vkWQ Jh jkts’k iq= Jh ,e0,u0 pkS/kjh lkbZV ekS0 xks;u rhrjkss dLck o rglhy udqM esa 10 fdyks okV dk l;ksatu fuxZr gsrq dk;ZA
Contract No: 87/W/EDC-II/SRE/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely carriage of PCC/ST poles (up to 11 Mtr. long) from ESC, SRE Store to site of work including loading & unloading at both ends. |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriage of other complete line material (except PCC/ST pole )from ESC, SRE store to site of work including loading, unloading at both ends. |  | 2 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Grouting of ST Pole after digging of pits in block 16x1800mm in ratio 1:4:8 with Ist class brick, good quality sand, cement & ballast. |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Safely carriage of 25 /63KVA T/F from ESC, SRE Store to site of work including loading & unloading at both ends. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.05 | Erection of single support on PCC/ST poles (up to 11 Mtr. long) with complete fitting of all accessories of 11 KV/LT line as per RESPO Specification. |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Erection of Double Pole on PCC/ST poles (up to 11 Mtr. long) with complete fitting of all accessories complete. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Safely carriage of 11 KVA XLPE Cable (3x70)sq.mm.(80 MTR) from ESC, SRE/JE Store to site of work including loading & unloading at both ends. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Grouting of 11 KV stay rods by digging of pits in block of 600X600X300 mm. in ratio 1:4:8 with Ist class brick, good quality sand, cement & ballast with nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 7 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Earthing of poles by earthing rod completely. |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providing & fixing of double Pole clamp on ST poles with nuts bolts made of new MS flat iron 50x6 mm ST poles as per RESPO Specification. |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.11 | Providing of nut and bolts. |  | 20 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing of X-arm holding clamp for ST poles |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Providing and fixing F- clamp. |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Providing and fixing ABC Holding Clamp |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing and fixing J-Hook. |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Providing of Round pole holding clamp. |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Providing and fixing stay-clamp |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Laying, lifting, Stringing, sagging & jumpring with binding of ACSR Rabbit Condutor for 11KV Line as per RESPO Specification including complete. |  | 1100 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Laying, lifting, Stringing, Proper sagging 11 KV XLPE Cable size (3x70)sqmm.including fixiing of all accessories |  | 80 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | safe installation of 25/63 KVA T/F on the bouble pole with complete fitting including making connections and commissioing |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | off shooting of tree branching of 11 KV/LT Line |  | 80 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information