## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work: fo¦qr forj.k [k.M f}rh;] lgkjuiqj ds vUrxZr fo¦qr forj.k mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z{ks= esa iw.kZ tek ;kstuk ds vUrxZr eq[; ifj;kstuk izcU/kd] xfr ‘kfDr bdkbZ jsyos] ubZ fnYyh ds vuqjks/k ij 11 ds0oh0 Vijh QhMj dh ykbZu ,oa Mcy iksy ¼63 ds0oh0 ifjorZd½ lkbZV xzke Vijh vMMk ¼fudV Vijh jsyos LVs’ku½ dks LFkkukUrfjr djus dk dk;ZA
Contract No: 14/W/EDC-II/SRE/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )Inclusive of GST
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Inclusive of GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT Inclusive of GST | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Supply of G.I. Pipe 150mm or 6'' dia Class B |  | 32 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.02 | Supply of HDPE Pipe 150mm or 6'' dia |  | 200 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | Supply of 11 KV heat shrinkable J/kit O/D of size 3x120 sq mm. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Supply of Stone Ped 300x300x75 |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Supply of clamp of various size made of MS flat size 50x5 mm.for ST poles |  | 30 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Supply of MS nuts & bolts & washers off size |  | 6 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Safely carrige of ST poles11 Mtr. long from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | Safely carrige of other complete line material (Except ST Poles & XLPE cable) from ESC, SRE /JE store to site of work at various sites including loading, unloading at both ends. |  | 1 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.09 | Safely carrige of 11 KV XLPE cable of size 3x120 sq mm. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends. |  | 260 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.1 | Erection of Double support on ST poles 11 Mtr Long with complete fitting with all accessories. with fixing of Stone Pad bottom the Pole. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Concreting of stay rod in ratio 1:4:8 with Ist class brick ballast with cement, sand. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Earthing of poles by earthing rod. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Fixing of 11 KV TPMO set on double pole. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Fixing of 11 KV Fuse set on double pole. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV Line including complete fiting. |  | 100 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Concreting of ST poles SP-55, 11 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Camical Earthing of 63 KVA T/F 3 Mtr. deep & fixing of 3 Mtr..G.I. Pipe 1½" Dia ( Jindal class B ) and connecting with MS Strip of size 25X4 mm to the T/F |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.19 | Drilling the earth under Road crossing & Railway station campus 1.5 mtr. Deep and laying of 2 No. Parallel HDPE pipe 150 mm dia at 0.5 meter distance by drill machine. |  | 200 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Laying of 11 KV XLPE cable 3X120sq mm in the 2 No. parallel row of equidistance of half meter of HDPE pipe of size 150 mm dia. |  | 260 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Installation of GI Pipe 150 mm dia meter along with D/P and laying cable in G.I pipe and fixing the and terminal kits with jumpring as per site condition |  | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 120 sqmm of outdoor side. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Removal of 63 KVA T/F from the existing D/P after opening HT & LT connection and shifting the T/F at new site. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Safe installation of 63 KVA T/F on the new double pole with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Dismantle of existing Line after opening of all accessories ( ACSR Allumium Scrap & Iron Scrap) and shifting the ESC, SRE/J.E store including loading and unloading at both ends. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information