# PVVNL-MT/COM/07(s)/22-23

SCHEDULE OF GUARANTEED TECHNICAL PARTICULARS FOR 11 KV CT

.

| Sl No. | Guaranteed Particulars | Offered by the Firm |
| --- | --- | --- |
| 1. | Name of Manufacturer |  |
| 2. | Manufacturers Type |  |
| 3. | Name of the resin employed in manufacturing of C.T. |  |
| 4. | Rated voltage |  |
| 5. | Rated Primary current. |  |
| 6. | Rated Secondary current. |  |
| 7. | Rated secondary output. |  |
| 8. | Class of Accuracy. |  |
| 9. | Instrument security factor. |  |
| 10. | Short Time Current Rating |  |
| 11. | Rated Continuous thermal current (also indicate temperature rise over ambient temperature). |  |
| 12. | Rated dynamic current (Peak). |  |
| 13. | Power frequency (Dry withstand test voltage) one second. Primary |  |
| 14 | Power frequency (Dry withstand test voltage) one second on Secondary |  |
| 15 | Weight of Core of C.T (in Kg) |  |
| 16 | Material of core |  |
| 17 | Weight of copper in CT primary (in kg) |  |
| 18 | Weight of copper in CT secondary (in kg.) |  |
| 19 | Cross sectional of primary (sq. mm) |  |
| 20 | No. of primary turns |  |
| 21 | CT primary conductor size (mm) |  |
| 22 | Cross sectional area of secondary (sq. mm) |  |
| 23 | CT secondary conductor size(mm) |  |
| 24 | No. of secondary turns |  |
| 25 | Power frequency withstand voltage on secondary. |  |
| 26 | Secondary Limiting Voltage. |  |
| 27 | 1/50 ms impulse withstand test voltage |  |
| 28 | Power frequency dry withstand test voltage |  |
| 29 | Secondary winding resistance of CT |  |
| 30 | Total Weight. |  |
| (a) | Overall dimensions: |  |
| (b) | Length. |  |
| (c) | Width. |  |
| (d) | Height. |  |
| (a) | Overall dimensions: |  |
| (b) | Length. |  |
| (c) | Width. |  |
| (d) | Height. |  |
| 32. | The C.T of the offered Design Should have been type tested during last five years from the date of Opening of it should be indicated that when and where were they type tested |  |
| 33. | Details if test reports (to be enclosed with the tender with the tender with Part-II) |  |