## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of 11KV Line Niramn and Bifurcation Business Plan Scheme 2024-25 Part-2 in the Area of EE, EUDD-I, EUDD-III and EUDD-IX Ghaziabad. Under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 20/2024-25/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of 11 kvXLPE Cable 3x300 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 70 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 11 kvXLPE Cable 3x185 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 5570 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of HDPE Pipe 120 mm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 1585 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of 11 kvXLPE Cable 3x120 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 430 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of 11KV VCB 200/100/5A(1250Amp) from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Carriage of GI Pipe 6" Dia from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 89 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Carriage of ST Pole 11 MTR Long SP-55 from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001119 | 39 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Carriage of 11 KV XLPE 3x70sqmm Al.Cable from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 90 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Carriage of ACSR Dog Conductor from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 2688 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Carriage of line material as per site requirement:- 11 kv O/D cable Jointing Kit 3x300 sqmm- 2 Nos, 11 kv O/D cable Jointing Kit 3x120 sqmm- 8 Nos, 11 kv O/D cable Jointing Kit 3x185 sqmm- 44 Nos, 11 kv I/D cable Jointing Kit 3x185 sqmm- 4 Nos, 11 KV XLPE 3x185sqmm Al. Cable J/Kit S/T- 16 Nos, 11KV XLPE 3x70 sqmm Al. Cable J/Kit O/D- 2 Nos...etc.. from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Carriage of line material as per site requirement:-11KV Fuse Set- 1 Nos, 11KV Polymeric Pin Insulator- 99 Nos, 11KV Pin with Nut- 9 Nos, MS Channel SET- 2 Nos, 11 KV Stay Set 16x1800 mm- 12 Nos, Stay Wire 3.15 mm 7/10 SWG- 60 Kg, 11KV Polymeric Disc Insulator 45KN- 9 Nos, 11KV Disc Fitting 45KN- 9 Nos, MS Earthing ROD 6 SWG Earthing wire- 33 Nos, 11 KV Comp. Poly. Disc Insulator 45KN T&C- 39 Nos, Stay Complete- 5 Nos, 11KV X-ARM- 13 Nos, T-Off Channel 100x50- 270 Kg, GI Wire 6mm SWG- 133 Kg, GI Wire 8mm SWG- 285 Kg, MS Channel 125x75x6mm- 230 Kg...etc.. from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Erection of ST Pole 11 Mtr long long complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 23 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Providing and Grounting/Concreting of Pole complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 39 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Construction of 11 KV Double Pole (Rajnagar-2 Feeder no-5 and Rajnagar-1 Feeder no-1) complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 8 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Laying/Lifting/sagging of ACSR Dog Conductor (Bapudham B-Block 11KV Feeder no-7 and Bapudham D-Block 11KV Feeder no-7) complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 2688 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Laying of 11 kvXLPE Cable 3x300 sqmm (Udyog Kunj 33/11KV I/C-2 add Circuit) complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 70 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Laying of 11 kvXLPE Cable 3x185 sqmm open cut with sand and brick- 350 Mtr and Loop riser- 90 mtr …etc (Udyog Kunj Feeder Bifurcation) complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 440 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Laying of 11 kvXLPE Cable 3x185 sqmm Trunchless/Drilling- 3130 Mtr and Loop riser- 270 mtr…etc (Rajnagar-2 Feeder no-5) with Road Cutting & Restoration Charge Nagar Nigam Permission complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 3400 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Laying of 11 kvXLPE Cable 3x185 sqmm Trunchless/Drilling- 1070 Mtr and HDPE Pipe 120 mm (HDPE Carriage from Store)- 1020 Mtr Loop riser- 150 mtr…etc (Rajnagar-1 Feeder no-1) with Road Cutting & Restoration Charge Nagar Nigam Permission complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 1220 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Laying of 11 kvXLPE Cable 3x185 sqmm Trunchless/Drilling- 380 Mtr and HDPE Pipe 120 mm (HDPE Carriage from Store)- 380 Mtr Loop riser- 130 mtr…etc (EUDD-III GZB) with Road Cutting & Restoration Charge- 40 mtr complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 510 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Laying of 11 kvXLPE Cable 3x120 sqmm open cut with sand and brick- 115 Mtr and HDPE Pipe 120 mm (HDPE Carriage from Store)- 115 Mtr Loop riser- 35 mtr…etc (Udyog Kunj 33/11KV I/C-2 add Circuit) complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 150 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Laying of 11 kvXLPE Cable 3x120 sqmm Trunchless/Drilling- 160 Mtr and Loop riser- 120 mtr…etc (Bapudham D-Block 11KV Feeder no-7) complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 280 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Laying of 11 KV XLPE 3x70sqmm Al.Cable Trunchless/Drilling- 70 Mtr and HDPE Pipe 120 mm (HDPE Carriage from Store)- 70 Mtr Loop riser- 20 mtr…etc (RDC Feeder-5 Devika Chamber) with Road Cutting & Restoration Charge Nagar Nigam Permission complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 90 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | High Pressure of Cable at (Rajnagar-2 Feeder no-5 and Rajnagar-1 Feeder no-1) complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 4 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Fixing/Installation of GI Pipe 6" Dia at site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 89 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Safely placing/Fixing & Commissioning 11KV VCB 200/100/5A(1250Amp) at site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Fixing/Installation line material as per site Requirement:- 11 kv O/D cable Jointing Kit 3x300 sqmm- 2 Nos, 11 kv O/D cable Jointing Kit 3x120 sqmm- 8 Nos, 11 kv O/D cable Jointing Kit 3x185 sqmm- 44 Nos, 11 kv I/D cable Jointing Kit 3x185 sqmm- 4 Nos, 11 KV XLPE 3x185sqmm Al. Cable J/Kit S/T- 16 Nos, 11KV XLPE 3x70 sqmm Al. Cable J/Kit O/D- 2 Nos ...etc.. at work Site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Fixing/Installation line material as per site Requirement:- 11KV Fuse Set- 1 Nos, 11KV Polymeric Pin Insulator- 99 Nos, 11KV Pin with Nut- 9 Nos, MS Channel SET- 2 Nos, 11 KV Stay Set 16x1800 mm- 12 Nos, Stay Wire 3.15 mm 7/10 SWG- 60 Kg, 11KV Polymeric Disc Insulator 45KN- 9 Nos, 11KV Disc Fitting 45KN- 9 Nos, MS Earthing ROD 6 SWG Earthing wire- 33 Nos, 11 KV Comp. Poly. Disc Insulator 45KN T&C- 39 Nos, Stay Complete- 5 Nos, 11KV X-ARM- 13 Nos, T-Off Channel 100x50- 270 Kg, GI Wire 6mm SWG- 133 Kg, GI Wire 8mm SWG- 285 Kg, MS Channel 125x75x6mm- 230 Kg ...etc.. at work Site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Supply & Fixing/Installation MS Holding Clamp at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001114 | 122 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Supply & Fixing/Installation Nut & Bolts Off Size at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001115 | 107 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Supply & Fixing/Installation Danger Board with Clamp at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001116 | 8 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Supply & Fixing/Installation Stone Pad at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001117 | 23 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Providing/ Errection Concreating of Stay at various site complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | All other works complete in all respect as per estimate requirement. | BI01010001010000000000000515BI0100001114 | 9 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information