## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of Installation of new VCB/CTPT/Fuse Set at various site Under Business Plan Scheme 2024-25 Part-2 in the Area of EE, EUDD-I, EUDD-V and EUDD-IX Ghaziabad under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 25/2024-25/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of 33KV Fuse Set from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 33KV CT 400/200/1A from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of 11 KV VCB I/C CTR 600/300/5A 350 MVA 24V from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of 11 KV VCB O/G CTR 200/100/5A 350 MVA 24V from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 11 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of 33 KV VCB 800A, 750MVA from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Carriage of 33 KV VCB 1250A from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Carriage of 33 KV Control Pannel for Singl Feeder from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001119 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Carriage of 33 KV Control Pannel for Double Transformer from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Carriage of Control Cable 2x2.5 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 200 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Carriage of Control Cable 4x2.5 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 200 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Carriage of 11 KV Bus Coupler from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Dismantling of Old and Used 33KV CT 400/200/1A and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001118 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Dismantling of 33KV VCB Old and Used and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001114 | 400 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Dismantling of Old and Used/Dameged 11 KV VCB I/C CTR Scrap and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001115 | 320 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Dismantling of 11 KV VCB I/C CTR 600/300/5A 350 MVA 24V and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001116 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Dismantling of 11 KV VCB O/G CTR 200/100/5A 350 MVA 24V and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001117 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Dismantling of 11 KV Bus Coupler and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001118 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Dismantling of Old and Used/Dameged 11 KV VCB O/G CTR Scrap and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001119 | 640 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Safely placing/Fixing & Commissioning 33KV Fuse Set at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Safely placing/Fixing & Commissioning 33KV CT 400/200/1A at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Safely placing/Fixing & Commissioning 11 KV VCB I/C CTR 600/300/5A 350 MVA 24V at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Safely placing/Fixing & Commissioning 11 KV VCB O/G CTR 200/100/5A 350 MVA 24V at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 11 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Safely placing/Fixing & Commissioning 33 KV VCB 800A, 750MVA at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Safely placing/Fixing & Commissioning 33 KV VCB 1250A at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Safely placing/Fixing & Commissioning 33 KV Control Pannel for Singl Feeder at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Safely placing/Fixing & Commissioning 33 KV Control Pannel for Double Transformer at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Safely Laying/Liftting/Sagging/Jumpering/Fixing Control Cable 2x2.5 sqmm at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 200 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Safely Laying/Liftting/Sagging/Jumpering/Fixing Control Cable 4x2.5 sqmm at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 200 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Safely placing/Fixing & Commissioning 11 KV Bus Coupler at work site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Providing & Fixing Earthing for VCB up to Water Level at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | All other works complete in all respect as per site requirement. | BI01010001010000000000000515BI0100001114 | 5 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information