## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work: For the work of RMU (Installation work EUDD-I, EUDD-III and EUDD-V) at various site Under Business Plan Scheme 2024-25 Part-2 in the Area of EE, EUDD-I, EUDD-III and EUDD-V Ghaziabad under the jurisdiction of SE, EUDC-I, Ghaziabad
Contract No: 27/2024-25/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | work of RMU (Installation work EUDD-I, EUDD-III and EUDD-V) work at various site Under Business Plan Scheme 2024-25 Part-2 in the Area of EE, EUDD-I, EUDD-III and EUDD-V Ghaziabad. | Laying, sagging, stringing, binding and jumpering etc of ACSR dog conductor on the newly erected pole and existing pole as per RESPO manual required for proper completion of work | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Carriage of 11 KV 3X185 sqmm. XLPE Cable from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (A) ACSR Weasel, Racoon & Dog Conductor | 4050 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Carriage of 11 KV 3X185 sqmm. Cable Box O/D from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (B) 11 KV/ LT. ABC Cable | 82 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Carriage of 11 KV 3X185 sqmm. Cable Box I/D from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | (C) Laying of 11 KV XLPE Cable in Trench | 76 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Carriage of line material as per site Requirement:- 11 KV Disc Insu. 45 KN-18 Nos, 11 KV Disc Fitting 45 KN- 12 Nos, 11 KV Pin Insulator- 3 Nos, ST Pole 11 Mtr Long- 1 Nos, ACSR Dog Conductor- 90 Mtr, MS Channel- 770 Kg ...etc... from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | Making of Guarding of 11· KV line as per RESPO norms | 1 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Carriage of HDPE Pipe 140 mm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 310 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Carriage of HDPE Pipe 120 mm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 1810 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Carriage of GI Pipe 6" Dia from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | Making of Pipe Earthing with GL Pipe 1.25 Inch Dia. as per RESPO manual | 243 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Dismantling/safely proper disconnection of 11 kv RMU 3 Way Old & Used Scrap and Safley carriage from work site to Store center/JE store loading and unloading both side. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 250 | Kg | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Erection of ST Pole11 Mtr Long complete in all respect as per respo Norms. | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 1 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Providing and Grounting/Concreting of ST Pole complete in all respect as per respo Norms. | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 1 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Providing/Complete Construction of Plinth Standard Quality suitable for RING MAIN UNIT at various site complete in all respect as per RESPO norm. | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 14 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Supply & fixing/Complete Installation 12kv 630 Amps 21KA for 3 Sec. SF6 , BIL 28 KV/75 KV peak, extensible, outdoor duty 3-way, fully motorised and manually operated Ring Mains Unit originally manufactured by OEM in its factory only, comprising of 02 load break switch and 01 vaccum circuit breaker consisting of copper busbar in SF6 insulated tank with a provision electromechanical interlock to avoid accidental closure of earthing switch even when cable is in live condition. RMU should be Type Tested for Internal arc of 21 KA for 1 Sec with AFLR classification and gas to be from rear bottom of the switchgear away from the operator to ensure safety of the operating personnel. Suitable Ct 200-50/1 A with microprocessor based numerical over current relay (IDMTL + Inst.) for Protection to be provided with VCB Feeder with right angle boot for termination Kits. All the necessary wirings and Dummy panel/space for FRTU to be given along with RMU for future compatibility with SCADA system (Supply of FRTU is not in scope). Battery, Charger etc. for Motorised Operation of RMU to be provided. The scope is including Plinth/ Angle iron Stand as per OEM design complete in all respect as per the direction of Engineer incharge. Complete RMU and its accessories should be suitable for altitude of 100 mtrs above Sea Level. (Makes: ABB/Siemens/Eaton/Schneider or authorized by UPPCL) at various site complete in all respect as per RESPO norm. | Installation of25 to 100 KV A T/F on DIP complete work. as per RESPO manual | 15 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Providing & Fixing/ Complete Installation Chemical Earthing at various site complete in all respect as per RESPO norm. | Installation of 11 KV CT/PT unit on D/P with fixing of fitting complete work. as per RESPO Manual | 28 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Providing and Complete Fencing Standard qulity Suitable for 3 Way RING MAIN UNIT at various site complete in all respect as per RESPO norm. | Installation of 11.KV Metering cubical in meter room complete work as per RESPO manual | 14 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Cable Laying 3x185 sqmm Trunchless/Drilling with HDPE Pipe 140 mm (HDPE Carriage from Store)- 310 Mtr and Loop and riser- 90 Mtr at various site complete in all respect as per RESPO norm. | (B) 11 KV/ LT. ABC Cable | 400 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Cable Laying 3x185 sqmm Trunchless/Drilling with HDPE Pipe 120 mm (HDPE Carriage from Store)- 1825 Mtr and Loop riser…etc work- 1750 Mtr at various work site complete in all respect as per RESPO norm. | (C) Laying of 11 KV XLPE Cable in Trench | 3575 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Cable Laying 3x185 sqmm open cut sand and bricks- 30 Mtr and Loop and riser- 45 Mtr at various site complete in all respect as per RESPO norm. | Making of Guarding of 11· KV line as per RESPO norms | 75 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | After Laying 3x185 sqmm Cable, Road Restoration for Pucca with Permission Charges at work site. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 510 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Fixing/ Complete Installation GI Pipe 6" Dia at various site complete in all respect as per RESPO norm. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 243 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Fixing/Complete Installation Cable Box 11 kv 3x185 XLPE O/D at various site complete in all respect as per RESPO norms. | Making of Pipe Earthing with GL Pipe 1.25 Inch Dia. as per RESPO manual | 82 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Fixing/Complete Installation Cable Box 11 kv 3x185 XLPE I/D at various site complete in all respect as per RESPO norms. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 76 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Fixing/Installation/Jumpring, line material as per site Requirement:-11 KV Disc Insu. 45 KN-18 Nos, 11 KV Disc Fitting 45 KN- 12 Nos, 11 KV Pin Insulator- 3 Nos, ACSR Dog Conductor- 90 Mtr, MS Channel- 770 Kg ...etc at work Site complete in all respect as per respo Norms. | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 1 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Supply & Fixing/ Complete Installation MS Channel 100x50 at various site complete in all respect as per RESPO norm. | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 80 | Kg | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | Supply & Fixing/ Complete Installation MS Holding Clamp at various site complete in all respect as per RESPO norm. | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 10 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | Supply & Fixing/ Complete Installation Nut & Bolt off Size at various site complete in all respect as per RESPO norm. | Installation of25 to 100 KV A T/F on DIP complete work. as per RESPO manual | 5 | Kg | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information