## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY DISTRIBUTION CIRCLE, A-BLOCK, HYDEL COLONY, KAVI NAGAR, GHAZIABAD.
Name of Work:- fctusl Iyku 2024&25 ikVZ&2 vkS¦ksfxd ds vUrxZr fo¦qr forj.k [k.M] eksnhuxj o eqjknuxj ds v/khu 33@11 dsoh midsUnzks ij vkj0,e0;w0 lEcfU/kr dk;ZA
Tender No. 32/2024-25/E.D.C/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 8 | 8
1 | For the work of RMU (Installation work EDD-Modinagar, EDD-Muradnagar) at various site Under Business Plan Scheme 2024-25 Part-2 in the Area of EE, EDD-Modinagar, and EE EDD-Muradnagar Ghaziabad. | [7 empty] | 1 | Full Conversion
1.01 | Carriage of 11 KV 3X185 sqmm. XLPE Cable from Store center to various work site loading and unloading both side. distance 1 km to 50 km. |  | 1400 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | Carriage of 11 KV 3X185 sqmm. Cable Box O/D from Store center to various work site loading and unloading both side. distance 1 km to 50 km. |  | 56 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | Providing Complete Construction of Plinth Standard Quality suitable for RING MAIN UNIT at various site complete in all respect as per RESPO norm. |  | 12 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | Supply & fixing Complete Installation 12kv 630 Amps 21KA for 3 Sec. SF6 , BIL 28 KV/75 KV peak, extensible, outdoor duty 3-way, fully motorised and manually operated Ring Mains Unit originally manufactured by OEM in its factory only, comprising of 02 load break switch and 01 vaccum circuit breaker consisting of copper busbar in SF6 insulated tank with a provision electromechanical interlock to avoid accidental closure of earthing switch even when cable is in live condition. RMU should be Type Tested for Internal arc of 21 KA for 1 Sec with AFLR classification and gas to be from rear bottom of the switchgear away from the operator to ensure safety of the operating personnel. Suitable Ct 200-50/1 A with microprocessor based numerical over current relay (IDMTL + Inst.) for Protection to be provided with VCB Feeder with right angle boot for termination Kits. All the necessary wirings and Dummy panel/space for FRTU to be given along with RMU for future compatibility with SCADA system (Supply of FRTU is not in scope). Battery, Charger etc. for Motorised Operation of RMU to be provided. The scope is including Plinth/ Angle iron Stand as per OEM design complete in all respect as per the direction of Engineer incharge. Complete RMU and its accessories should be suitable for altitude of 100 mtrs above Sea Level. (Makes: ABB/Siemens/Eaton/Schneider or authorized by UPPCL) at various site complete in all respect as per RESPO norm. |  | 12 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | Providing & Fixing Complete Installation Water Level Earthing at various site complete in all respect as per RESPO norm. |  | 24 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | Cable Laying 3x185 sqmm by trunchless method with HDPE Pipe with Road restoration charges at various site complete in all respect as per RESPO norm. |  | 150 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | Cable Laying 3x185 sqmm at various site complete in all respect as per RESPO norm. |  | 1250 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | Providing & Fixing Complete Installation GI Pipe 6" Dia at various site complete in all respect as per RESPO norm. |  | 64 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | Fixing Complete Installation Cable Box 11 kv 3x185 XLPE O/D at various site complete in all respect as per RESPO norms. |  | 56 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | Supply & Fixing Complete Installation Allumenium Crimping Lug at various site complete in all respect as per RESPO norm. |  | 234 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | Supply & Fixing Complete Installation Nut & Bolt at various site complete in all respect as per RESPO norm. |  | 35 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information